## Slide 1: Électronique FE associée aux détecteurs semi-con
Electronique pour CCD
Hervé Lebbolo (LPNHE)
herve@lpnhe.in2p3.fr

## Slide 2: CCD
CK1
CK2
CK3
photons
-
+

## Slide 3: CCD synoptic
Etage de sortie
Serial register
Imaging
Region

## Slide 4: Simplified CCD out
RG
CK
OS
Output
Drain
Reset
Drain
Reset Gate
Clock i
Output Source

## Slide 5: CCD out
Réponse V = Q/C * G
Bruit de l’ampli de sortie (dont bruit en 1/f)
Bruit de la résistance de sortie  (courant)
Bruit de reset : kT/C (~350µV pour C~20fF) @273K
Reset
CCD out
Bruit

## Slide 6: Mode de lecture : Clamp & Sample
clamp
Reset
Clamp
reset
CCD out
Amp in
Le bruit de reset est stocké dans la capa de couplage.
Pour une capa de 1nF, le nouveau bruit de reset vaut ~ 2µV
Nécessité de filtrer le bruit
des transistors du CCD
Durée du reset (RC)
CCD

## Slide 7: Mode de lecture : Dual slope Integrator
Reset
CCD out
Ramp Down
Ramp Up
DSI Out
RD
RU
Convert
RD
RU

## Slide 8: DSI
Filtrage optimum :
  Intégration
  Différentiation
  Pb bruit en 1/f si intégration longue
Jitter
  100ps  erreur ≤ 0,1% (<1/√Vmax)
Précision relative de RU & RD
Précision du gain -1
Reset de l’intégrateur

## Slide 9: Autre mode de lecture
Numérisation rapide du niveau de reset et de signal du CCD, éventuellement avec plusieurs gains
Filtrage numérique
 Reflex controller: 16 voies 45k€
ADC sar 18bit 5Ms/s
ADC ΣΔ 24 bit 4Ms/s + digital filter

## Slide 10: Autre mode : Skipper CCD
Permet de lire plusieurs fois le même pixel.
Les charges sont amenées sous la gate pour une première lecture.
Après la lecture, les charges sont ramenées sous SG.
La gate est remise à zéro
Les charges sont retransférées sous la gate pour une seconde lecture.
Permet de moyenner le bruit

## Slide 11: Cosmologie observationnelle : LSST Large Synoptic Survey Telescope
Observation de supernovæ de type IA
Fast, Deep, Wide !
Pose : 15 s
Lecture 2s
Miroir primaire, diamètre : 8,4m
189 CCD (4k*4k)
~ 3Gpixels

## Slide 12: Plan focal
Plan focal:
  189 CCD, ~10deg²
  Diamètre 64 cm
  Cellule de base : 9 CCD = 1 Raft
Raft : mini télescope autonome
  3*3 CCD = 9*16 voies
  CCD e2v 4k*4k pixels, 10µm
  100µm deep depleted
  Sensible de l’UV  IR

## Slide 13
LSST Camera simplified readout
CCD
16 Mpixel
Readout ASIC
9/raft
16
3/REB
18/raft
2/CCD
21 raft  189 CCD’s 378 aspic 378 CABAC 63 FPGA
18bit ADC
+ buffer
FPGA
Raft Electronic Board : 3/raft  63 REB’s
3/raft
CCD Clocks
Biases
OD
To DAQ
CCD
Driver
ASIC
6/REB
Fast
ADC
6/REB
18/raft

## Slide 14: ASPIC Analogue Signal Processing IC
Gain programmable
16 valeurs (4bit)
RC time constant
16 valeurs (4bit)
Mode
transparent
DC restore
Reset
Reset
& gain 1

## Slide 15: ASPIC :
Fréquence de lecture : 550kHz
    Temps de cycle ~ 1,8µs
     RU = RD = 500ns
CCD output swing ~ 1V (aspic input)
Aspic output swing 4V
Bruit : ≤ 2 e⁻
Puissance ~30mW/ canal
Linéarité : ≤ 0,5%
Diaphonie : ~2.10⁻5
Temperature sensor
Programmation by serial link
Power on mode : AF1 +TM
Production (1000) mai 2015

## Slide 16
Aspic3 functionnal domain
Programmable gain between 1.4 to 6 on 4 bit
Input dynamic range from 333mV to 1,4V (full well)*(responsivity)
RC time constant between 250ns to 4µs on 4 bit
Readout speed from ~50k to 1Mpix/s

## Slide 17
Tests
Carte de tests ASPIC
Banc de tests ASPIC
Cryostat

## Slide 18: Transfert de charge
CK1
CK2
CK3
CK1
CK2
CK3

## Slide 19: Transfert de charge
CK1
CK2
CK3
CK1
CK2
CK3

## Slide 20: Transfert de charge
CK1
CK2
CK3
CK1
CK2
CK3

## Slide 21: Transfert de charge
CK1
CK2
CK3
CK1
CK2
CK3

## Slide 22: Transfert de charge
CK1
CK2
CK3
CK1
CK2
CK3

## Slide 23: E2v CCD250
IΦ0
IΦ1
IΦ2
IΦ3
IΦ3
GD
Clocks
parallèles
Clocks séries
Output Drain
Alim des amplis
Reset
Drain
Output
Gate
Guard
diode
Back
Substrate
Front
Substrate
(Masse)
Output
Source
Reset

## Slide 24
Clock And Bias Asic for Ccd : CABAC
Temperature sensor (output on mux)
Multiplexer :
      Possibility to output 2 of any signal provided by CABAC or external input (aspic temp, aspic timing) for monitoring purpose
Deactivable calibration pulser : injection of a pulse on RD, with active RG  injection of defined signal at the electronic chain entrance for electronic calibration.
Programation by serial link with read back & asynchronous reset
Translated power supplies : can provide negative biases & clocks
Provide :
  OD (output drain) ->46V 32mA
  RD (reset drain) ->46V
  Biases ->46V
  Image clocks (4) ->400mA-20V
  Register clocks (3) 70mA-20V
  Reset gate (1) 70mA-20V
CMOS 0.35µ HV (34.6 mm2) from AMS

## Slide 25: Cabac block diagram

## Slide 26
Electronic Calibration Pulser :
CABAC
Pulser
100Ω
RD
CCD
RD
Lvds
cmd
100nF
33nF
Prog
SPI bus
enable

## Slide 27: Cabac power supplies
Clocks
Power supplies
OD & Biases
Power supplyc
Cabac ground
Board ground

## Slide 28: Parallel clocks
66nF load

## Slide 29: Serial clocks and Reset Gate

## Slide 30: EEV CCD250 image section load
R
C1
C2
Equivalent circuit of the E2V CCD250
Electrodes (2 electrodes here)
Capacitor to substrate C1 ~ 0,6fF
Inter electrode capacitor C2 ~1,7fF
Total electrode capacitor : 2*C2 + C1 = 4fF
Total length of one image section : 41mm
Width : 3µm
Total resistance : ~400kΩ / line
~ 4000 electrodes
Inter electrode resistance : R ~100Ω

## Slide 31: EEV CCD250 image section load
Load for parallel clocks is ~4000 parallel lines of ~4000 serial electrodes
 total capacitance : 4fF * 16M ~ 64nF
 total resistance : 400k/4000 ~ 100Ω
 simulation of 4k lines of 4000 electrodes
  C1 to substrate : 2.4pF/line
  C2 to neighbour : 6.8pF
  Total : 16pF
  Total resistor 100Ω
  Inter electrode resistor : 25mΩ

## Slide 32: Observed nets
clockp
clockp
Mid (~2000)
10
100
Clocks :
Amplitude : 10 V
Frequency : 2.5kHz
All simulations performed with CABAC chip model

## Slide 33: Ideal load (R=1pΩ)
Tr = 2.09µs
Ip = 261mA
Im = 286mA
Clock waveform is the same along the trace
Ckp0
Ckp1
Ckp2
Ckp3 (position 0, 10, 100, 2000)
Ckp3 current

## Slide 34: « real » load R = 25mΩ
Tr = 1,72µs (end strip)
Tr = 3,12µs (mid strip)
Delay = 740ns
Ip = 244mA
Im = 276mA
Ckp0
Ckp1
Ckp2
Ckp3 (position 0, 10, 100, 2000)
Ckp3 current

## Slide 35: « real » load R = 25mΩ Zoom

## Slide 36: Half max current
Tr = 4,24µs (end strip)
Tr = 4,49µs (mid strip)
Delay = 860ns
Ip = 132mA
Im = 142mA
Ckp0
Ckp1
Ckp2
Ckp3 (position 0, 10, 100, 2000)
Ckp3 current

## Slide 37: Half max current Zoom

## Slide 38: 2 CABAC //
Programmed current :
2*300mA
Current up : ~400mA
Current down : ~480mA
Tr : 1.09 µs
Td : 717 ns
Orange : clock0 both end
Red : clock0 middle

## Slide 39: 2*CABAC // ~middle crossing
middle
Both
end
Tr : 1.83µs
Td : 1.75µs
Delay ~670ns
Tr : 1.09 µs
Td : 717 ns

## Slide 40: One Cabac Max current
middle
Both
end

## Slide 41: One Cabac half current
middle
Both
end