## Slide 1: ATLAS Clean Room
Maintenance work
  AC system modification, doors (company : Pol’air Fluides)
  Safety system Installation (company : LAPP + Oldham)
  Safety valves : ordered
  Tank rack : ordered
  Start : next week
  Thursday 24/06 : CO2 station + furnitures removal from the cleanroom to the balcony
  To be clarified : feedthrough, network + 220v locations
Sr90 source
  Feasibility study : 600€ (company : AREVA)
  Order received
  Source mounting study : in progress  need of 3mm gap all around the source