## Slide 1
SPHERE : detector for dark matter, double beta, supernovae neutrino and coherent neutrino diffusion
I. Giomataris CEA-Saclay
Notes: 1

## Slide 2
Radial TPC with spherical proportional counter read-out
Saclay-Thessaloniki-Saragoza
5.9 keV 55Fe signal
E=A/R2
20 s
Simple and cheap
Large volume
single read-out
Robustness
Good energy resolution
Low energy threshold
Efficient fiducial cut
Low background capability
2-15 mm
A Novel large-volume Spherical Detector with Proportional Amplification read-out, I. Giomataris et al., JINST 3:P09007,2008
C≈ Rin= 7.5 mm < 1pF

## Slide 3
Micromegas
GEM
E= constant
C ≈ S > 1nF
Parallel Plate Detector
E=1/r2
≈V/Ri close to the ball
C ≈ Rin< 1pF
Spherical Proportional Counter
Cylindrical Proportional Counter
E=V/ln(b/a)r L = length and a=radius of the wire, b = tube radius
C =2pL/ln(b/a)>> 10 pF

## Slide 4
LUX
XENON100
CRESST II
CDMSlite
SuperCDMS
EDELWEISS
NEWS
NEWS
Light dark matter search using the spherical detector
Goal: explore DM masses down to 100 MeV
Motivated by:
Sub-keV energy threshold of the detector
Versatility of the low-Z target (H, He, Ne)
Low background capability of this design
100 MeV
Notes: 4

## Slide 5
NEWS collaborating Institutes and people - Spherical detector project IRFU Saclay, E. Bougamont1, J. Derre, A. Dastgheibi-Fard, J. Galan, I. Giomataris, G. Gerbier, M. Gros, P. Magnier, J. P. Mols, X.F. Navick, B. Paul, P. Salin, G. Tsiledakis LSM MODANE, P. Loiza, F. Piquemal, Univ. of Thessaloniki, I. Savvidis NCR Dimokritos Athens, G. Fanourakis, Univ. of Ioannina, J. D. Vergados Univ. of Saragoza, P. Iguaz, I. Irastorza, IHEP, Zhimin Wang, Ruiguang Wang Univ. of Tsighua, C. Tao,Univ. of Shanghai Jiao Tong, K. Giboni, K. Ni
Bibliography
I Giomataris et al., JINST 3:P09007,2008., I Giomataris and J.D. Vergados, Nucl.Instrum.Meth.A530:330-358,2004, I. Giomataris and J.D. Vergados, Phys.Lett.B634:23-29,2006.
I. Giomataris et al. Nucl.Phys.Proc.Suppl.150:208-213,2006., S. Aune et al., AIP Conf.Proc.785:110-118,2005.
J. D. Vergados et al., Phys.Rev.D79:113001,2009., E Bougamont et al. arXiv:1010.4132 [physics.ins-det], 2010

## Slide 6
Low background detector d=60 cm p=10 bar
University of Saragoza detector
University of Thessaloniki detector
University of Tsinghua - HEP detector
Basic R@D detector in Saclay
Spherical detector propagation
Future project
2m detector will be developed
At SNOLAB (G. Gerbier et al.)

## Slide 7
04/11/15
I. Giomataris
Rejection power

## Slide 8
New low-energy calibration source Argon-37
Home made Ar-37 source: irradiating Ca-40 powder with fast neutrons 7x106neutrons/s
Irradiation time 14 days. Ar-37 emits K(2.6 keV) and L(260 eV) X-rays (35 d decay time)
Argon 37
First measurement
with Ar-37 source
Total rate 40 hz
in 250 mbar gas, 8 mm ball
240 eV peak clearly seen
A key result for light dark matter search
5.9.keV
2.4 keV
260 eV
Installation near the spherical detector

## Slide 9
80
4
Rate [Hz]
Date [s]
Polyethylene
30 cm
Lead
10 cm
Copper
5 cm
Decrease of factor 20 for
Energy range 1 – 200 keV
Search for light dark matter
Detector installed at LSM end 2012: 60 cm, Pressure = up to 10 bar
Gas targets: Ar, Ne, He, CH4
Effect of the cup

## Slide 10
Internal contamination cleaning
Goal: remove Po-210, Pb-210
Conditions :
Nitric acid (30 %)
Temperature 30° C
Cleaning by spray
Washing by pure water
Drying by hot nitrogen
2nd chemical cleaning of sphere
Conditions :
Nitric acid (17 %)
Temperature 10° C
Cleaning by filling
the spherical cavity
Washing by pure water
Drying by hot nitrogen
1st chemical cleaning of sphere

## Slide 11
β/γ rate evolution
Decreasing factor = 20
400 mHz => 20 mHz
Decreasing factor = 45
180 mHz => 4 mHz
Chart: mHz
| 41153.0 | 41183.0 | 41244.0 | 41275.0 | 41365.0 | 41456.0 | 41579.0 | 41730.0 | 41760.0
 | 135 | 130 | 65 | 60 | 40 | 10 | 5.5 | 4.5
1st chemical cleaning
2nd chemical cleaning
Sensor cleaning
Chart: mHz
| 41153.0 | 41183.0 | 41244.0 | 41365.0 | 41426.0 | 41487.0 | 41579.0 | 41730.0 | 41760.0
 | 450 | 400 | 300 | 300 | 200 | 100 | 57 | 27 | 20
1st chemical cleaning
2nd chemical cleaning
Sensor cleaning
Copper shielding added
Alpha rate evolution
β/γ rate
α rate
Backround evolution of the detector

## Slide 12
0.0105
0.04
0.075
0.086
Chart: Cut efficiency
| 12.5 | 15.0 | 17.5 | 20.0 | 22.5 | 25.0 | 27.5 | 30.0 | 32.5 | 35.0 | 37.5 | 40.0 | 42.5 | 45.0 | 47.5 | 50.0
 | 67 | 112 | 155 | 199 | 241 | 269 | 306 | 336 | 373 | 402 | 435 | 453 | 458 | 459 | 463 | 465
Pulse width[ms] vs Energy [eV]
Rise time [ms] / Energy [eV]
Ne + CH4 (0.7 %) P = 3 bar T = 4455 s
Energy spectrum [eV]
Count
Energy [eV]
Energy [eV]
Energy [eV]
Rise Time [ms]
Temps de descente [ms]
Analysis – optimization of cuts
Calibration with neutrons (241Am-Be) source
Point like energy deposits

## Slide 13
Physic run (light-WIMPs research)
Ne + CH4 (0.7 %) P = 3 bar T = 30.5 jours
13
0.075
0.086
0.0105
0.04
Rise time [ms] / Energy [eV]
Rise Time [ms]
Temps de descente [ms]
Rise Time [ms]
Temps de descente [ms]
Energy [eV]
Energy [eV]
Energy [eV]
Count
Energy spectrum [eV] before cut
Temps de descente [ms] / Energy [eV]
Rise Time [ms] / Temps de descente [ms]

## Slide 14
Energy spectrum [eV] at low energy
300 – 1300 eV
18 Évén./jour/keV/kg
Count
30.5 days
3 bars Ne + CH4 (0.7%)
Excess not yet understood
Light WIMP search results
NEWS (Ne 3bar)

## Slide 15
Shield improvement
During last month intervention (May 2015)
New platform fabricated and installed to carry detector and shield
Chemical cleaning of internal copper shield plates
Total lead thickness = 15 cm (from 10cm)
Total copper thickness= 7 cm (from 5 cm)
Improved anti-radon tent
Summary:
background level among the best experiments
Achieved with modest budget and manpower
Combined with the low energy threshold and low-Z targets:
Sensitivity for very-light WIMPs of this experiment is out of competition
Reduction

## Slide 16
NEWS-SNOLAB project
Kingston, Saclay, Grenoble, LSM, Thessaloniki…..
2 m detector at 10 bar
Pure water shield
Funded by Canadian grant of excellence
LOI recently approved by SNOLAB committee

## Slide 17
Quenching factor measurements
Goal: measure QF down to 500 eV ion energy using the Grenoble MIMAC facility
for H, He, Ne, CF4, Ar, Xe at various pressures
Earlier measurements
D. Santos et al., arXiv:0810.1137
He-4 700 mbar
Recent investigations with a 15 cm sphere
show the capability to measure 500 eV He-4 ions
with an estimated QF of about 25%
Saclay, Grenoble, Thessaloniki, Queen’s-Kingston

## Slide 18
n + N --> n +N s ≈ N2E 2, D. Z. Freedman, Phys. Rev.D,9(1389)1974
Neutrino-nucleus coherent elastic scattering
High cross section but very-low energy nuclear recoil
Illustration: using the present prototype at 10 bar and at 10 m from the reactor, after 1 day run
A. Druikier, L. Stodolsky, Phys.Rev.D30:2295,1984, JI Collar, Y Giomataris - NIMA471:254-259,2000, H. T. Wong, arXiv:0803.0033-2008, PS Barbeau, JI Collar, O Tench - Arxiv preprint nucl-ex/0701012, 2007
TN =2 mN(En cosq)2/{(mN + En)2 − (En cosq)2}
Argon and Ne are good candidate
Challenge : Very low energy threshold
We need to calculate and measure the quenching factor
Application : Remote control of nuclear reactor

## Slide 19
Sensitivity for galactic explosion
For p=10 Atm, R=2m, D=10 kpc, Uν =0.5x1053 ergs
# Number of events (no quenching, zero threshold)
He Ne Ar Kr Xe Xe (with Nuc. F.F)
.16 3.95 19.1 76.8 235 179
# Number of events (after quenching, Eth =0.25 keV)
He Ne Ar Kr Xe Xe (with Nuc. F.F)
0.08 1.5 6.7 23.8 68.1 51.8
Idea : A world wide network of several (tenths or hundreds) of such dedicated Supernova detectors robust, low cost, simple (one channel)
To be managed by an international scientific consortium and operated by students
Destruction of massive star initiated by
the Fe core collapse
1053 ergs of energy released
99% carried by neutrinos
A few happen every century in our Galaxy, but the last one observed was over 300 years ago
A dedicated Supernova detector
Simple and cost effective - Life time >> 1 century
Through neutrino-nucleus coherent elastic scattering
Y. Giomataris, J. D. Vergados, Phys.Lett.B634:23-29,2006

## Slide 20
Neutrinoless double beta Decay process
If 0-v decays occur, then:
  Neutrino mass ≠0
  Decay rate measures effective mass mv 
  Neutrinos are Majorana particles
  Lepton number is not conserved
Great impact in physics.
Target >> 1000 Kgr and zero background
d(n)
d(n)
u(p)
u(p)
W
W
e
e
ν
ν
T1/2 (2nbb): ~ 1.15 x 1019year
d(n)
d(n)
u(p)
u(p)
W
W
e
e
ν
ν
T1/2 (0nbb): > 1024year

## Slide 21
Why Xenon-136
Xenon is relatively safe and easy to enrich
Natural abundance of 136Xe is ~ 8%
EXO and NEXT have 200 kg highly enriched in 136Xe
Low cost
Why gaseous Xenon-136
Pressure variation
High density is desirable to contain event
Moderate density helps to reject Compton backgrounds
Energy resolution is good up to  < 0.55 g/cm3
Beyond this density, E/E deteriorates rapidly!

## Slide 22
Why a gaseous high-pressure spherical detector
Ultra-low radioactivity detector
Easy to build for high pressures up to 50 bar
Good Compton background rejection
Good energy resolution reached in Argon .5%
Very good energy of .25% at 2.4 MeV has to be demonstrated
(low capacitance-low electronic noise would be precious)
Spherical vessel and shield is an economical structure
RMS = .5%
214Po
222Rn
218Po
Spherical detector energy resolution with radon gas

## Slide 23
Current and future projects
ANEMOS project: Development of a high-pressure spherical detector demonstrator for neutrino less double beta decay search
In collaboration with CNBG ( F. Piquemal et al.,), CPPM (J. Busto et al.,)
The goal is to reach a record low background level << 10-4/keV/Kg/y and an energy resolution of .3%
We target a sensitivity of mbb <50 meV better than other experiments

## Slide 24
ANEMOS demonstrator
Identical size to SEDINE (60cm)
Made of ultra-pure copper
Transported with special castle to avoid
radon contamination and activation
Installation inside the current LSM shield (improved)
ANEMOS strategy
Demonstrate the ultra-low background capability with a small size
60 cm detector at a pressure of 50 bar
The 2 m dark matter detector at SNOLAB will demonstrate the scaling
(2 m detector ) needed for the double beta decay experiment (1 ton scale Xe-136)
The combination of the two detectors and the good energy resolution
to be reached in the R@D phase, will give the proof of principle
of an optimized DBD experiment as required for the next generation projects
A main idea is to take advantage of the detector simplicity to severely reduce backgrounds emitted from surrounding materials

## Slide 25
ANEMOS Sensitivity
Simulation model
Sphere diameter: 2 m
Xenon gas at 50 bar (1272 Kg)
Vessel: Electroformed copper (PNNL) mBq/kg 232Th=.034, 238U=.13
Commercial copper (Aurubis) mBq/kg 232Th=1., 238U=1.
Shield 30 cm copper PNNL
GEANT simulation by J. Galan
We assume complete suppression of external backgrounds
Backgrounds are generated by 232Th and 238U contamination
of detector and shield
Results
Background rate in the region of Qbb (2.46 MeV)
1.54x10-5/keV/Kg/ year
8.x10-5/keV/Kg/ year with commercial copper
(compared to 2x10-3/keV/Kg/ year of running experiments)

## Slide 26
If additional rejection is required: new idea
Background free double beta decay experiment, I. Giomataris, arXiv:1012.4289
The idea is to detect Cherenkov light emitted by two electrons and then reject background
from single electrons (Compton scattering etc..)
Xenon-136 at high pressure of about 25-40 bar is ideal to keep high efficiency for double electrons,
Good enough electron path and reduce multiple scattering
A simple read-out is the standard spherical detector signal combined with
CsI photocathode layer deposited at the internal vessel surface, inducing a delayed signal
S2 (S1) is the charge signal collected and amplified
S3 is the delayed Cherenkov light signal
Double beta decay experiment with the spherical detector
UV QE CsI

## Slide 27
CONCLUSIONS
A promising novel low-background detector
Light dark matter search down to 100 MeV
Neutrino elastic coherent scattering could be detected
Ultra low-background double beta decay experiment