## Slide 1
Claudia Nones
CEA/IRFU/SPP
GDR Neutrino Meeting – Saclay – 4/11/15
The bolometric way
towards the inverted hierarchy
of the neutrino mass:
CUORE-0 → CUORE → CUPID

## Slide 2: Outline
Neutrinos and Double beta decay in a nutshell
The bolometric technique and TeO2 detectors
CUORE-0: detectors, background, results
CUORE: state of the art and sensitivity
CUPID: Next-generation bolometric tonne-scale experiment
3 ongoing CUPID-related R&Ds and results
Conclusions

## Slide 3
Neutrino physics
What we do know
Neutrinos are massive fermions
There are 3 active neutrino flavors
Neutrino flavor states are mixture of mass states
We have measured 2 independent squared mass splittings (Dmij2)
The moduli of the elements of the mixing matrix have been measured
What is the neutrino mass hierarchy?
What about the CP violating phases?
Are neutrinos Dirac or Majorana particles?
What is the absolute neutrino mass scale?
What we do not know
Double Beta Decay

## Slide 4
(A,Z)  (A,Z+2) + 2e- + 2ne
2n Double Beta Decay
allowed by the Standard Model
already observed – t 1018 – 1021 y

(A,Z)  (A,Z+2) + 2e-
Neutrinoless Double Beta Decay (0n-DBD)
never observed
t > 1025 y

Process  would imply new physics beyond the Standard Model
violation of total lepton number conservation
sum electron energy / Q
2n double beta decay
continuum with
maximum at ~1/3 Q
0n double beta decay
peak enlarged only by
the detector energy resolution
Double beta decay in a nutshell

## Slide 5
neutrinoless
Double Beta Decay rate
Phase
space
Nuclear
matrix elements
Effective
Majorana mass
mbb = ||Ue1 | 2m1 + eia1 | Ue2 | 2m2 + eia2 |Ue3 | 2m3 |
can be of the order of ~ 50 meV in case of inverted hierarchy
THE RATE IN THE MASS MECHANISM
The rate in the mass mechanism

## Slide 6
An important plot for 0nbb
mbb = ||Ue1 | 2m1 + eia1 | Ue2 | 2m2 + eia2 |Ue3 | 2m3 |

## Slide 7
 100 -  1000 counts / y ton
 5 -  50 counts / y ton
 0.5 -  5 counts / y ton
How difficult is it?

## Slide 8
The bolometric technique
Heat sink - Tb
Thermometer
Thermal link
Main features:
high energy resolution
wide versatility (few constrains on absorber material)
the detector is fully sensitive (no dead layer)
Released
energy
To develop high pulses the detector has to work at very low temperatures.
Crystal absorber

## Slide 9: TeO2 bolometers
Source=detector approach
Candidate: 130Te – A.I. 34%

## Slide 10
TeO2 bolometers: the thermometer
Characterization of the CUORE NTD-Ge thermistors at CSNSM (Orsay)
T0 = 4.5 K
R0 = 0.9 W

## Slide 11: The TeO2 bolometer history

## Slide 12: CUORE-0 & CUORE at LNGS

## Slide 13: CUORE-0

## Slide 14: Experimental setup & exposure
Acquired statistics for 0nbb search:
35.2 kg y TeO2
9.8 kg y 130Te
Same cryostat as Cuoricino experiment
  Inner shield: 1 cm of Roman Lead (4 < mBq/kg)
  External shield: 20 cm of Modern Lead
  Nitrogen flushing
Gamma backgorund from cryostat shields not expected to change
(test of alpha background)

## Slide 15: CUORE-0: calibration energy resolution
Improvement in the reproducibility of the detector construction

## Slide 16: CUORE-0 background (1)
Detectors have been calibrated using two thoriated tungsten wires source placed in between the outermost cryostat shield and the external lead shield.
Typical event rate per crystal:
  1 mHz during physics data taking
  60 mHz during calibrations
Calibration function: quadratic function with zero intercept

## Slide 17: CUORE-0 background (2)
238U and 232Th a lines reduced thanks to the new surface treatement of detectors
238U g lines reduced by a factor 2 (better control of Radon)
232Th g lines not reduced (they come from the cryostat which is the same in both cases)
Factor 6 reduction in the a continuum region

## Slide 18: CUORE-0: ROI fit
130Te 0nbb Q-Value
60Co double-gamma line
Phys. Rev. Lett. 115, 102502
The yield of 0nbb events has been determined by performing a simultaneous unbinned extended maximuum likelihood fit in the region 2470-2570 keV.
The used fit has 3 components:
The hypothetical 0nbb peak at the Q-value of 130Te (2527 keV)
A peak floating around 2505 keV due to sum of gamma events from 60Co in the nearby copper
A flat continuum bkg, attributed to multi scatter Compton events from 208Tl and surface a events.
0nbb 130Te Bayesian 90% C.L. limit: 2.7x1024 y

## Slide 19: Limit on mbb

## Slide 20: CUORE
Closely packed array of 988 TeO2 crystals (19 towers of 52 crystals 5x5x5 cm3, 0.75 kg each)
TeO2 total mass: 741 kg (~ 206 kg of ~130Te)
Energy resolution: 5 keV @ 2615 keV
Operating temperature: ~ 10 mK
Total mass to be cooled down: ~ 15 tons
Stringent radiopurity controls on
materials and assembly
Stable ultra-low temperatures
Extremely low vibrations

## Slide 21: CUORE sensitivity
Main goals:
Background rate: 10-2 counts/ (keV kg y)
dominated by surface a background
5 keV FWHM
5 years of live time
CUORE projected sensitivity (90% C.L.)
S1/2(0nbb)= 9.5 x 1025 y
mbb: 50-130 meV
Physics cases:
0nbb
Dark Matter
Axions
Rare nuclear decays

## Slide 22: CUORE status (1)
988/988 NTD connected
988/988 heaters connected
Assembly line improved thanks to CUORE-0 experience
Assembly of all the 19 CUORE towers completes in 2014
New semi-automatic system
Highly-reproducible
Fully performed under N2 atmosphere to minimize radioactive recontamination.

## Slide 23: CUORE status (2)
The commissioning of the cryogenic system has been done adding complexity at each step.
Phase1: tests on individual systems
  Outer/inner vacuum chamber
  Cryostat
  Dulition unit
Phase2: system integration
Wiring
Top Pb shield
Detector calibration System
Tower support plate

## Slide 24: Some pictures from last tests
Top lead shield & suspension
Thermalizers
Top ferrule (10 mK)

## Slide 25: The coldest place in the Universe

## Slide 26: Current-generation experiments
FROM HERE…
t0n  1026-1027 y

## Slide 27
TO THERE…
O (1 ton)
+
zero background
?
t0n  1027-1028 y
What’s next…

## Slide 28: What’s next…
TO THERE…
O (1 ton)
+
zero background
?
A bolometric approach: CUPID

## Slide 29
CUPID
CUORE Upgrade with Particle IDentification
Main idea:
Use CUORE infrastructure (after completion of CUORE programme) with:
enriched crystals (sensitive mass: 210 kg – 550 kg)
upgraded technology to get 0 background at ton × y scale (10-15 meV sensitivity)
Technology selection + CDR in two years

## Slide 30: The CUPID group of interest
8 countries
 30 laboratories
 100 persons from CUORE
 30 persons from outside
White papers:
arXiv: 1504.03599
arXiv:1504.03612

## Slide 31: R&D for 1-ton bolometric experiment
I will show three main results
Important goal: get rid of the currently dominant surface a background

## Slide 32
Central role of luminescent bolometers in CUPID

## Slide 33
Scintillating bolometers with ZnMoO4 crystals and simple pure NTD light detectors
Very promising results – mature technology (LUMINEU, LUCIFER-ZMO achievements)
High sensitive CUPID demonstrator with 7 kg of Mo in preparation (LUCINEU)
(IN2P3-CEA-INFN-ITEP-KINR-Heidelberg) (in LNGS and LSM) (Mbb < 90 – 300 meV)
Excellent a/b separation
Satisfactory energy resolution
Excellent crystal radiopurity
< 4 mBq/kg in 228Th
compatible with background index
< 0.3 counts/(keV ton y)
Advanced successful protocol for enrichment – purification – crystallization chain → < 4 % of irrecoverable losses of Mo
334 g detector tested in Modane
(in the EDELWEISS setup)
JINST 9 (2014) P06004
Eur. Phys. J. C74 (2014) 3133
JINST 10 (2015) P05007
LUMINEU & LUCINEU

## Slide 34
Scintillating bolometers with ZnSe crystals and simple pure NTD light detectors
Intense R&D for detector optimization – complicate crystallization technology
Technique now mature for demonstrator experiment (LNGS)
15 kg of chemically pure 82Se (enriched in western Europe) available for crystals
Array of 32 enriched (96%) Zn82Se crystals
Expected background index  1-2 c/(keV ton y)
Energy resolution:  10-20 keV FWHM
Mbb < 100 – 300 meV
Adv. High En. Phys. 2013 (2013) ID 237973
JINST 8 (2013) P05021
LUCIFER

## Slide 35
TeO2 Cherenkov light emission (1)
Tested with a real size CUORE TeO2 crystal: 5 x 5 x 5 cm3
Luke amplification of the thermal signal: electron-hole pairs generated by Cherenkov light drift in the electric field and produce additional heat
(Same sensor as in CUORE)

## Slide 36
TeO2 Cherenkov light emission (2)
Discrimination power in the region of interest:
2.7 s
http://arxiv.org/pdf/1510.03266v1.pdf

## Slide 37: Conclusions
TeO2 bolometers are a well-established and competitive technique for the search of 0nbb
CUORE-0 has achieved its goals in terms of energy resolution and background level
CUORE-0 data has significantly improved the limit set by Cuoricino, without any evidence of a 0nbb peak
CUORE will be able to probe the region mbb ~ 50-130 meV
CUORE data-taking beginning 2016
CUPID, successor of CUORE, will be a one tonne experiment with particle identification (mbb ~ 6-15 meV)
Extensive ongoing R&D for a down-selection
STAY TUNED!!!