## Slide 1
LICORNE & n-ball
A technique for production and study of the most exotic neutron-rich nuclei
M. Lebois, J.N. Wilson, L. Qi
ALTO/ ν-ball hybrid spectrometer workshop 2016

## Slide 2: Production of exotic neutron rich nuclei via fission
Exoticity
Spontaneous Fission
252Cf(SF), 248Cm(SF)
(Gammasphere, Euroball)
Fission induced by thermal neutrons
235U(nth,f) 241Pu(nth,f) (EXILL Exogam@ILL)
Fission induced by fast 1.5 MeV neutrons
238U(n,f), 232Th(n,f)
(LICORNE @ IPN Orsay)

## Slide 3: Neutron Flux Calculations for LICORNE
n
n
n
n
γ
γ
Actinide Target
H target
100 nA (DC) 7Li
13-17 MeV
Lithium Inverse Cinematiques ORsay Neutron source
Intensely focused
monoenergetic
neutron source:
Neutron Energy
En=0.5 – 4 MeV
Neutron Flux
107 n/s/steradian
Q. Liqiang, PhD thesis
Or 250 MHz (2ns wide) AC

## Slide 4: Experiment in March 2015
30g Uranium metal target
(ITU Karlsruhe)
3cm
30nA (AC) 7Li
16.75 MeV
3.5 cm gas cell
@1.5 atm
7Li Kinetic Energy
After Ta: 14.79 ± 0.05 MeV
End of Gas cell: 13.09 ± 0.08 MeV
Cone opening = 19.8°

## Slide 5: LICORNE + MINIBALL (March 2015)

## Slide 6: LICORNE + Miniball (March 2015)
3 weeks of beam time: ~ 3 × 109 events with Mγ >= 3
Ge singles rates
~ 8kHz

## Slide 7: Selection of prompt gamma rays
Time (ns)
Energy (keV)
Prompt fission gamma rays

## Slide 8: Selection of delayed gamma rays
Time (ns)
Energy (keV)
400 ns

## Slide 9
TIPS – Tagging Isomer PartnerS
Notes: In principle by selecting, one isomeric transition in one fragment close to stability, and by g-g-g correlation with this isomeric transition we should be able to get gamma spectroscopy for the complementary exotic fission fragment.
On this nuclear chart, crosses represent known isomers, and red rectangles the corresponding exotic fission fragment.

## Slide 10: Is there any new physics?
Beta decay of 138Sb @ RIKEN
Phys. Rev. C 92, 044320,
October 2015
Te isotope yields from Miniball experiment
139,140Te are observable!!
Current miniball observational limit
Observational limit with escape suppressed array
P/T Ratio improvement
Fission tag
Time Resolution (Detectors/buncher)
Target/Beam

## Slide 11: Experiment in March 2015: Neutron Flux and fission Rate
Half-cylinder
D=1.2cm
Thickness=3cm,
d = 19.1 g/cm3
Tilted about 5 degrees
Q. Liqiang, PhD thesis
Calculated fission rate for MINIBALL target (30 nA 7Li): 36 kHz
Estimated fission rate during experiment: 25 kHz

## Slide 12: Experiment in March 2015: 238U Target Improvment
Cylinder:
R=1.5 cm
Thickness=3 cm
d = 1 g/cm3
Q. Liqiang, PhD thesis
fission rate (100 nA of 7Li): 37 kHz
Autoprotection of the target : negligible
Production/manipulation of pure 238U powder

## Slide 13: Experiment in March 2015: 238U Target Improvment
4 disks
R=1.2 cm
Thickness=1 mm
d = 19.1 g/cm3
Dd= 1 cm
Q. Liqiang, PhD thesis
fission rate (100 nA of 7Li):
95 kHz
Autoprotection of the target : small

## Slide 14: n-ball: hybrid LaBr3-Ge array for fast timing spectroscopic studies
Construction of a hybrid Ge + LaBr3 array @ IPN Orsay
24 French/UK
Clovers
+
BGO Shields
EUROGAM
36 LaBr3
FATIMA
⊕
LOI (2015) signed by 43 scientists from 17 different institutions
Experimental Campaign planned for 2017-2018

## Slide 15: n-ball: spectrometer properties
GEANT4 Simulation of Major Parameters for this array:
efficiency, Peak-to-total ratio, compton suppression
24 Clovers around 90°
dcenter = 20.88 cm
Dq = 10.35°
32 LaBr3 1.5”x2”
dcenter = 15.2 cm
Dq = 14.3°

## Slide 16: n-ball: spectrometer properties
Independent crystals
CS Independent crystals
Add-back in Clovers
CS Add-back in Clovers
5.1% @1MeV
3.8% @1MeV
44.7% @1MeV
18% @1MeV

## Slide 17: n-ball: spectrometer properties
Needs for PhaseI detectors (“OUPS like” experiments, see J. Ljunvall’s talk)
24 Clovers around 90°
dcenter = 20.88 cm
Dq = 10.35°
19 LaBr3 1.5”x2”
dcenter = 24.2 cm
Dq = 9°
20 PhaseI HPGe
dcenter = 18 cm
Dq = 20.1°

## Slide 18: n-ball: spectrometer properties
Independent crystals
CS Independent crystals
Add-back in Clovers
CS Add-back in Clovers
7% @1MeV
5.6% @1MeV
53% @1MeV
19.8% @1MeV

## Slide 19: n-ball: spectrometer properties
Improvement of LaBr3 efficiency: use of the 2”x2” crystals/PM
24 Clovers around 90°
dcenter = 20.88 cm
Dq = 10.35°
20 LaBr3 2”x2”
dcenter = 24.2 cm
Dq = 9°
20 PhaseI HPGe
dcenter = 18 cm
Dq = 20.1°

## Slide 20: n-ball: spectrometer properties
Independent crystals
CS Independent crystals
Add-back in Clovers
CS Add-back in Clovers
7.4% @1MeV
5.9% @1MeV
52% @1MeV
20% @1MeV

## Slide 21: n-ball Fission TAG: “Calorimeter MODE”
Selection of fission event
g emission in 238U fission
Average multiplicity: 8 g/fission
Parasitic processes
Average g energy : 800 keV
Total g energy : 7 MeV
Approximation
Elastic scattering: 1-2 g/TE 2MeV
Inelastic scattering: 2-3 g/TE 2-3 MeV
b decay: 2-3 g/TE 2-4 MeV
(n, g) decay: 2-3 g/TE 2-5 MeV
High multiplicity
Fold 3 trigger

## Slide 22: n-ball Fission TAG: “Calorimeter MODE”
Selection of fission event
g emission in 238U fission
Average multiplicity: 8 g/fission
Parasitic processes
Average g energy : 800 keV
Total g energy : 7 MeV
Approximation
Elastic scattering: 1-2 g/TE 2MeV
Inelastic scattering: 2-3 g/TE 2-3 MeV
b decay: 2-3 g/TE 2-4 MeV
(n, g) decay: 2-3 g/TE 2-5 MeV
High multiplicity & High Energy
Fission selection possible

## Slide 23
Construction of a hybrid Ge + LaBr3 array @ IPN Orsay
>7% total gamma photopeak efficiency; > 50 P/T ratio
24 France/UK Clover detectors + 20 PhaseI France/UK loan pool
+ 20 FATIMA collaboration LaBr3
Improved fission tag thanks to calorimetry
LOI (2015) signed by 43 scientists from 17 different institutions
Other possible geometries -> Experimental Campaign planned for 2017-2018
ν-ball: A hybrid LaBr3-Ge array for fast timing spectroscopic studies

## Slide 24
ALTO/ ν-ball hybrid spectrometer workshop 2016
Thank you

## Slide 25
LICORNE & n-ball
A technique for production and study of the most exotic neutron-rich nuclei
M. Lebois, J.N. Wilson, L. Qi,
Stephan Oberstedt, Andreas Oberstedt,Robert Shearman,Robert Carroll,Patrick Regan,Wilton Catford,Zsolt Podolyak,Giuseppe Lorusso,Velte Ingeberg,Fabio Zesier,Sunniva Rose,Sunniva Siem,Kasia Hadynske-Klek,Eda Sahin,Gry Tveten,Radomira Lozeva,Magdelana Zielinska,Daniel Doherty,Thomas Materna,Stefano Panebianco,Nigel Warr,Rachel Eloirdi,Pedro Amador-Celdran,Amanda Porta,Jose Briz,Paola Marini,Ludovic Matthieu,Gavin Smith,Darren Bleuel,Joa Ljungvall,David Verney,Iolanda Matea,Araceli Lopez-Martens,Karl Hauschild,Kseniia Resynkina,Andrea Gottardo,Georgi Georgiev