## Slide 1
Status of the Remote HV
Tile Upgrade session during the AUW
Wednesday, 20 April 2016
François Vazeille on behalf of the Clermont-Ferrand team
Same set-up for the 2016 June test beam as 2015 test beam.
We do not remind the performance and main characteristics.
Pending point: cable routing in ATLAS.

## Slide 2
Multiconductor cable routing in ATLAS
 Blocking point for the ATLAS End Cap: no space in flexible cable tray
neither for EM calorimeter nor for Tile Calorimeter
 On going proposal of Liquid Argon:
use of a well located Patch Panel in the cavern, easy to be disconnected.
 Same solution can be considered for TileCal, with no more than about 30 cables.
 If it works for the Extended Barrel, it will be easier for the Barrel,
even though the final routing’s are different:
- From the Z=0 position along the cylinder for the half LB’s.
- Around the cylinder close to the Fingers for the EB’s.
 What is the status after the meeting of Oleg with ATLAS TC ?
▪ Space will be needed for the Inner Tracker and others.
▪ Till now, TileCal has been the less space consuming detector.
▪ TC needs propositions for design studies.
The right time to have an overview of the TileCal needs on services
for the various options, not only for the HV supplies.
A TileCal task force on the services for Phase II could be created
to make official requests to ATLAS TC and interact with him.

## Slide 3
Status of the new remote HV board
A. Gomes on behalf of the Lisbon team
New remote HV regulation board design progressing.
Includes regulation and control/monitoring.
Schematics of the board practically ready.
To be circulated in a few days.
Preparing for the production of first prototype to be ready in Summer