## Slide 1: Performance of SPiRIT-TPC with GET readout system for heavy ion collision experiment
RIKEN Nishina Center
Tadaaki Isobe for the SpRIT Collaboration
Workshop on Active Targets and Time Projection Chambers for High-intensity and Heavy-ion beams in Nuclear Physics
in Santiago de Compostela, Jan. 17th 2018
Notes: アニョハセヨ
ネイ、イレムン、イソベイブニダ
36min

## Slide 2: Heavy Ion Collision Exp. w/ TPC to study the density dependent symmetry energy
EOS of pure neutron matter
Large uncertainty on nuclear symmetry energy at r≫r0 compared with that for r≦r0 region.
Heavy ion collision is currently unique way to produce high dense matter in the laboratory.
New experimental project at RIBF for the study of density dependent symmetry energy. r~2r0 nuclear matter at RIBF energy HIC.
IBUU by Bao
?
?
?
PRC71 (2005) 0146a08

## Slide 3: Collaboration for New Device at RIBF: SPiRIT SAMURAI Pion Reconstruction and Ion Tracker
International Collaboration aiming to study
density dependent symmetry energy through Heavy RI Collision experiments.

## Slide 4
RIPS
60~100 MeV/nucleon
~5 MeV/nucleon
350-400 MeV/nucleon
Old facility
New facility
RIKEN RI Beam Factory (RIBF)
BigRIPS
SRC
RILAC
AVF
RRC
fRC
IRC
Experiment facility
Accelerator
SHARAQ (CNS)
SAMURAI
ZeroDegree
SLOWRI
SCRIT
RI-ring
SHE
Z=113
  Intense (80 kW max.) H.I. beams (up to U) of 345AMeV at SRC
  Fast RI beams by projectile fragmentation and U-fission at BigRIPS
  Operation since 2007
<10 MeV/nucleon
CRIB (CNS)
GARIS

## Slide 5
Super Ring Cyclotron
To accelerate Uranium ion to 345 AMeV.

## Slide 6
High-resolution
beam line
F0-F11: 125.983m
ZeroDegree
SHARAQ by U. of Tokyo
SAMURAI
BigRIPS
Max. rigidity = 9Tm
Max. rigidity
=6.8Tm max.
Field integral =7Tm
RI beam production

## Slide 7
High-resolution
beam line
F0-F11: 125.983m
ZeroDegree
SHARAQ by U. of Tokyo
SAMURAI
BigRIPS
Max. rigidity = 9Tm
Max. rigidity
=6.8Tm max.
Field integral =7Tm
SAMURAI Spectrometer
Superconducting Analyzer for Multi particles from Radio Isotope Beams
B<3T
R: 1m
Gap: 80cm

## Slide 8
80cm
53cm
E field
B field
x
y
NIMA 784 (2015) 513
SPiRIT-Time Projection Chamber
for the measurement of charged particles in HIC
SAMURAI dipole magnet
dE/dX – Br particle identification.
Readout with ~12000 pads.
Operation under B~0.5T

## Slide 9
HIC Simulation
b~3fm
p+
p-

## Slide 10: Basic design of TPC stable operation is most important
Based on Bevalac EOS TPC.
Wire amplification with P10 gas (1atm).
Target at the entrance of chamber.
~12000 readout pads.
Multiplicity: 10~100.
Beam passes through chamber as well.
B,E
beam
X: wire
Y: drift
Z: beam
108pads
(864mm)
112pads (1344mm)
12mm
8mm
53cm
drift

## Slide 11: Readout Electronics for TPC: GET
GET: state-of-art general electronics for TPC
  Integrated system from Frontend to DAQ.
Configurable even after the installation
Ch. by ch. hit registering
  Selective digitization
Checking the connection one board by one board.
Half of electronics on TPC

## Slide 12: Development of interface board: ZAP
3 Interface boards were made as prototype
Three issues addressed in terms of the development.
  Space issue: all in 17cm
  Noise level
  Transfer function (i.e. Gain)
Designed/Made by H. Baba
4x31 cm2
3rd: final one
1st
2nd
Flexible board

## Slide 13: Noise shield made large noise
120fC, 233nsec
Courtesy of W. Powell

## Slide 14: 2015 Aug.: Installation of electronics finished
Pedestal
RMS for all of pads

## Slide 16: 2016 Spring Heavy RI collision experimental setup
NeuLAND
STQ
MWPC type
Time Proj.
Chamber
12k channel
132Sn
Measure (π+ & π-), (p & n), (3H & 3He) in heavy RI collisions
Chamber in SAMURAI magnet B=0.5T
Beam Tracker
External trigger with scintillator paddles + MPPC

## Slide 17
AsAd
AGET
AGET
AGET
AGET
AsAd
AGET
AGET
AGET
AGET
AsAd
AGET
AGET
AGET
AGET
AsAd
AGET
AGET
AGET
AGET
・・・・・・・・・
・・・・・・・・・
Disk
Disk
RIKEN HPC
beam
SpRIT TPC
・・・・・・・・・
DAQ
DAQ
10Gb network
Semi-online
Analysis
xrootd
CoBo
CoBo
CoBo
CoBo
12 CoBo
4 AsAds for each CoBo:
48 AsAds in total

## Slide 18: Control UI : GANIL RC
SOAP Server to control GET
SOAP Server to control other DAQ
SOAP Server to control GTO
DAQ benckmark:
100MByte/sec/CoBo
1.2GByte/sec at most
(writing data on disk)

## Slide 19: Dayone Heavy RI Collision experiment
Systematic measurements of multiple observables in heavy RI collisions in same Z (Z=50) but different N system were realized with heavy RI beam.
  Charged pion is main observable.
  Control the Coulomb interaction
Successfully finished. 2016 Apr. – Jun.
  Beam rate: 10kHz, trig. rate: 70Hz
  30M Events: 60Hz, 5MB/eve 300MB/sec
  250TB/2week
Primary | Beam | Target | Ebeam/A | (N-Z/A)sys
238U | 132Sn | 124Sn | 270 | 0.22
 | 124Sn | 112Sn | 270 | 0.15
124Xe | 108Sn | 112Sn | 270 | 0.09
 | 112Sn | 124Sn | 270 | 0.15
A/Q(A.U.)
Z(A.U.)
Beam PID

## Slide 20: Example of HIC events seen by TPC
Top view
Side view
p-??

## Slide 21: Offline analysis: Charged particle tracking
Pulse Shape Analysis
Helix tracking: 3D momentum
  Track separation
  Riemann fit: 2D
  Helix fit: 3D
  Clustering
  Initialize GENFIT parameters
GENFIT: precise fitting (Parameterization, extrapolation)
RAVE(Reconstruction vertices)
t0: time at 5% of h
f: Fixed shape
Courtesy of J.W. Lee, G. Jhang, G. Cerizza

## Slide 22: Particle identification by TPC 132Sn + 124Sn Ebeam=270 AMeV
p
d
t
4He
4He
p+
p-
e+
e-

## Slide 23: Dead channels along beam trajectory
What is these pads? Black means dead.
Seen along beam trajectory  due to d-ray?
 but d-ray is supposed to be suppressed with B-field.
Could not be seen in the case of cosmic
Varies event by event

## Slide 24: How signal from heavy ion would be seen with high gain for the measurement of protons
Top view
Side view
Beam signal is not seem.
Spread over neighboring pads
through C between the pads.
GG
d-rays passing GG wires
GG can not block these d-rays
Drift direction

## Slide 25: Preamp becomes dead for a certain time due to huge signal
Output of CSA is kept to be saturated in the case of huge signal
As long as output is saturated, no signal comes out from following shaper behaves as dead
Dead for 2 msec in the case of 10pC charge input
10pC corresponds to the charge from Z~35 nuclei
3ms
Time (s)
CSA output(V)
SPICE simulation
Courtesy of P. Baron

## Slide 26: d-ray which cannot be blocked with GG
Reaction event
GG
Top view
Top view
Side view
Side view
Beam event
10kHz beam rate: 1beam per 100msec
Part of d-ray coming from beam passes through GG
 Make a dead time on the pad
Independent from trigger rate, probability of dead pads increase depending on beam rate
Acceptable beam rate of pads along beam line is limited due to this effect

## Slide 27: Limitation of dynamic range: offline analysis to increase the range?
Pulse height information as energy loss of charged particle.
 linearity kept up to Z~1
Other method to increase the range of dE/dX linearity.
1. Pad desaturation by using PRF.  discussed by Estee tomorrow.
2. Signal slope information instead of signal height.
Calibration run by using Z:1~3 cocktail beam.
p
d
t
3He
4He
7Li
6Li

## Slide 28: Signal slope value as deposited charge information
Scan for steepest bin of a signal.
Slope of signal shows linearity for higher pulser voltage.
According to SPICE simulation, linearity can be kept up to 240fC input.
  i.e. ~2 times wider
Pulser voltage on TPC ground wire
120fC D.R.
117 ns Shaping time

## Slide 29: Summary
New experimental program of SPiRIT to constrain the density dependent symmetry energy has started.
SPiRIT-TPC as main device for the measurement of multi-particle trajectory.
State-of-art readout system of GET is integrated to maximize the TPC performance.
First experiment campaign by using Sn isotopes was successfully finished.
  132Sn+124Sn, 108Sn+112Sn, … @E/A=270MeV
Preliminary analysis shows the measurement of charged pion is promising.
Part of pads along beam trajectory can be dead due to d-ray from high intense beam.
Dynamic range of electronics can be gained by using slope information instead of height of signal.

## Slide 30: Thank you!