## Slide 1: GRETINA Simulations
Heather Crawford (LBNL)
for Lew Riley et al. (Ursinus College)
Second AGATA-GRETINA Collaboration Meeting, CSNSM Orsay Campus, CRNS France – April 4-6, 2018

## Slide 2: UCGretina Geant4 Simulation The basics

## Slide 3: GRETINA/GRETA Geometry
…adopted from the AGATA simulation code

## Slide 4: GRETINA/GRETA Geometry
... dead layers:
1.5 mm back plane, 3.5 mm coaxial ...
…with modified (closed) capsules…

## Slide 5: GRETINA/GRETA Geometry
…and additional dead material

## Slide 6: Ion Tracking, Reactions, and Gamma Decay
Beam/Beam-Like Reaction Product (GenericIon Class)
  Incoming kinetic energy
    Option 1: Mean KE and dp/p
    Option 2: User-supplied incoming KE distribution
  Relativistic 2-body reaction kinematics
  Decay scheme
    Option 1: Single transition
    Option 2: User-supplied partial level scheme
Gamma decay in flight
  Level lifetimes
  Gamma-ray angular distributions

## Slide 7: Gamma Ray Scattering
Raw data: "hits" depositing energy in active detector volumes
  Primary particles (emitted gamma rays)
  Secondary particles (scattered electrons, scattered gammas, pairs)
Interaction points: consolidated hits
  Consolidate multiple hits in each segment
  User-specified "packing resolution”
  IP positions: barycenters of consolidated hits

## Slide 8: Output
Decomposed gamma-ray packets (Mode 2 data, Type 1)
S800 physics data packets (Type 9)
Emitted gamma-ray packets (Type 11)
  Number of emitted gammas
  Full-energy flag (multiplicity 1, full energy in one crystal)
  For each emitted gamma:
    Energy
    Emission position (x, y, z)
    Emission direction (theta, phi)
    Source beta
User sorting / post-processing code must fold in thresholds, energy & position resolution

## Slide 9
Fit: p1*(simulation)
+ p2*(measured room background)
Performance: Stationary Sources
Threshold response:
Resolution response:

## Slide 10
Performance: Dead Material and Stationary Sources

## Slide 11
L. Riley et al.
Inverse-kinematics (p,p’)
30 mm LH Target ~10 pps
In-Beam Performance
Inverse-kinematics pickup
10ps lifetimes, angular distributions included
A. Gade et al.

## Slide 12: Issues/ Future Work
Evaluate Addback and Tracking
  Determine packing resolution empirically (hit multiplicity?)
  How to handle background in source measurements?
Efficiencies
  Efficiency below 300 keV (currently too efficient)
  Non-physical coaxial dead layer ⟹ improve through measurement
Dead material (low-energy backscattering)
  GRETINA: improve preamp/dewar model
  Additional materials?

## Slide 13: Issues/ Future Work
Evaluate Addback and Tracking
  Determine packing resolution empirically (hit multiplicity?)
  How to handle background in source measurements?
Efficiencies
  Efficiency below 300 keV (currently too efficient)
  Non-physical coaxial dead layer ⟹ improve through measurement
Dead material (low-energy backscattering)
  GRETINA: improve preamp/dewar model
  Additional materials?

## Slide 14: UCGretina Geant4 Simulation Refining Geometries with Data

## Slide 15: Coincidence & Pencil Beam Scanning Simulations
Complete LBNL scanning table assembly, including coincidence scanning clovers, etc. has been implemented into UCGretina
Directly provides a mechanism for confirming expected distributions of scanning data
  Extent of coincidence “points” resulting from finite collimation
  Depth profile of pencil beams
Collimated measurements can be used with simulation to constrain detector parameter inputs to the simulation

## Slide 16: Coincidence Scanning and Table Limitations
X [mm]
Z [mm]
Z [mm]
Y [mm]
X [mm]
Y [mm]
X [mm]
Z [mm]
Z [mm]
Data
Simulation

## Slide 17: Pencil Beams and Coaxial Dead Layer
Series of pencil beam measurements (137Cs) were taken during scanning campaign of 2015 using Q4P4
Without any inclusion of signal decomposition, using only singles efficiencies, systematic scanning provides data to constrain dead layer thicknesses
XY
YZ
XZ

## Slide 18: Pencil Beams and Coaxial Dead Layers
Prof. Lew Riley, Sean Gregory and Ethan Haldeman

## Slide 19: Pencil Beams and Coaxial Dead Layers
Prof. Lew Riley, Sean Gregory and Ethan Haldeman

## Slide 20: Detector Rear Dead Layers
Efficiency measurements, requiring a signal in the rear layer (rear 1.2cm) of the crystals can be compared to simulation, analyzed in the same way
Shape of efficiency curve proves sensitive to rear dead-layer thickness

## Slide 21: Still Under Development…
Scanning data provides a rigid comparison point for determining dead layers in specific regions of the crystal
Changes (more physical dead layer values) cause discrepancy in overall efficiency, detector response ⟹ iterations required

## Slide 22: Still Under Development…
Scanning data provides a rigid comparison point for determining dead layers in specific regions of the crystal
Changes (more physical dead layer values) cause discrepancy in overall efficiency, detector response ⟹ iterations required
Additional pencil beam scanning along the coaxial bore, and perpendicular at a range of effective z has been done to validate dead layer thicknesses
Segment-by-segment efficiencies may provide even more insight (beyond the rear segments)

## Slide 23: “Enhanced” Simulation

## Slide 24: Toward a More Realistic Description
Geant4 includes realistic crystal geometries but does not have the correct segmentation
Introduces challenges in accurately applying concepts such as position resolution etc. – realistic description would require us to maintain the definition of net segment correctly

## Slide 25: Improving Segment Boundary Descriptions
Geant4 includes realistic crystal geometries but does not have correct segmentation
We use the basis grid points to define the correct segmentation in Z (as a function of X, Y) and phi
Directly reproduce detector crystal geometry (A and B type) in ROOT, to constantly check that no operation puts interaction points outside the physical crystal volume

## Slide 26: Improving Segment Boundary Descriptions
5% of points were removed (out of bounds)
49% of segments were modified

## Slide 27: Segment Efficiencies

## Slide 28: Total Crystal Efficiency
Total efficiency for B-type crystals – average 0.161(5)
Can define contour to reproduce total efficiency – back vs. coaxial dead layer
Consistent with large dead layers array optimization suggested

## Slide 29: Segment Efficiency (% of CC)

## Slide 30: “Standard” Simulation
1.5 mm back dead layer + 3.5 mm coaxial dead layer
Flat segment slices at 8, 14, 16, 18 and 20

## Slide 31: Remapped Simulation
1.5 mm back dead layer + 3.5 mm coaxial dead layer
Mapped to realistic segment boundaries (all changes to layer #)
Shape of distribution for segment efficiencies correct

## Slide 32: Remapped Simulation
Vary dead layers and optimize χ2 of difference in segment-by-segment relative efficiencies
Best “fit” for lower dead layers (coaxial and back)

## Slide 33: Still Under Development…
There is no consistent description of overall crystal efficiency and segment partial efficiencies – for both crystal geometries A and B
Suggestive of additional losses – outer surface area effective dead layer?

## Slide 34: Still Under Development…
There is no consistent description of overall crystal efficiency and segment partial efficiencies – for both crystal geometries A and B
Suggestive of additional losses – outer surface area effective dead layer?

## Slide 35: Still Under Development…
There is no consistent description of overall crystal efficiency and segment partial efficiencies – for both crystal geometries A and B
Suggestive of additional losses – outer surface area effective dead layer?
Exploring addition of outer surface dead layer – combine optimizing segment and total efficiencies to fit crystal-by-crystal for most accurate description

## Slide 36: Summary

## Slide 37
GRETINA Simulation Status Summary
UCGretina Geant4 simulation package has become an all-inclusive package for both physics analysis and GRETINA performance benchmarking
  Includes capabilities for in-beam and source simulation, with dead material included for good reproduction of overall spectral shape, and source efficiencies
Detailed scanning measurements are continuing to refine the subtleties of detector geometry
More “realistic” simulations are reached by post-processing of Geant4 outputs
  Realistic segments and energy-dependent smearing provide path forward to better agreement with P/T and polarization
  Method to investigate partial energy loss near boundaries etc.

## Slide 38
Acknowledgements
Thank you to
Lew Riley (Ursinus College)

## Slide 39: Thank you!

## Slide 40: GRETINA ⟹ GRETA
P/T
efficiency
Crystals
Calorimeter
Crystals
Calorimeter
22%
40%
4.5%
6.7%
20%
38%
4.4%
6.6%
18%
48%
19%
35%
17%
45%
19%
34%
@ 1.33 MeV
85/5 keV thresholds

## Slide 41: Decomposition Basis and Errors
Similarity in basis point distributions and data (x,y,z) distributions suggests using density of grid points to weight likelihood for altered interaction point positions
Crystal x (mm)
Crystal y (mm)
Counts
Counts
Crystal z (mm)
Data
Basis

## Slide 42: Getting Closer to Experimental P/T
Including the position resolution smearing (here with σ as a function of energy), P/T vs. ε curves become shallower ⟹ closer to data curves

## Slide 43
Polarization Summary: More Realistic Simulation

## Slide 44
Polarization: Angle Cut
Normalized intensity
Angle φ [degrees]
Q = 11%

## Slide 45
Polarization: Angle & Distance Cuts
Normalized intensity
Angle φ [degrees]
Q = 16%
Distance between interaction points > 20mm

## Slide 46
Polarization: Analyzing Power
Q = 25%

## Slide 47
Polarization Summary: “Ideal” Simulation

## Slide 48: Converging Toward Data
With realistic segments, interaction point distributions naturally move toward reproducing data more readily
Application of an energy-dependent position resolution smearing to the simulated data, while requiring no change to the segment ID naturally results in “clumping” of lower-energy points near segment boundaries
‘Raw’ Simulation
‘Smeared’ Simulation
Data
z [mm]

## Slide 49: Converging Toward Data
‘Smeared’ Simulation
‘Raw’ Simulation
28Si at 0.4c

## Slide 50: Polarization and Simulation ⟹ Preliminary

## Slide 51: Polarization In-Beam Test: GRETINA @ ANL
1369keV
0+
2+
24Mg(p, p’γ)24Mg

## Slide 52: Polarization In-Beam Test: GRETINA @ ANL
A2 = 0.53(2) A4= -0.36(4)
P(90)= 0.96
Angle θ [degrees]
Normalized intensity
24Mg Eγ=1.37MeV
60Co Eγ=1.33MeV

## Slide 53: Polarization
Q = 9% - no data cuts
Normalized intensity
Angle φ [degrees]

## Slide 54: Polarization as a Function of Angle

## Slide 55: Polarization as a Function of Angle