## Slide 1: Possible contribution à l’ILC & Réalisations gpe Laser_Electron_Interaction
Actuellement :
Elec : R. Chiche, D. Jehano, E. Plaige, S. Trochet
Méca : D. Douillet, Y. Peinaud
DEPACC : K. Cassou, K. Dupraz, A. Martens, D. Nutarelli, C. Pascaud, V. Soskov, F. Zomer
Production de rayons X ou gamma
-Imagerie X
-polarimétrie
-’photonique nucléaire’

## Slide 2
For ILC we could contribute to the electron polarimeter
Early studies in 2000 using the SLAC polarimeter scheme

## Slide 3
~2000 DESY / HERA
2 mirror cavity, 2 m long
CW laser beam
Finesse~25000
Issue  laser frequency stabilization
@ 10-12 relative accuracy in accelerator environment
Compton polarimeter at HERA

## Slide 4
Laser d’alignement
Tube protons

## Slide 5
Blindage (3 mm pb) +
isolation thermique
(sandwitch Alu/isolant/Alu)

## Slide 6
An example for one single bunch
(taken in 4 + 4 seconds)
Compton peak & asymmetry measured
Fitted Pe: 29.7±2.5stat% (one bunch in 8s)
32.1±1.5stat% (all bunches in 8s)
(TPOL Pe: 29.6±1.3stat% (all bunches in 1min)
results

## Slide 7
Optical cavity R&D
Pulsed laser
Collaboration with KEK

## Slide 8
Cavité 2 miroirs, finesse 26000, Pulsed Laser
(Ti:sapph picosecond)
EUROTEV
Contrat européen 2006

## Slide 9
R. Cizeron/LAL

## Slide 10
Results

## Slide 11
ATF e- beam
Injection laser
2 flat mirrors
2 spherical mirrors
laser/beam
Interaction point
Angle laser / e- beam= 8°
Non planar 4-mirror cavity for ATF
ATF beam pipe: 5mm slit…
MightyLaser (LAL/KEK/CELIA/LMA)
Contrat ANR
2008-2012
Polarised positron source
Circularely polarized eigen mode

## Slide 12
translation Z actuators
Gimbal mounts θx θy ± 10 mrad
actuator
translation : 3 balls on guide rail and plan
θx
θy
OVERALL DESIGN PRINCIPLE
Encapsulated commercial stepper motor
bellow

## Slide 13
Vacuum vessel for ATF

## Slide 14
Implementation at ATF / KEK

## Slide 15
Results

## Slide 17
ThomX Optical cavity
Laser oscillator rep. rate & CEP locking
@ Dn/n ~10-12

## Slide 18: ThomX optical table

## Slide 19: ThomX test cavity
R&D cavity (133 MHz)
Test for ThomX
High average power

## Slide 20: Measured stacked power
Max stable stacked power ~ 383 kW
400 kW during few seconds
Effective enhancement factor ~ 10 000
Spatial coupling ~ 90 %
Thorough re-alignement at every step
Still limited by thermal effects in the
mounts
Mirrors transmission measured
with a calibrated power meter

## Slide 21: ThomX feedback system
Performances :
8 channels (In and Out)
ADC @ 250 MHz
FPGA @ 250 MHz (DSP) – 500 MHz (Logic)
DAC @ 125 MHz
Global in-out latency (GIOL) ~ 65 ns
Designer : E. Plaige

## Slide 22: Valo industrielle (LabCom CNRS avec Amplitude)
Source Compton & LINAC
Cavité optique miniaturisée

## Slide 23: ELI-NP gamma beam source
Spécifications du faisceau de rayons gammas:
  Énergies γ (Eγ) : 0.2 – 19.5 MeV
  Largeur spectrale relative (ΔE/E) : <0.5%
  Flux : > 1010 ph/s
  Polarisation linéaire : >95%
Ee ≈ 600 MeV
Laser 200 mJ
Laser 400 mJ
Ee ≈ 280 MeV
Rayons γ
e-
Faisceau
laser
Faisceau
laser
Accélérateur
linéaire
Point
d’interaction
Extreme Light Infrastructure = Programme de recherche européen
Défis technologiques :
 synchronisation < 500 fs
 32 paquets e- @100Hz
Schéma d’ELI-NP-GBS

## Slide 24: Point d’interaction (recirculateur)
Spécificités :
Unique point d’interaction laser-électrons
Angle de croisement laser-électrons constant (faible largeur spectrale)
Pas d’aberration optique (2 miroirs paraboliques)
32 passages d’une impulsion laser (puissance laser x32)
Rayons γ
e-
Faisceau
laser
Faisceau
laser
Accélérateur
linéaire
Point
d’interaction
Schéma du recirculateur
2377 mm
380 mm

## Slide 26
High intensity Laser beam transport lines

## Slide 27
For ILC we could contribute to the electron polarimeter
Early studies in 2000 using the SLAC polarimeter scheme

## Slide 28: Global architecture
Oscillator laser
Amplificateur
Cavité optique
IP
<P> ~ 10 mW
<P> ~ 150 W
<P> ~ 500 kW
Anneau e_
Strecher
Compressor
Laser oscillator and fiber amplifier
Amp. #3
Amp. #2
Amp. #1
5 mW
150 W
Gain ~ 30000

## Slide 29: laser system
Beam quality at high power
0A/4W
5A/97W
8A/158W
11A/200W
fiber amplifier : laser beam quality
CELIA Lab.

## Slide 30
laser system
Max power : 210 W
Stability over 90h @ 104 W :
210 W
h=69%
fiber amplifier
Fiber amplifiers are very efficients
CELIA Lab.

## Slide 31
ASE
Chart: Wavelength (nm)
fiber amplifier : Amplified Spontaneous Emission
CELIA Lab.