## Slide 1: SDHCAL status
I.Laktineh
On behalf of the French SDHCAL groups
IP2I, LPC,OMEGA

## Slide 2
SDHCAL ongoing activities
Module0 progress
Detectors
Readout electronics
Gas recycling
Future activities
Conclusion
Outline

## Slide 3
10500 64-ch ASIC were tested and calibrated using a
dedicated (ASICs layout : 93% ).
SDHCAL prototype construction
310 PCBs were produced, cabled and tested.
They were assembled by sets of six to make 1m2 ASUs
50 detectors were built and assembled with
their electronics into cassettes.
Self-supporting mechanical structure.
Full assembly took place at CERN.
170 DIF, 20 DCC were built and tested.
DAQ system using both USB and HTML protocol
was developed and used.
1 cm x 1 cm pads, 48 layers, power-pulsed, mechanical self-supporting structure
SDHCAL Since 2011
TB: 2012,2015, 2016, 2017 and 2018 with ECAL

## Slide 4
The thresholds weight evolution with the total number
of hits obtained by minimizing a χ2
Χ2 = (Ebeam-Erec)2/Ebeam
Erec = α (Ntot) N1 + β(Ntot) N2 + γ(Ntot) N3
N1,N2 and N3 : exclusive number of hits associated to first,
second and third threshold.
α, β, γ are quadratic functions of the total number of hits (Ntot)
Events of H2 runs corresponding to energies : 5, 10, 30 , 60
and 80 GeV were used to fit the 9 parameters.
Then the energy of hadronic events in
both H2( only pions) and H6 (presence of protons)
Energy estimation

## Slide 5
The density of each hit is the number of hits in the surrounding 3x3 cells (including itself)
It can vary from 1 (lone hit) to 9 (completely surrounded)
  For these 3 formulas, the α parameters are found using a chi2 minimisation :
Energy reconstruction

## Slide 6
Preliminary
Preliminary
2015 TB@H2-SPS

## Slide 7
Homogenization of the SDHCAL response:
-Use the muons threshold scan to study both efficiency and multiplicity.
-Use the average multiplicity and that of the second and the third threshold efficiency as a reference and then for each ASIC change the thresholds to obtain the average values.
2015 TB@H2-SPS

## Slide 8
Homogenization of the SDHCAL response:
-Use the muons threshold scan to study both efficiency and multiplicity.
-Use the average multiplicity and that of the second and the third threshold efficiency as a reference and then for each ASIC change the thresholds to obtain the average values.
2017 TB@H2-SPS

## Slide 9
2015 TB@H2-SPS
Preliminary
Preliminary

## Slide 10
SDHCAL is a powerful tool to identify particles: muons, electrons and hadrons. Using BDT one can separate efficienctly the different species.
CALICE-CAN-2019-001
 Paper after final review within CALICE
2015 TB@H2-SPS

## Slide 11
SDHCAL is a powerful tool to identify particles: muons, electrons and hadrons. Shower shapes could also be used to extract the energy.
JINST 026P 0519 (2019)
Energy reconstruction for a hadronic calorimeter using
multivariate data analysis methods applied on SDHCAL simulated events,
a paper just published. A collaboration between IP2I and SJTU

## Slide 12
Associating PS and SPS 2015 results
This allows us to demonstrate the capability of SDHCAL to identify the different species (no Cerenkov) and to cover a large dynamic range.
A CALICE note is in preparation

## Slide 13
Main online software activities
APRIL : the SDHCAL PFA for ILD
Original ARBOR-PFA developed
using PandoraPFA-SDK.
by Remi Ete for his PhD
Taken over by Currently Bo Li
(IP2I postdoc until end of this month)
A paper in preparation.
Digitizer:
simulate GRPC+electronics response to Geant4 steps.
Originally developed by G. Grenier and A Steen.
Improved by by G Garillot ( part of MarlinReco of ILC)
Improved modelling : correct for primary ionisations fluctuations
(D. Boumediene).
Gerald

## Slide 14
First common test with the technological SiW ECAL prototype
Common DAQ: same start acquisition (using the spill start), busy from SDHCAL

## Slide 15
First common test with the technological SiW ECAL prototype
Antoine Pingault (Gent)
&IP2I&CIEMAT&
ECAL groups

## Slide 16
SDHCAL for ILD
We propose the videau structure as a baseline for the SDHCAL

## Slide 17
SDHCAL R&D for ILD
Detectors as large as 3m X 1m need to be built
Electronic readout should be the most robust with
minimal intervention during operation.
DAQ system should be robust and efficient
Mechanical structure to be similar to the final one
Envisage new features such timing, etc..
Goal: to build new prototype with few but large GRPC with the new components
 ILD Module0
SDHCAL
ILD Module
GRPC
Glass Resistive Plate Chambers

## Slide 18
2 m
1 m
inlet
outlet
Prototype circulation system
New circulation system
Detector conception
Construction and operation of large GRPC necessitate some improvement with respect to the present scenario.
Gas distribution : new scheme is proposed
Cassette conception to ensure good contact between the detector and electronics is to be improved

## Slide 19
First 2x1 m2 RPC chamber was successfully built with a new gas circulation system
Detector conception
IP2I

## Slide 20
DIF #1
DIF #2
DIF #3
144 ASICs= 9216 channels/1m2
USB
HDMI
ASU1
3072 ch
ASU2
DIF
100 cm
33 cm
HADROC chip
(ASIC)
1m2 board  6 ASUs hosting 24 ASICs
Electronics readout for the 1m3 prototipo
1 DIF (detector InterFace) for 2 ASU (Active Sensor Unit.- PCB+ASICs)  3 DIFs for ONE 1m2 GRPC detector
Electronics readout for the final detector
Only 1 DIF per GRPC (any size) with small dimensions to fit in the small space available at the ILD detector
DIF dimensions
New electronics
Uo to 9
IP2I&CIEAMT

## Slide 21
HARDROCR3 main features:
  Independent channels
  Zero suppress
  Extended dynamic range (up to 50 pC)
  I2C link with triple voting for slow control parameters
  packaging in QFP208, die size ~30 mm2
  Consumption increase (internal PLL, I2C)
6,3 mm
4,7 mm
H3B TESTED : 786, Yield : 83.3 %
New electronics: ASIC
OMEGA

## Slide 22: HARDROC3: Analog linearity
FSB0
FSB0: 5σ noise limit= 15 fC
Up to 10 pC
Up to 50 pC
Fast shaper outputs (mV) vs Qinj (fC)
50% trig. Eff. (DAC units) vs Qinj (fC)
Dynamic range: 15fC - 50 pC
FSB1
FSB2
OMEGA

## Slide 23
SDHCAL Simulation
Up to 20% improvment is expected
IP2I

## Slide 24: ASU (Active Sensor Unit)
An important challenge is to build a PCB up to 1m length with good planarity to have a homogeneous contact of pads with RPCs in order to guarantee an uniform response along all the detector.
A company was found and 1x0.33 m2 with 13 layer ASUs have been built.
ASU
PCB
HR3
ASICs
The ASU-ASU (= ASU-DIF) connections also produced
IP2I

## Slide 26
DIF sends DAQ commands (config, clock, trigger) to front-end and transfer their signal data to DAQ. It controls also the ASIC power pulsing
• Only one DIF per plane (instead of three)
• DIF handle up to 432 HR3 chips (vs 48 HR2 in previous DIF)
• HR3 slow control through I2C bus (12 IC2 buses).
Keeps also 2 of the old slow control buses as backup & redundancy.
• Data transmission to/from DAQ by Ethernet
• Clock and synchronization by TTC (already used in LHC)
• 93W Peak power supply with super-capacitors
(vs 8.6 W in previous DIF)
• Spare I/O connectors to the FPGA (i.e. for GBT links)
• Upgrade USB 1.1 to USB 2.0
FPGA XC7A35TFGG484
TEXAS TM4C1294U
POWER
POWER
POWER
New electronics : DIF
CIEMAT&IP2I

## Slide 27
6 cm
100 cm
33 cm
New readout electronics is being tested
New electronics
Firmeware is almost fianlized
CIEMAT&IP2I

## Slide 28
33 cm
Two ASUs are being connected and tested
New electronics
CIEMAT&IP2I

## Slide 29
Tests with new electronics on large detectors
The absence of manpower in CIEMAT and IP2I in Digital Electronics/DAQ
(involved in CMS upgrade projects) is a problem.
We would like to test the new electronics that we produced 2 yeas ago but for this we need qualified staff.

## Slide 30
Gas recycling is necessary to reduce cost :
-Goal: reduce the gas consumption to reduce the cost.
-Gas renewal of 5-10% rather than 100%
-Conceived by the CERN gas group and successfully used.
Gas system
We will start using HFO1234ze soon (GPW=3)
We have also now a remotely a gas controller
IP2I

## Slide 31
2020-2022
Timing : the new dimension
- Build large MRPC (fast timing detectors)
- Develop fine timing readout (PETIROC or equivalent ASIC) of 10-100 ps
- Develop appropriate TDC ( for time measurement and ToT)
- Conceive ASUs with pads of 1x1 cm2
- Develop a new DAQ system with the time information.
- Build a small prototype

## Slide 32
Avalanches
The principle is simple: the charge is shared among several pads/pixels. The pads/pixels are inter-connected in a smart way so one can identify the position of the impinging particle by identifying the fired strips and thus find the hit as the crossing points.
In addition there is no ambiguity as far as the number of particles crossing the particles is not very high thanks to the use of at least 3 directions strips.
Patented:
(PCT/EP2018/053561-FR3062926: I.Laktineh)
Lozenge’s large diagonal : 1 cm
3 HR2 ASICs rather than 20 for the same surface
2020-2022

## Slide 33
We would like to use the scheme to instrument very large gaseous detectors.
Well controlled inductance and well matched impedance will help to keep the signal in good shape for long distances.
This scheme that was successful for RPC could be easily applied to resistive MM and GEM.
FEB
2020-2022

## Slide 34
We would like to use the scheme to instrument very large gaseous detectors.
Well controlled inductance and well matched impedance will help to keep the signal in good shape for long distances.
This scheme that was successful for RPC could be easily applied to resistive MM and GEM.
Funded by PULSALYS

## Slide 35
Summary and plans for SDHCAL
Technological protoype running successfully since 2012
Many results validate the potential of the concept
Large prototype with the new generation of readout electronics is on the rails but digital electronics staff is missing ( we need help)
We have several ideas for the future....

## Slide 37
- 8 détecteurs de type GRP de 70x80 ont été construits
Des PCBs de type strips tissés (TRICOT) ont été conçues, testées
Des cartes readout avec un ASIC+MP+ ont été conçues, fabriquées et
récemment testées
Le système d’acquisition permettant de synchroniser les cartes, leur envoyer des commandes et récupérer leur données a été récemment finalisé et actuellement en test.