## Slide 1: GATE for the development of fast CT scanner
Nicolò Tuccori

## Slide 2
Introduction to the project
Using GATE
First outcomes
Next steps
Agenda

## Slide 3: Introduction to the project

## Slide 4
RADnet collaboration
MAIN OBJECTIVE: Development of the detection system of the CT scanner;
FIRST STEP: Detailed simulation to evaluate possible rooms for improvements;
Experimental particle physics group

## Slide 5
CT scanner
STATIONARY GANTRY
Several detectors and emitters associated
BELT IN CONSTANT MOVEMENT
Fast scans with high-intensity radiation

## Slide 6
Detection system single unit
PECULIARITIES:
Array of fast scintillator crystals;
Unfocused x-rays < 200 keV;
Photodiodes coupled to crystals;
High-intensity radiation each scan;

## Slide 7
Detection system single unit
COMPLICATIONS TO BE STUDIED:
Array of scintillator crystals;
Unfocused x-rays < 200 keV;
Cross-talk;
Light-output optimization;
Photodiodes coupled to crystals;
Coupling influence;
High intensity radiation each scan;
Performance vs accumulate dose;

## Slide 8: Using GATE

## Slide 9
Single unit model
PHOTODIODES (ACTIVE PART)
Phase Space actor -> store infos of scintillation photons that reach this volume;

## Slide 10
Single unit model
PHOTODIODES (ACTIVE PART)
Phase Space actor -> store infos of scintillation photons that reach this volume;
ELECTRONICS BOARD
Phase Space actor -> store all steps of x-rays interacting in this volume;

## Slide 11
Single unit model
PHOTODIODES (ACTIVE PART)
Phase Space actor -> store infos of scintillation photons that reach this volume;
ELECTRONICS BOARD
Phase Space actor -> store all steps of x-rays interacting in this volume;
CRYSTALS ARRAY
Phase Space actor -> modified to store:
Edep;
First step of scintillation photons;
All steps of X-rays and secondary e-;

## Slide 12
Single unit model
PHOTODIODES (ACTIVE PART)
Phase Space actor -> store infos of scintillation photons that reach this volume;
ELECTRONICS BOARD
Phase Space actor -> store all steps of x-rays interacting in this volume;
CRYSTALS ARRAY
Phase Space actor -> modified to store:
Edep;
First step of scintillation photons;
All steps of X-rays and secondary e-;
SOURCE
Rectangular, facing one crystal of the array and emitting X-rays toward it;

## Slide 13: First outcomes

## Slide 14
Using LYSO crystals and a monoenergetic source of 100 keV,
Example
“New” detector
“Used” detector
  reflector with half reflectivity;
  coupling surface more rough;

## Slide 15
Using LYSO crystals and a monoenergetic source of 100 keV,
Example
“New” detector
“Used” detector
  reflector with half reflectivity;
  coupling surface more rough;

## Slide 16
Using LYSO crystals and a monoenergetic source of 100 keV,
Example
“New” detector
“Used” detector
  reflector with half reflectivity;
  coupling surface more rough;

## Slide 17
Using LYSO crystals and a monoenergetic source of 100 keV,
Example
“New” detector
“Used” detector
  reflector with half reflectivity;
  coupling surface more rough;

## Slide 18
Using LYSO crystals and a monoenergetic source of 100 keV,
Example
“New” detector
“Used” detector
  reflector with half reflectivity;
  coupling surface more rough;
Cross-talk of optical photons

## Slide 19: Next steps

## Slide 20
NEAR FUTURE
Optimization of the simulation output;
Estimation of missing parameters;
Validation of the simulation results;
.. OTHER POSSIBLE AREA OF INTEREST
The effect of slow signal components on ghosting;
Compare different fast scintillators performances;
Next steps

## Slide 21: Thank you N.Tuccori@sussex.ac.uk