## Slide 1
Time and band-resolved scintillation in time projection chambers based on gaseous xenon
S. Leardini, E. Sánchez García, P. Amedo, A. Saa-Hernández, D. González-Díaz, R. Santorelli, D. J. Fernández, D. González
25-12-2022

## Slide 2
Why to still address this in 2022?
Because, still, a significant part of the information below must be obtained by simulation!
2nd continuum
C. D. R. Azevedo, DGD, S. F. Biagi et al NIM A, 877(2018)157
Ionization electron in electroluminescence gap
2.4MeV electron
?
?
?

## Slide 3
Common wisdom
Less-common wisdoms
‘3rd’ excimer continuum
IR excimer continuum
1250nm
for xenon above ~1 bar:
𝝉singlet = 4.5ns (about 10% of signal)
𝝉triplet = 100ns (about 90% of signal)
𝝀 = 172nm
EL
nBr
EL threshold
assigned to Xe*(2p5)
assigned to Xen+* and Xen++ (n=2,3)

## Slide 4
Ok, whatever wisdom, is this known/understood or not?
problem is that most experiments conform to two basic types:
Hammer approach
Release a lot of energy into the medium
and do spectroscopy (no yield estimate)
Ballerina approach
Release particles one by one to estimate accurately the yields (and abandon spectroscopy)
if we add to the mix the possible presence of impurities, it becomes very difficult to interpret the information found in literature, when it comes to study sub-10% effects.

## Slide 5
not-resolved
VUV (128nm)
How impactul are these ‘subdominant’ emissions?
UV (~200nm)
VUV (172nm)
UV (~300nm)
S1 (argon, 1.5bar)
S1 (xenon, 1bar)
S. Leardini, E. Sánchez-García et al.,
Eur. Phys. J. C (2022) 82:425 (this work)
R. Santorelli, E. Sánchez-García et al.,
Eur. Phys. J. C (2021) 81:622
not-resolved
at around atmospheric pressure, the 3rd continuum completely dominates the fast component!

## Slide 6
Experimental setup (I)

## Slide 7
Experimental setup (II)
PM frames
vessel
multi-wire readout
setup

## Slide 8
System pumped and He-tested.
Gas circulated through cold getter.
Xe recovered and vapor-phase purged before every new run.
Comparison of drift velocities with PyBoltz simulations showed ~ 300 ppm contamination of N2 (no hot getter).
Time constant of Xe triplet: 85-98 ns – compatible with the estimated N2 contamination.
Purity situation

## Slide 9
Single-photon calibration
5-10% variations run-to-run
(in the absence of charge recombination)
time spectra [145-600]nm
LED runs

## Slide 10
Results: electric field dependence
2nd continuum band
3rd continuum band
𝜶’s
𝜷’s
(no dependence with E-field!)
(no recombination signal for 𝜷’s)

## Slide 11
Results: pressure dependence
𝝉f = 8.3-8.5ns
𝝉f = 4.5ns

## Slide 12
Geometrical corrections
𝜶’s
𝜷’s
consider a reflectivity range, according to literature:
(expanded)
~10% uncertainty

## Slide 13
Results: Wsc-values (2nd continuum band)
slightly above previous values (not band-resolved), as expected
this work
previous results

## Slide 14
Results: secondary scintillation (2nd continuum band)
EL region
avalanche
region
We do not reproduce previously observed deviations from Y/P vs E/P scaling
E. D. C. Freitas et al., Phys. Lett. B,
684, 205, 2010

## Slide 15
Results: secondary scintillation (visible/UV bands)
UV
UV+vis
VUV+UV+vis
Energy peak reconstructed clearly in all bands
scintillation levels and spectral content compatible with neutral bremsstrahlung emission
(no other emissions expected in the range 250-600nm)

## Slide 16
Conclusions
We observed and characterized scintillation compatible with the previously reported 3rd continuum emission (same time constant and spectral band).
At around 1bar, it represents the biggest contribution to the fast component of the scintillation signal, dropping by a factor x2 at 10bar.
Despite involving highly ionized states, third continuum is highly independent from electric field.
No recombination signal observed for ~0.5MeV electrons at 10bar.
Wsc slightly higher than previously reported, compatible with errors. Higher tension for 0-field Wsc-values.
Y/P vs E/P scalings reproduced in the range 3-10bar (contrary to previous observations).
Evidence for broad-band emission in the secondary scintillation signal, compatible with neutral bremstrahlung.