## Slide 1
LOREM IPSUM DOLOR
SIT AMET
"Some commissioning aspects of an AB-BNCT facility at CNAO"
S. ALTIERI S. AGOSTEO

## Slide 2
reactors
proton
accelerators
Neutron sources

## Slide 3
Tandem: 2,5 MeV – 10 mA
Target: Lithium
ISSN 1063-7796, Physics of Particles and Nuclei, 2019, Vol. 50, No. 5, pp. 569–575. © Pleiades Publishing, Ltd., 2019.
Russian Text © The Author(s), 2019, published in Fizika Elementarnykh Chastits i Atomnogo Yadra, 2019, Vol. 50, No. 5.
Neutron sources

## Slide 4
Legislation
patient
treatment
Radiobiology
Dosimetry
experimental
computational
clinical
Treatment Planning
Boron
compounds
measurement
imaging
Notes: Per avviare un’attività di clinica di BNCT ci sono alcuni importanti aspetti da considerare
Naturlamente si può partire dall’esperienza fin qui maturata con la BNCT presso i reattori
Della dosimetria parlerà prof. Agosteo

## Slide 5
Legislation
Clinic
Selection of pathologies to start clinical trials
Definition of clinical research protocols
Management of the CE marking procedure
of the system formed by
the accelerator machine
the boron carrier

## Slide 6
“NeuCure System”
a neutron irradiation device intended to be used for BNCT
to treat unresectable, locally advanced or locally recurrent head and neck cancer.
“NeuCure Dose Engine”
a medical device program intended to be used for calculation of dose distribution in BNCT using NeuCure System
in combination with L-BPA (Steboronine 9000 mg/300 mL for Infusion [Stella Pharma Corporation]. A marketing application for Steboronine was submitted simultaneously with the marketing application for NeuCure System and NeuCure Dose Engine. (NeuCure System and NeuCure Dose Engine are hereinafter collectively referred to as “NeuCure.”)
Sumitomo Heavy Industries, Ltd. Japan
“NeuCure.”

## Slide 7
Boron compounds
Product Name | Steboronine® intravenous drip bag 9000mg/300mL
Generic Name | Borofalan [10B]
Indications | Locally unresectable recurrent or unresectable advanced head and neck cancer
Dosage & Administration | For adult patients, administer Steboronine® intravenously at 200 mg/kg/h as Borofalan(10B) for 2 hours, followed by neutron irradiation to the cancer lesion with continuous infusion at 100 mg/kg/h.

## Slide 8
New Boron vectors research
Liposomes loaded with
lactosyl-carboranes (LCOB)
Gold nanoparticles
with boron
Polimeric micelles
with carboranes
These formulations were tested in vitro and in vivo
S. Altieri et al., J.Med.Chem. 52 (2009)
L. Ciani et al., Int. J. of Pharm. (2013)
D. Pietrangeli et al., Coord.Chem. Rev. (2013)
Gd-B-LDL

## Slide 9
Inductively Coupled Plasma Spectroscopy
ICP
(AES – OES)
Boron concentration measurement
18F-BPA PET
Tissue-to-blood 10B
Cancer cells 3.5 or defined with BPA-PET
Mucosal
membrane 2 or 1
Skin 1.5
Brain, spine, lung 1

## Slide 10
Boron concentration measurement and imaging
Prompt Gamma
Neutron Analisys
PGNA
Prompt Alpha
Neutron Spectrometry
PANS
Neutron
Autoradiography
NA
  Laser Induced Breakdown
  Spectroscopy
  LIBS
Secondary Ion
Mass Spectroscopy
SIMS
Laser Secondary Neutral
Mass Spectrometry
laser-SNMS
  Nuclear Magnetic
  Resonance
  NMR / MRI
Electron Energy Loss
Spectroscopy
EELS

## Slide 11
SPECT with
a collimator
Compton Camera with
3D detectors
Online Boron concentration imaging
T. Kobayashi et al. Med Phys. 2000 Sep;27(9):2124-32.
Notes: oltre a quanto già detto per la F-18BPA prima del trattamento
c’è la misura del rate di reazioni attraverso la rivelazione del gamma da 478 keV
Ci sono due tecniche principali
SPECT con collimatore
Compton Camera con rivelatori 3D

## Slide 12
1D detector under test: a drift strip detector 0.5 x 0.5 x 20 mm3
photons
5 mm
5 mm
20 mm
planar transverse field (PTF)
IMEM-CNR
Parma
3D detector 0.5 x 20 x 20 mm3
L. Abbene et al. J. Sync. Rad. 25/09/2020
CZT
Scintillators
in collaboration
with prof. C. Fiorini
3D CZT system
20 x 20 x 20 mm3
Online Boron concentration imaging

## Slide 13
In vitro/in vivo tests to establish the efficacy and toxicity of the therapy on the pathologies identified
with preclinical models
(cell cultures, tissue cultures, 3D models, animals)
Start of experimental phase also using the available neutron beams of Triga Lena Reactor
Radiobiology

## Slide 14
BNCT facility for In vitro/in vivo tests
collimted thermal neutron bem
PGA
Detectors testing
neutron tomography
Triga Mrk II reactor at LENA UNIPV
40-20-100 cm3
Radiobiology
Research on new boron carriers
Tests of BNCT toxicity and effectiveness

## Slide 15
Treatment Planning System
H.Kumada, K. Takada Ther Radiol Oncol 2018;2:50

## Slide 16
Treatment Planning System
SACRA Planning developed by Sumitomo Heavy Industry Co
  Combined with RayStation
  PHITS as Monte Carlo engine
Tsukuba Plan by Tsukuba University
  PHITS as Monte Carlo engine
RayStation by RaySearch with Aurora dose calculation engine developed by Neutron Therapeutics Inc
  GEANT4 as Monte Carlo engine
RaySearch offers support to plan for BNCT
BNCT planning in RayStation is developed together with
Sumitomo, Neutron Therapeutics and TAE Life Sciences
https://www.raysearchlabs.com/boron-neutron-capture-therapy/
  Developed for accelerator based BNCT

## Slide 17
Dosimetry
Proton beam monitor
Free air
  Neutron spectrum at target
  Neutron spectrum at beam port
  Neutron – gamma dose
Patient n,gamma dose out of beam
Water phantom
  Neutron flux (thermal, fast) distribution
  Gamma dose distribution
Very challenging task
complex radiation field: neutrons, gamma rays, protons and 𝛂 and Li ions
different weighting factors that also depend on the boron carrier used
prof. S. Agosteo
talk

## Slide 18
Thank you
for
your kind attention
saverio.altieri@unipv.it