## Slide 1
LOREM IPSUM DOLOR
SIT AMET
Medical physics activities at CNAO and treatment planning developments
M. Ciocca
Medical Physics Unit

## Slide 2
Peakfinder water column
Beam commissioning and QA
Experimental data
Lat-integrated Depth Dose Distributions (mono-en. pencil beams)
Physics basic beam data acquired:
experimentally
Monte Carlo simulation (FLUKA code)
121 MeV

## Slide 3
400 MeV/u

## Slide 4
Transversal dose profiles in air

## Slide 5
Protons
Carbon ions

## Slide 8
Testing the use of commercial anthrophormic 3D printed phantoms filled with (VIP polymer) gel sensitive to radiation
Validation with p and C-ions
End-to-End test on both protons and C-ion clinical plans
Gel dosimetry with protons and carbon ions

## Slide 9
4
2
1
3

## Slide 11
Cardiac radioablation
Eur J Heart Fail. 2021 Jan;23(1):195-196.
Detection and syncronization of proton beam to ECG and respiratory gate

## Slide 12
General-purpose (multi-)ion therapy: the FRoG project
Designed and developed by A. Mairani & BioPT group at Heidelberg (+ CNAO as tester and co-developer)​
Fast Recalculation on GPU using clinical DICOMs​
(RayStation) TPS-friendly" physical, biological and LET maps outputs for H, He, C and O ions​
Coupled with many biological (RBE, OER) models (w/ ROI-dependent a/b)​

## Slide 13
Patient-specific QA → in-silico
independent dose calculation engine  FRoG (HIT + CNAO)
FRoG can be used to recalculate treatment plans in water or on the patient CT, based on TPS input data or from machine treatment log files
Chart: 60 proton beams
| Pass | Fail
Proton beams (60) | 97 | 3

## Slide 15
Commissioning of Raystation v.10B
proton MC on GPU
New C-ion fragmentation spectra
MKM clinical
Raystation Research agreement (signed)
4D carbon ions dose accumulation (G. Meschini PoliMi)
3D RBE and LET evaluation /optimization for protons
C-ion LET evaluation
Tri-chrome and nuclear interaction model for C-ion
TPS commissioning – continuous upgrade

## Slide 16
4D robust optimization strategies (protons and C-ions) and dose calculation accuracy in the lung
4D treatments - Lung

## Slide 17
Treatment adaptation HNC – 27fx 3 re-plan

## Slide 18
LEM I
MKM
SEQ
SIB 54.4
SIB 48.0
SIB ACC - CTV LD
In silico feasibility study of carbon ion radiotherapy with simultaneous integrated boost (CIRT-SIB) for head and neck adenoid cystic carcinoma
Edoardo Mastella 1,*, Silvia Molinelli1, Giuseppe Magro1, Stefania Russo1, Maria Bonora1, Sara Ronchi1, Rossana Ingargiola1, Alexandra D. Jensen2,3, Mario Ciocca1, Barbara Vischioni1, Ester Orlandi1
Frontiers in Oncology 2021

## Slide 19
68.8 Gy (RBE)LEM
Gy (RBE)MKM
Pattern of failure – OARs sparing

## Slide 20
Sacral and skull-base Chordoma – dose averaged LET - FROG
Molinelli et al. 2021 - Radiotherapy and Oncology
Voxel based dose-averaged LET analysis in the target volume
LET distribution and toxicity - bone fracture and severe sciatic injuries