## Slide 1: Proposal for CE-65v1 PS Beam test program (Spring 2022)
Main priorities
  Long runs (~10k tracks) on A4, B4, C4, D4 for each 3 sub-matrices (AC-Amp with HV=10V)
  Long runs on C4 (3 sub-mat.) with Psub=3V
Complementary program
  Runs (~2k tracks) on AC-Amp with HV=1, 3V for A4, B4, C4, D4
  Runs on C4 (3 sub-mat.) with Psub=1 V
Second complementary program
  Same as main priorities with irradiates sensors (B4, D4 ?)
Detailed studies (including intra-pixel) with best charge-collection conditions
Global evolution for optimised process with HV or Psub
Detailed studies after irradiation
Short noise runs for each conditions!
Values of Psub to be discussed