## Slide 1
Search for a new mode of radioactivity: double alpha decay
2022 11 24
Proposals 23-90 IN2P3-GSI and 23-91 CEA-GSI

## Slide 2: Alpha decay basics: microscopic approach
n: number of assaults per unit of time
: barrier penetration probability (WKB)
Microscopic approach: J.P Ebran (CEA/DAM) and E. Khan (IJCLab)
With collaboration D. Vretenar, T. Nikšić and J. Zhao. PhD Thesis F. Mercier
: minimization of the action integral
effective inertial mass
: energy potential
104Te
104Te 108Xe 212Po 224Ra
Texp <18ns 58 ms 0.3 ms 3.6 d
Ttheo 197ns 50 ms 0.6 ms 9.5 d
F. Mercier et al., Phys. Rev. C 102, 011301(R) (2020)
Phys. Rev. Lett. 127, 012501 (2021)
108Xe
Notes: In addition action due to coulomb interaction.

## Slide 3: 224Ra α-decay
Texp = 3.6 d
Ttheo = 9.5 d
DAM/IJClab

## Slide 4: 3D Potential energy surface for 224Ra
DAM/IJClab

## Slide 5: 2α decay in 224Ra
14C 8Be 2a
Ttheo 1017.46 s 1027.87 s 1014.24 s
Texp 1015.86 s ?? ??
DAM/IJClab
Notes: Time consuming calculation : few weeks to calculate PES

## Slide 6
How to detect double alpha radioactivity ?

## Slide 7: Experimental considerations
Experimental constrains
at least 1010 224Ra
Filter 1-alpha decay
Detect 2 alphas back to back in coincidence
Energy Sum 2 alphas = Q2α = Qα(224Ra) + Qα (220Rn) ~ 12.192 MeV
The control of background noise and random coincidences is crucial for rare events
208Pb
α 100 %
5.67 MeV
α 100 %
6.29 MeV
224Ra
3.6 d
220Rn
55.6 s
216Po
145 ms
α 100 %
6.78 MeV
212Pb
10.6 h
β- 100%
100 keV
212Bi
60.5 m
β- 64%
494 keV
α 36 %
6.09 MeV
212Po
299 ns
α 100 %
8,78 MeV
208Tl
3.03 m
β- 100%
559 keV
2α Branching Ratio ~ 10-9
Q2α = 12.192 MeV

## Slide 8: The GSI 224Ra experiment at the FRS ion catcher
FRS
CSC
MR-TOF MS
Production Target
1.6 g/cm2 Be
+ 0.2 g/cm2 Nb
238U @
1000 MeV/u
~ eV
~ MeV/u
PID
Slits
~ eV
~ keV
~ MeV/u
~ GeV/u
Opportunity for a long off-line run using a 228Th source

## Slide 9: The GSI Setup
Detectors from the University of Edinburgh

## Slide 10: Data taking
M | T | W | T | F | S | S |  | M | T | W | T | F | S | S
31 | 1 | 2 | 3 | 4 | 5 | 6 |  | 25 | 26 | 27 | 28 | 29 | 30 | 1
 |  |  |  | Run 121 | Run 121 | Run 121 |  |  |  |  |  |  |  | Run 315
7 | 8 | 9 | 10 | 11 | 12 | 13 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8
Run 121 | Run 121 | Run 121 | Run 121 | Run 121 | Run 121 | Run 121 |  | Run 315 | Run 315 | Run 316 | Run 316 | Run 316 | Run 316 | Run 318
14 | 15 | 16 | 17 | 18 | 19 | 20 |  | 9 | 10 | 11 | 12 | 13 | 14 | 15
Run 121 | Run 124 | Run 124 | Run 131 | Run 131 | Run 131 | Run 131 |  | Run 320 | Run 321 | Run 321 | Run 322 | Run 322 | Run 322 | Run 322
21 | 22 | 23 | 24 | 25 | 26 | 27 |  | 16 | 17 | 18 | 19 | 20 | 21 | 22
Run 131 | Run 133 | Run 133 | Run 133 | Run 133 | Run 133 | Run 133 |  | Run 322 | Run 322 | Run 322 | Run 322 | Run 322 | Run 322 | Run 322
28 | 1 | 2 | 3 | 4 | 5 | 6 |  | 23 | 24 | 25 | 26 | 27 | 28 | 29
Run 135 | Run 138 | Run 138 | Run 139 (New Foil) | Run 142 | Run 142 | Run 142 |  | Run 322 | Run 323 | Run 323 | Run 323 | Run 323 | Run 324 | Run 324
7 | 8 | 9 | 10 | 11 | 12 | 13 |  | 30 | 31 | 1 | 2 | 3 | 4 | 5
Run 142 | Run 142 | Run 143 | Run 143 | Run 143 |  |  |  | Run 326 | Run 326 | Run 326 | Run 331 | Run 331 | Run 331 | Run 331
14 | 15 | 16 | 17 | 18 | 19 | 20 |  |  |  |  |  |  |  | 
Run 146 | Run 146 | Run 146 | Run 150 | Run 150 | Run 150 | Run 150 |  | Run 331 | Run 331 | Run 331 | Run 331 | Run 331 | Run 331 | Run 331
21 | 22 | 23 | 24 | 25 | 26 | 27 |  | 13 | 14 | 15 | 16 | 17 | 18 | 19
Run 150 | Run 151 | Run 154 | Tests | Run 212 | Run 212 | Run 212 |  | Run 331 | Run 331 | Run 331 | Run 331 | Run 333 | Run 333 | Run 333
28 | 29 | 30 | 31 | 1 | 2 | 3 |  | 20 | 21 | 22 | 23 | 24 | 25 | 26
Run 212 | Run 212 | Run 213 | Tests | Run 246 | Run 246 | Run 248 |  | Run 334 | Run 334 | Run 334 | Run 336 | Run 336 | Run 336 | Run 336
4 | 5 | 6 | 7 | 8 | 9 | 10 |  | 27 | 28 | 29 | 30 | 1 | 2 | 3
Run 248 | Run 248 | Run 248 | Run 248 | Run 248 | Run 248 | Run 248 |  | Run 336 | Run 336 | Run 336 | Run 336 | Run 336 | Run 336 | Run 336
11 | 12 | 13 | 14 | 15 | 16 | 17 |  | 4 | 5 | 6 | 7 | 8 | 9 | 10
Run 248 | Run 248 | Run 248 | Run 249 | Run 249 | Run 249 | Run 249 |  | Run 336 | Run 336 | Run 336 | Run 337 | Run 337 | Run 337 | Run 337
18 | 19 | 20 | 21 | 22 | 23 | 24 |  | 11 | 12 | 13 | 14 | 15 | 16 | 17
Run 249 | Run 249 | Run 249 | Run 280 | Run 280 | Run 280 | Run 280 |  | Run 337 | Run 337 | Run 337 |  |  |  | 
25 | 26 | 27 | 28 | 29 | 30 | 1 |  |  |  |  |  |  |  | 
Run 280 | Run 280 | Run 302 | Run 302 | Run 302 | Run 315 |  |  |  |  |  |  |  |  | 
FEB
MAR
APR
MAY
JUN
JUL
224Ra
BG
All
135 days of data
3×109 implanted 224Ra
1.5 TB data

## Slide 11
212Po
216Po
220Rn
224Ra
212Bi
224Ra
224Ra2𝜶
Preliminary
212Bi
Partial energy spectrum (no cuts)
TODO :
Cut optimisations for background suppressions : time and position
Monte Carlo simulations (G4)
Blinded analysis
2 new PhD surdents :
Makar Simonov GSI
Louis Heitz IJCLab and Irfu/DPhN
First meeting Heinrich + Louis + Makar in two weeks,

## Slide 12: Phenomenology and new calculations
Ra
Rn
224Ra
220Ra
215-219Rn
Small t1/2(2α) and large branching ratio

## Slide 13: The 220Ra and 222Ra cases at CERN/ISOLDE
Predicted 2α branching ration better compared to 224Ra
Higher random coincidence rate compared to GSI but less contamination from random coincidences compared to 224Ra
222Ra : > 104 implantation rate expected; 220Ra intensity to be tested
Accepted by INTC. Spokespersons E. Khan (IN2P3), Ch. Theisen (CEA) with GSI collaboration (T. Dickel et al.)
Notes: 216Rn BR = 1.3 10-7 218Rn BR = 2.8 10-7

## Slide 14: The ISOLDE Setup
222Ra, 30 keV
4 DSSD 10x10 cm2
C Implantation foil
α1
α2

## Slide 15: The ISOLDE experiment
IDS
NICOLE
MINIBALL
TAS
VITO
ISOLTRAP
Travelling
setups
COLLAPS
CRIS
WITCH
collections
HRS
GPS
ISCOOL
Double Alpha

## Slide 16: The ISOLDE experiment
LA1 beam line

## Slide 17: Data Analysis issues for GSI and Isolde runs
The device is simple, but the difficulty is to characterize a rare process (BR = 10-8 to 10-9) hidden in a dominant background noise.
Important also to perform G4 simulation (tails due to foil implantation and detector dead layer, random coincidences, etc.)
Example of simulations using the Isolde setup

## Slide 18: IN2P3-CEA-GSI Collaboration
Our goal is to have a collaboration on the data analysis (including simulations)
The GSI analysis is in early stage, led by Heinrich Wilsenach.
A PhD student from GSI (Makar Simonov) will start working on the data very soon.
In order to make a double check, a new PhD student co-supervised by IJCLab and Saclay (Louis Heitz) will also perform a parallel analysis.
We will proceed in the same manner for the ISOLDE data collected next spring (the experiment is not yet scheduled)
IN2P3 + CEA + GSI collaboration but this turned out to be “administratively complicated”.
→ 23-90 IN2P3-GSI Elias Khan / Timo Dickel
→ 23-91 CEA-GSI Christophe Theisen / Timo Dickel
Same team, same proposal : meetings at GSI, Orsay and Saclay.
IJCLab → GSI |  |  | Irfu → GSI | 
L. Heitz | 5 d |  | L. Heitz | 5 d
E. Khan | 5 d |  | Ch. Theisen | 5 d
 |  |  | D. Thisse | 10 d
GSI → IJCLab |  |  | GSI → Irfu | 
M. Simonov | 5 d |  | M. Simonov | 5 d
T. Dickel | 2 d |  | T. Dickel | 3 d
H. Wilsenach | 5 d |  | H. Wilsenach | 5 d
Notes: Note Louis will visit GSI 2 weeks from now to discuss with Heinrich, Makar and probably other peoples.

## Slide 20
Collaboration (updated January 2022): M. Assié1, D. Beaumel1, B. Blank2, Y. Blumenfeld1, T. Chaminade5, E. Clément3, T. Dickel4, A. Drouart5, J.-P. Ebran6, J. Giovinazzo2, E. Khan1, M. Kowalska7, A. Lemasson3, I. Moore8, E. Rey-Herme5, T. Roger3, B. Sulignano5, Ch. Theisen5, D. Thisse5, L. Thulliez5, M. Vandebrouck5, H. Wilsenach9, M. Zielinska5
1
2
3
4
5
6
7
8
9
INTC proposal submitted September 28th 2021
INTC meeting November 9-10th 2021
Notes: In the team peoples who discovered 2p radioactivity. Theoreticians, experts in detection and in ISOL technique.

## Slide 21: MUSETT / MUST II
10x10 cm2 DSSDs 128+128 strips, 300µm
Versatile geometry
Electronics and DAQ by GANIL and IJCLab
Modified MUSETT array
→ New geometry
→ Setup in LA1 line
→ Reaction chamber + pumps
→ 1 electronics rack (VXI, NIM, Caen HT+BT)
→ Cryo-cooler
→ GANIL standalone DAQ

## Slide 22: Geant 4 simulations
Implementation by Damien Thisse (Post-doc LENA)
Similar approach by Heinrich Wilsenach (Justus-Liebig University Gießen); on-going discussions.
Some complications :
Geant4 transport of heavy ions at low energy (< 100 keV) is inaccurate (too much back scattering, wrong ranges, etc.)
Chain of 6 decays up to stable 208Pb
Alpha-decay energy is large enough to eject some nuclei from the foil
Important effect of alpha particles energy loss in the catcher

## Slide 23: Effect of the catcher
224Ra
220Rn
216Po
212Bi
212Po
C catcher ~ 220 nm
Detector with perfect resolution
Si3N4 catcher ~ 30 nm
Detector with perfect resolution
4
2
1
3
No detector resolution included

## Slide 24: Effect of the catcher
4
2
1
3
C catcher 220 nm, detector 4
α
α
→ calibration by detector zone + ignore ugly zone

## Slide 25: 224Ra Random coincidences
212Bi – 212Bi random coincidences
Si3N4 catcher 30 nm, detector resolution 50 keV, recalibration and ugly zones filter
Q2α

## Slide 26: 224Ra 14C cluster emission
T1/2 exp = 1015,86 s
T1/2 theo = 1017,46 s
DAM/IJClab

## Slide 27: Macroscopic model
Two alpha radioactivity predicted* in 1985 by D. N. Poenaru and M. Ivaşcu (J. Physique Lett. 46 (1985) L-591) using a macroscopic model.
P =S.PS
S: preformation probability (phenomenology, from fit to data)
PS : barrier penetration probability of the preformed cluster
PS = WKB for the Coulomb cluster-daughter potential
(Q2α -value)
*some predictions in 1979 by Yu.N. Novikov ?
Notes: Early prediction to be confirmed ?
Yu.N. Novikov. Some features of nuclei close to the boundaries of nucleon stability. Int. Workshop on U-400 Program. JINR (1979) p. 15.
Few half-lives estimation ?
E.E. Berlovich, Yu.N. Novikov. One- and many-nucleon radioactivity of atomic nuclei. In: B.S. Dzhelepov (ed.). Modern Methods of Nuclear Spectroscopy 1986. (Leningrad, Nauka, 1988) p. 107.

## Slide 28: Modified generalized liquid drop model
K. P. Santhosh and Tinu Ann Jose, Phys. Rev. C 104, 064604 (2021).
(years)
A
T1/2 2α (224Ra) ~ 1020 y ~ 1027 s
Same order as cluster radioactivity
P =S.PS
S: preformation probability
several phenomenological parametrizations
S can depend on Q2α or Z2α, A2α, etc. (from fit to data)
PS : barrier penetration probability of the preformed cluster
WKB for generalized deformed liquid-drop model

## Slide 29: A brief (selective) history of radioactivity
1895 Wilhelm Röntgen : X-ray
1896 Henri Becquerel : radioactivity
1898 Ernest Rutherford : α and β rays
1900 Paul Villard : gamma rays
1929 Maria Goeppert-Mayer : double gamma prediction
1934 Irène and Fréderic Joliot-Curie : artificial radioactivity
1935 Maria Goeppert-Mayer : double beta prediction
1937 Luis Alvarez : electron capture
1938 Otto Hahn, Fritz Strassmann, Lise Meitner : fission
1946 L.L. Green and D.L. Livesey, San-Tsiang Tsien et al. : ternary fission
1960 Vitalii I Goldansky : proton and double proton prediction
1970 K.P. Jackson et al. : proton emission ( from an isomeric state)
1980 A. Sandulescu, D.N. Poenaru and W. Greiner : cluster radioactivity prediction
1984 H.J. Rose and G.A. Jones : cluster radioactivity
1987 S. R. Elliott, A. A. Hahn, and M. K. Moe : double beta decay
1985 Dorin Poenaru : double, triple alpha prediction
2002 Jérôme Giovinazzo et al., Marek Pfützner et al : double proton
Notes: 1982 Hoffman et al., Klepper et al. : proton emission from g.s.
Radioactivity coined
1. L. L. Green and D. L. Livesey, Nature 159, 332 (1947). 2. S. T. Tsien et al., Nature 159, 773 (1947)
Double gamma experiment
Neutron radioactivity ?
Double beta decay
, bound state beta decay, double beta decay, double electron capture, electron capture with positron emission, double positron emission and isomeric transition …
A. Sandulescu, D. N. Poenaru, and W. Greiner, Sov. J. Part. Nucl. 11, 528 (1980).

## Slide 30: Other predictions
Nucleus | T1/2 2α | T1/2 gs (exp) | Branching Radio
122Xe | 1067.46 s | 20.1 h | ~ 10-63
156Gd | 10102.62 s | Stable | 
212Po | 1018.36 s | 300 ns | ~ 10-25
224Ra | 1014.24 s | 3.63 d | ~ 2 10-9

## Slide 31: 224Ra : 2𝛼 emission

## Slide 32: Lifetime computation
PES : information about the energy cost of a given path
Inertial (effective) mass : information about the dynamic.
Computed using Adiabatic Time Dependent Hartree Fock Bogoliubov method (ATDHFB) and perturbative cranking approximation
What do we need to minimize to find the “good” path ?
WKB

## Slide 33: 224Ra 2α emission
Interaction | Pairing parameters | Action from GS to scission | Coulomb action | Lifetime (s)
DD-PC1 | (1.0,1.0) | 18.5 | 23.9 | ~ 1016.27
DD-PC1 | (1.09,1.12) | 16.2 | 23.9 | ~ 1014.24
DD-ME2 | (1.09,1.12) | 15.3 | 23.9 | ~ 1013.47
PC-PK1 | (1.09,1.12) | 15.0 | 23.9 | ~ 1013.25