## Slide 1: Matter’s Origin from RadioActivity
Pierre Delahaye, GANIL
THE MORA EXPERIMENT
La MORA
Bayeux tapestry
See also posters of
Sacha Daumas-Tschopp
Luis Miguel Motilla

## Slide 2: Radioactive nuclei to look for BSM Physics
Nuclear beta decay as a laboratory for weak interaction
The MORA experiment
  Objectives
  Experimental setup
  Commissioning and experimental progresses
Summary

## Slide 3: Radioactive nuclei to look for BSM Physics
Nuclear beta decay as a laboratory for weak interaction
The MORA experiment
  Objectives
  Experimental setup
  Commissioning and experimental progresses
Summary

## Slide 4: Nuclear b-decay as a laboratory for weak interaction
High energy
Fermi approximation
Explicit parity violation Ci’≠0
T. D. Lee and C. N. Yang, Phys. Rev. 104, 254 (1956).
Sum of Lorentz invariants
From high energy to precision experiments
See lectures of Adam tomorrow

## Slide 5: Nuclear b-decay as a laboratory for weak interaction
High energy
Fermi approximation
Explicit parity violation Ci’≠0
T. D. Lee and C. N. Yang, Phys. Rev. 104, 254 (1956).
Sum of Lorentz invariants
Hardy and Towner, arXiv:1807.01146v1
Accessible via Ft-values
~2∙10-4 thanks to 0+ 0+ transitions
From high energy to precision experiments

## Slide 6: Nuclear b-decay as a laboratory for weak interaction
High energy
Fermi approximation
Explicit parity violation Ci’≠0
T. D. Lee and C. N. Yang, Phys. Rev. 104, 254 (1956).
Sum of Lorentz invariants
From high energy to precision experiments

## Slide 7: Nuclear b-decay as a laboratory for weak interaction
High energy
Fermi approximation
Explicit parity violation Ci’≠0
T. D. Lee and C. N. Yang, Phys. Rev. 104, 254 (1956).
Sum of Lorentz invariants
Accessible via correlation measurements
From high energy to precision experiments

## Slide 8: Nuclear b-decay as a laboratory for weak interaction
High energy
Fermi approximation
Explicit parity violation Ci’≠0
T. D. Lee and C. N. Yang, Phys. Rev. 104, 254 (1956).
Sum of Lorentz invariants
Accessible via correlation measurements
At quark level:
And for maximal parity violation
Real for T reversal/CP conserving interactions
Standard Model
From high energy to precision experiments

## Slide 9: Correlations in nuclear beta decay
I
D-correlation
© N. Severijns, PSI, 2007
Access to the coupling constants of the b decay Hamiltonian: CV, CA and CS, CT
Reviews:
Prog. Part. Nucl. Phys, M. Gonzalez Alonso, O. Naviliat Cuncic and N. Severijns, 2018
JHEP04(2021)126, A. Falkowski, M. Gonzalez-Alonso, O. Naviliat-Cuncic

## Slide 10: A famous correlation example!
Probing intrinsic symmetries
Parity violation in 60Co decay
C. S. Wu et al., Phys Rev 105(1957)1413
P odd
Ab (CA²,CVCA)
Polarized nuclei

## Slide 11: Searching for exotic S and T currents in nuclear beta decay
Direct – linear -constraints via Fierz interference term / beta shape measurement
  Ex. bSTILED experiment at GANIL – 6He beta decay shape
Indirect constraints via b-n angular correlation or beta-assymetry
    Ex. WISArD experiment at ISOLDE
Towards per-mil precision
  New Physics in the TeV regime, in competition with LHC
Light nuclei
  6He, 8Li, 19Ne, 21Na, 32Ar, 35Ar, 37K, 38mK, …
  Role of light mirror nuclei has recently been underlined
    Especially when right handed neutrinos allowed, see JHEP04(2021)126
  Nuclear facilities like ISOLDE at CERN, JYFL in Finland, or GANIL in France naturally suited
Polarized nuclei

## Slide 12: Review of constraints on S, T from beta decay
Latest review: JHEP04(2021)126, A. Falkowski, M. Gonzalez-Alonso, O. Naviliat-Cuncic
  EFT analysis gives direct comparison between high energy searches and beta decay
  Sensitivity to NP: Scalar and Tensor current limits from LHC and beta decays
b-decay as a laboratory for weak interaction
eS and eT : Wilson coefficients / linear combination of couplings of scalar and tensor currents
Competition beyond the TeV scale!
eS,T~
eS,T~10-3 
No right handed currents
No right handed currents
So far best constraints from:
0+->0+ corrected Ft value
neutron AGT
b, a, A, B to the 10-3 level!
LQ models under scrutiny!
eT
eS

## Slide 13: Searching for CP violation in nuclear beta decay
CPT theorem: CP violation equivalent to T violation
T-odd probes!
Correlations in nuclear b - decay
The MTV experiment at TRIUMF
The MORA experiment at JYFL then GANIL
R correlation
D correlation
23Mg, 39Ca
New type of correlation
In radiative b - decay
T - odd Triple correlations
S. Gardner and He, Phys Rev. D 87, 116012 (2013)
The TRINAT experiment at TRIUMF
~Im (CVCA*)
~Im(CACT*)
~Im(CTCP*)
Other candidates (37/38mK)
J. Behr et al.
~Im(c5CV*)
J. Murata et al.
P. Delahaye et al.
8Li
92Rb and 38mK
Jackson, Treiman and Wyld, Nucl. Phys. 4, 206 (1957)
Jackson, Treiman and Wyld, Nucl. Phys. 4, 206 (1957)
Hyp. Int. 240, 63 (2019)

## Slide 14: Radioactive nuclei to look for BSM Physics
Nuclear beta decay as a laboratory for weak interaction
The MORA experiment
  Objectives
  Experimental setup
  Commissioning and experimental progresses
Summary

## Slide 15: Searching for new physics via the D correlation measurement
A non-zero D can arise from CP violation
T reversal odd
Search for New Physics
Direct constraints on CP-violating Wilson coefficients in the nucleon-level EFT
Specific New Physics models
  via the L-R symmetric model:
    M. J. Ramsey-Musolf et J. C. Vasquez, «Left-right symmetry and electric dipole moments. A global analysis,» arXiv:2012.02799 [hep-ph], 2020.
  via the LQ model
    Thorough investigation undertaken at IJClab by Adam Falkowski and Antonio Rodriguez-Sanchez
      «On the sensitivity of the D parameter to new physics » , arXiv:2207.02161
      Presentation at MORA workshop https://indico.in2p3.fr/event/25986/
    Severe constraints for CP violating terms from EDM, pion decay and high energy searches
    But D is also sensitive to exotic non-CP violating terms via recoil-order corrections
Dn= (−0.94 ±1.89±0.97)∙10-4
Best measurement so far:
emiT collaboration, PRL 107, 102301 (2011),
=(1 ±6)∙10-4
Calaprice, Hyp. Int. 22(1985)83
(68% CL)
THE MORA EXPERIMENT
Interest for ~10-4 measurement
Interest for ~10-5 measurement
Jackson, Treiman and Wyld, Nucl. Phys 4 (1957) 206

## Slide 16: Searching for new physics via the D correlation measurement
A non-zero D can arise from CP violation
T reversal odd
Below 10-4, measurement of Final State Interactions
Recoil order effect due to the weak magnetism (allowed in SM)
Callan and Treiman, Phys. Rev. 162(1967)1494.
Never accessed by a direct measurement in D
Dn= (−0.94 ±1.89±0.97)∙10-4
Best measurement so far:
emiT collaboration, PRL 107, 102301 (2011),
=(1 ±6)∙10-4
Calaprice, Hyp. Int. 22(1985)83
(68% CL)
Search for New Physics
Direct constraints on CP-violating Wilson coefficients in the nucleon-level EFT
via the L-R symmetric model
via the LQ model

## Slide 17: Searching for new physics via the D correlation measurement
A non-zero D can arise from CP violation
T reversal odd
Below 10-4, measurement of Final State Interactions
Recoil order effect due to the weak magnetism (allowed in SM)
Callan and Treiman, Phys. Rev. 162(1967)1494.
Dn= (−0.94 ±1.89±0.97)∙10-4
Best measurement so far:
emiT collaboration, PRL 107, 102301 (2011),
=(1 ±6)∙10-4
Calaprice, Hyp. Int. 22(1985)83
(68% CL)
Search for New Physics
Direct constraints on CP-violating Wilson coefficients in the nucleon-level EFT
via the L-R symmetric model
via the LQ model
A measurement of D to the 10-5 level: looking for New Physics and accessing for the first time FSI

## Slide 18: MORA in a nutshell
State of the art techniques from ISOL facilities
Back to /DESIR, making use of the intense and purified ISOL beams from SPIRAL 1/ S3-LEB: 2027
- Theoretical studies with state-of-the-art EFTs
- Ion cooling and trapping originally developped for
New trap and new detection setup:
off-line commissioning at and
Completed in automn 2021
LPCTrap
Started in Feb 2022
- Innovative laser polarisation techniques at
Proof of principle of polarization
First D measurement
With experts from:
MORA installation at JYFL/IGISOL
(completed!)
D correlation measurement in 23Mg, 39Ca decays to the 10-5 level with some beam, laser and trapping R&D
Trap + detection setup
MORA installation at JYFL/IGISOL
(completed!)

## Slide 19: MORA: Best candidates for D measurement
 | n | 19Ne | 23Mg | 35Ar | 39Ca
Sensitivity F(X) | 0,43 | -0,52 | -0,65 | 0,41 | 0,71
D1 (x10-4) | 0,108 | 2,326 | 1,904 | 0,386 | -0,489
D2 (x10-4) | 0,023 | 0,169 | 0,099 | 0,010 | -0,024
Best measurement so far, statistics limited
Neutron and mirror nuclei (N=Z-1): strong mixed (GT+ Fermi) transitions between analog states
Dn= (−0.94 ±1.89±0.97)∙10-4
D19Ne=(1 ±6)∙10-4
Callan and Treiman, Phys. Rev. 162(1967)1494. Chen, Phys. Rev. 185(1969)2003.
Sensitivity to CP violating phase between V and A currents
Search for New Physics
Direct constraints on CP-violating Wilson coefficients in the nucleon-level EFT
via the L-R symmetric model
via the LQ model
Notes: 2 candidats à la mesure de D pour MORA

## Slide 20: MORA: Best candidates for D measurement
 | n | 19Ne | 23Mg | 35Ar | 39Ca
Sensitivity F(X) | 0,43 | -0,52 | -0,65 | 0,41 | 0,71
D1 (x10-4) | 0,108 | 2,326 | 1,904 | 0,386 | -0,489
D2 (x10-4) | 0,023 | 0,169 | 0,099 | 0,010 | -0,024
Best measurement so far, statistics limited
Neutron and mirror nuclei (N=Z-1): strong mixed (GT+ Fermi) transitions between analog states
Dn= (−0.94 ±1.89±0.97)∙10-4
D19Ne=(1 ±6)∙10-4
Callan and Treiman, Phys. Rev. 162(1967)1494. Chen, Phys. Rev. 185(1969)2003.
Sensitivity to CP violating phase between V and A currents
Search for New Physics
Direct constraints on CP-violating Wilson coefficients in the nucleon-level EFT
via the L-R symmetric model
via the LQ model
MORA: Alkali earth elements for in trap laser ion polarization
1st candidate; 105 pps from JYFL
>108 pps from SPIRAL 1
2nd candidate, R&D for ISOL production required
107 pps requested
MORA: Alkali earth elements for in trap laser ion polarization
1st candidate; 105 pps from JYFL
>108 pps from SPIRAL 1
2nd candidate, R&D for ISOL production required
107 pps requested
Notes: 2 candidats à la mesure de D pour MORA

## Slide 21: MORA: in-trap laser polarization
Transitions excited using trippled Ti:Sa laser pulses l~280nm s+ polarization, ~4GHz width
23Mg hyperfine structure
F= I+J
The nuclear spin I interacts with the atomic one J  F=I+J
s+ or s- light to scan the hyperfine structure forces ions in the mF=±F state
With the power available at JYFL
More than 99% achievable in 1ms
Transition probabilities: numerical simulations R. de Groote, X. Fléchard and W. Gins
Collisions with He atoms (no spin) do not depolarize
Doppler shift/broadening due to ion motion ~1.6GHz
Probable limitation: laser light polarization
Remember: C. S. Wu et al.,
Phys Rev 105(1957)1413
Polarization monitoring thanks to b assymetry: Ab

## Slide 22: MORA: measurement principle
~1m
In trap optical polarization
Where d is depending on the phase space coverage

## Slide 23: MORA: measurement principle
~1m
In trap optical polarization
Where d is depending on the phase space coverage

## Slide 24: MORA: measurement principle
In trap optical polarization
Full phase space
emiT-like phase space
d=0.775(1) for 23Mg, compared to d~0.3 for the neutron
Where d is depending on the phase space coverage

## Slide 25: MORA: sensitivity challenges
 Below 5.10-5 is feasible
Provided that
Trapping capacity is attained
Efficient laser polarization is demonstrated
Systematic effects are kept under control
So far statistical uncertainties have dominated, over systematic uncertainties
Dn= (−0.94 ±1.89±0.97)∙10-4
emiT collaboration, PRL 107, 102301 (2011), Phys. Rev. C 86 (2012) 035505
See for ex.:
Place and type of measurement | Trapped ions /cycle | Decays/s | Meas. time (days) | Detected coincidences (P) | sP stat (%) | Detected coincidences (D) | sD
JYFL: P - 23Mg | 2,00E+04 | 1,23E+03 | 8 | 1,7E+05 | 1,9E+00 | 1,5E+06 | 1,0E-03
JYFL: D - 23Mg | 2,00E+04 | 1,23E+03 | 32 | 6,7E+05 | 9,4E-01 | 6,1E+06 | 5,2E-04
JYFL: D - 39Ca | 2,00E+04 | 1,61E+04 | 32 | 9,2E+06 | 2,0E-02 | 8,1E+07 | 1,4E-04
DESIR: D - 23Mg | 5,00E+06 | 3,07E+05 | 24 | 1,3E+08 | 6,9E-02 | 1,2E+09 | 3,8E-05
DESIR: D - 39Ca | 5,00E+06 | 4,03E+06 | 24 | 1,7E+09 | 1,5E-03 | 1,5E+10 | 1,0E-05

## Slide 26: MORA: sensitivity challenges
Dn= (−0.94 ±1.89±0.97) 10-4
H. P. Mumm et al, Rev. Sci. Instrum. 75, 5343 (2004)
H. P. Mumm et al, PRL 107, 102301 (2011)
Down to a few 10-5 sensitivity
The emiT experiment gives a few hints
Investigations of systematic effects is ongoing
  Postdoc Abhilasha Singh, PhD Luis Miguel Motilla
Dominant effects highly reduced by the trap confinement
Systematic effects
< 10-6
~ 1x10-6
Under scrutiny, disturbance of recoil tof by RF look small
< 10-6
< 10-6
Measurements needed
See poster of Luis Miguel

## Slide 27
MORA first steps in pictures: from Caen to Jyväskylä
Off-line commissioning in LPC Caen
September 2021
Installation in JYFL
November 2021 – injection line
Installation in JYFL
January 2021 – trap and detectors
23Na trapped ions from alkali source
Commissioning in JYFL
Mid February – off-line
23Na trapped ions from cooler buncher
Commissioning in JYFL
18th - 20th February – on-line
27-31 May 2022 – on-line
Shipping incident – trap chamber to be repaired - October 2021
b
g
Qfast
Qslow
First 23Mg b activity is recorded
Large involvement of LPC Caen technical resources
See poster of Sacha Daumas - Tschopp

## Slide 28: First results
3 short beam times with 23Mg (2022: Feb. 18-20, May 27-31, Nov. 10-13)
  MORA apparatus is working with nominal performances
    All detectors up and running, data acquisition running
      Original noise on detectors due to RF amplifier has been suppressed
    Trapping efficiency ~10%, verified and optimized in November
      Trapping half life >11s, measured in November
  Large production of 23Mg, 105 pps/uA, while 10 uA are possible
    natMg(p,d)23Mg with 30 MeV p, 100 mbarn
  280nm circularly polarized laser light produced at record intensity
    in November: 260mW while about 100mW assumed!
  But beam purity and related space charge issues are a major concern
    Minibuncher @ IGISOL: presently space charge limited to 2∙105 ions/bunch
    Stable 23Na contamination from IGISOL yields a ratio 23Na:23Mg ≳ 1000
    Number of trapped 23Mg ions: 0.1 x 2∙105/1000 = 20
    Goal: 104 trapped ions/cycle
R&D on production ongoing
  PhD Sacha Daumas-Tschopp
  PhD Nishu Goyal

## Slide 29: First results: polarization proof-of-principle
With
Si1
Si2
First data acquired with natMg(p,d)23Mg are under analysis (10-13 Nov.)
N1 and N2 require 2 background subtraction:
Environmental (eg muons, residual activity in the hall)
Implanted 23Mg around the trap (only 10% capture, 90% lost)
3s cycles: 2s trapped ions, 1s measuring implanted background
Measured background is ~ 20x higher than signal (10000 cnts vs ~500)
Using single b events
No meaningful values for asymmetry
Although sign of seems to change for sigma+ to sigma-
N1 b
N2 b
8h spin « up », spin « down », no lasers

## Slide 30: First results: polarization proof-of-principle
With
First data acquired with natMg(p,d)23Mg are under analysis (10-13 Nov.)
N1 and N2 are coincidences but also polluted by fortuitous background
Extremely low rate
23Na+ leaking out from the trap increases the fortuitous background
Using b – recoil coincidences
Si1
Si2
Recoil ion
+ 23Na+ leaking out of trap
Recoil ion detector (MCP+resistive anode)
No meaningful values (10cnts +-12 cnts)
8h spin «up », spin « down », no lasers

## Slide 31: Radioactive nuclei to look for BSM Physics
Nuclear beta decay as a laboratory for weak interaction
The MORA experiment
  Objectives
  Experimental setup
  Commissioning and experimental progresses
Summary

## Slide 32: Conclusion/outlook
2022: installation and commissioning at JYFL
  Commissioning of the trap and laser system successful
  Production rate of 23Mg is enough for P and D correlation measurements@JYFL
  But: 23Na contamination (1000 larger than 23Mg) prevents reaching the required number of trapped ions for D measurement
    And makes decent P measurement difficult due to off-trap decays (single events) and Na leaking out of the trap (coincidences)
2023: Beam purification and further tests
  June: production test with Ba coated Mg target
      Ba prevents surface ionisation of Na (W<3eV)
    Alternatively hot cavity
      12C+12C23Mg+n @5MeV/u, 10mbarn stableStudying prospects
      Natural 23Na is outgased with time
  November: data taking with purified beams
    Using MR TOF separator to suppress 23Na
    Polarization proof-of-principle?
2024 – 2027: data taking at JYFL
  23Mg / 39Ca sensitivity on D to the 10-4 level
2027 - …: data taking at GANIL / DESIR
  23Mg / 39Ca sensitivity on D down to the 10-5 level

## Slide 33: MORA collaboration
E. Liénard
M. Benali
S. Daumas-Tschopp
Y. Merrer
X. Fléchard
G. Quéméner
P. Delahaye - P.I.
F. De Oliveira
C. Fougères
N. Goyal
N. Lecesne
R. Leroy
L. M. Motilla
B.M. Retailleau
A. Singh
G. Neyens
M. Kowalska
N. Severijns
R.P. De Groote
A. De Roubin
A. Falkowski
A. Rodriguez – Sanchez
M.L. Bissel
I. Moore
T. Eronen
M. Reponen
W. Gins
V. Virtanen
J. Romero
A. Raggio
A. Jaries
A. Jokinen
A. Kankainen
S. Kujanpää
M. Stryjczyk
S. Rinta-Antila
M. Gonzalez-Alonso
Z. Ge
In blue PhD students and postdocs hired for MORA
THE MORA EXPERIMENT
Thanks a lot for your attention!
THE MORA EXPERIMENT

## Slide 34: Backup

## Slide 35: Matter-antimatter imbalance in the Universe
The big bang should have produced equal amounts of matter and antimatter
In 1967, Sakharov expresses the 3 conditions for Baryogenesis, the processus responsible for the matter antimatter assymetry observed in the universe:
  (i) a large C and CP violation
  (ii) a violation of the baryonic number,
  (iii) a process out of thermal equilibrium.
  A. D. Sakharov, «Violation of CP invariance, C asymmetry, and baryon asymetry of the universe,» JETP Letters, vol. 5, p. 24, 1967.
  CP violation observed in the K, B and D - meson decays is not enough to account for the large matter – antimatter asymmetry
    Physics beyond the Standard Model !

## Slide 36: Searching for CP violation in Nuclear b-decay
Fermi approximation
T. D. Lee and C. N. Yang, Phys. Rev. 104, 254 (1956).
Sum of Lorentz invariants
At quark level:
And for maximal parity violation
Real for T reversal/CP conserving interactions
Standard Model
Searching for CP violation in interference terms between interactions
Take Lee and Yang Hamiltonian, apply Fermi’s 2nd golden rule
Allowed currents: Im (CACV) - the D correlation
Beyond SM currents: Im(CTCA) – the R correlation

## Slide 37: 0+  0+ Ft values: exotic currents and Vud determination
Latest overview in Hardy and Towner, Phys. Rev. C 102, 045501 (2020)
Conserved Vector Current hypothesis
Unitarity test of the first row of the CKM matrix
Transition dependent
independent
…radiative corrections
Qb, T1/2 and BR
With radiative corrections recently reevaluated
Seng, Gorchtein, Patel, Ramsey Musolf PRL 121 (2018)
Czarnecki, Marciano,Sirlin, Phys Rev D 100 (2019)
Seng, Gorchtein, Ramsey Musolf, Phys Rev D 100 (2019)
Gorchtein PRL 123 (2019)

## Slide 38: 0+  0+ Ft values: exotic currents and Vud determination
Latest overview in Hardy and Towner, Phys. Rev. C 102, 045501 (2020)
Conserved Vector Current hypothesis
JHEP04(2021)126, A. Falkowski et al
Vus and Vub from PDG, latest radiative corrections: DCKM=−0.0015(6)
2.4 s from unitarity
Theoretical work to assess with better precision
Extending candidates to probe d’R dNS, dc on a wider range!
Belfatto et al., EPJC (2020)
CKM: is deviation from unitarity a sign of new physics at the TeV scale?
Unitarity test of the first row of the CKM matrix

## Slide 39: 0+  0+ Ft values: exotic currents and Vud determination
Latest overview in Hardy and Towner, Phys. Rev. C 102, 045501 (2020)
Conserved Vector Current hypothesis
Searching for Scalar currents!
1
~
Light isotopes 10C and 14O
Remember
JHEP04(2021)126, A. Falkowski et al

## Slide 40
N = Z
A/Q = 7
A/Q = 3
known masses
Spectroscopic measurement @ DESIR
(courtesy of I. Stefan / S. Grévy)
TZ = 0 super-allowed decays from 66As to 98In
Best production scenario
 fusion-evaporation @ S3-LEB
short half-lives (15 – 100 ms)
 need for a fast gas cell
HRS + PIPERADE / MR-TOF
 mass measurements (DETRAP)
 decay studies (BESTIOL)
Courtesy of B. Blank, J. Giovinazzo, on behalf of the Exotic Nuclei group of CENBG
0+  0+ Ft values: exotic currents and Vud determination

## Slide 41
(courtesy of S. Grévy)
factor 5 more
with A/Q = 7
TZ = 0 super-allowed decays from 66As to 98In
Best production scenario
 fusion-evaporation @ S3-LEB
short half-lives (15 – 100 ms)
 need for a fast gas cell
HRS + PIPERADE / MR-TOF
 mass measurements (DETRAP)
 decay studies (BESTIOL)
Courtesy of B. Blank, J. Giovinazzo, on behalf of the Exotic Nuclei group of CENBG
Spectroscopic measurement @ DESIR
0+  0+ Ft values: exotic currents and Vud determination

## Slide 42
Unpolarized nuclei
Recoil detection
b - recoil coincidences
a (CS², CV², CT², CA²)
Pure GT: aGT (CT², CA²) = -1/3 (SM)
Pure F: aF (CS², CV²) = +1 (SM)
LPCTrap@GANIL
P, T even
Search for exotic currents
Polarized nuclei
b - recoil coincidences
Fixed J
I
Triple correlation
D  Im (CVCA*)
T odd
Search for new sources
of CP violation
D = 0 (SM)
The MORA project!
S, T searches correlation examples

## Slide 43: Another example of correlation measurement
The WISArD experiment@ISOLDE
b-n angular correlation
Proof of principle:
0+  0+, Fermi, sensitive to S currents
aβν = 1.007(32)stat(25)syst
0+ 1+, GT, sensitive to T currents
aβν = −0.222(86)stat(16)syst
Constraints on scalar and tensor currents from Fermi and GT transitions respectively
Prospects to 2. 10-3 precision measurement
V. Araujo-Escalona et al, Phys.Rev.C, 2020, 101 (5), pp.055501
p detection instead of recoil
~
~