## Slide 1
FASTER
Fast Acquisition SysTem for nuclEar Research
David Etasse
Assemat Julian, Carniol Benjamin,
Chaventré Thiérry, Cussol Daniel,
Fontbonne Cathy, Fontbonne Jean-Marc,
Harang Julien, Hommet Jean, Ingouf François,
Langlois Jérome, Poincheval Jérome,

## Slide 2
Abstract
Abstract
2023-06-14@JME Caen, David Etasse

## Slide 3
Abstract
Abstract
2023-06-14@JME Caen, David Etasse

## Slide 4
The aim of FASTER is to build a new digital acquisition system with the following constraints:
Ensuring at least real time function such as charge, amplitude and time measurements using digital technologies,
Use of the most recent commercial components,
Use of all modern acquisition techniques (digitalization, data time stamping, serial bus)
Use of commercial chassis,
Build an adaptable and modular system which can fulfill small size experiments (1 or 2 detectors) requirements as well as much larger experiments (few hundreds of detectors) requirements.
Abstract
Abstract
2023-04-13@MTCA_DAY SACLAY, David Etasse

## Slide 5
FASTER-V2
FASTER-V2 OVERVIEW
FASTER-V2 SOFTWARE
FASTER-V2 REAL TIME ALGORITHMS
FASTER-V3
FASTER-V3 OVERVIEW
FASTER-V3 HARDWARE
SUMMARY
Agenda
Agenda
2023-06-14@JME Caen, David Etasse

## Slide 6
Offline Analysis
Ubuntu repository
Real Time Algorithms
Modular Electronic
RHB
Based on Root
FASTERv2 Overview
FASTERv2 Overview
2023-06-14@JME Caen, David Etasse

## Slide 7
FASTERv2 Overview
FASTERv2 Overview
4 FADC (125MHz@14bits)
±1V, ±2V, ±5V, ±10V input range
25 MHz Bandwidth
2 FADC (500MHz@12bits)
±1V input range
±1V input adjustable Offset
100 MHz Bandwidth
ISEG BPS-Serie - 4W
± 500 V to ± 6 KV
DDC316 from TI
32 channels
I-TO-V conversion front end
3pC to 12 pC (full scale)
Integration time range from 10us to 10 ms
STANDALONE SYSTEM
MULTI-CHANNEL SYSTEM
2023-06-14@JME Caen, David Etasse

## Slide 8
FASTER-CRRC4
FASTER-TRAPEZ-TDC
FASTER-QDC-TDCHR
FASTER-QT2T
FASTER-RF
FASTER-SCALER
FASTER-SAMPLER
FASTER-ELECTROMETER
FASTER_HV
60Co
HPGe detector, MOSAHR board, FASTER_ADC
Time resolution VS signal amplitude
Demon detector, CARAS board,
FASTER-QDC-TDCHR
Real Time Algorithms
Real Time Algorithms
2023-06-14@JME Caen, David Etasse

## Slide 9
Offline Analysis
Ubuntu repository
  Ubuntu 20.04 and 22.04 LTS 64 bits
  ADA, C and Python
  Software trigger multi levels
  Faster repository on LPC Server
    sudo apt_get install fasterv2
  Update the software and the FIRMWARE at the same time
  Offline analysis package
  List of available packages
    fasterv2, fasterac, rhb,
    faster-rhb-xxx-demo (xxx=qdc, crrc4, trapez, rf, …… )
Software
Software
2023-06-14@JME Caen, David Etasse

## Slide 10
FASTER-V2
FASTER-V2 OVERVIEW
FASTER-V2 SOFTWARE
FASTER-V2 REAL TIME ALGORITHMS
FASTER-V3
FASTER-V3 OVERVIEW
FASTER-V3 HARDWARE
SUMMARY
Agenda
Agenda
2023-06-14@JME Caen, David Etasse

## Slide 11
FASTERv2 is a digital modular acquisition system from the electronic front end to the histogram builder software developped at LPC.
FASTERv2 is very easy to install, to use with great performances.
FASTERv2 is able to perform the main nuclear functions with a set of hardware very reduced.
FASTERv2 is wireless .
FASTERv2 is designed to handle medium size experiment (from one to few hundred channels).
Summary
Summary
2023-06-14@JME Caen, David Etasse
FASTERv2 in few numbers
- 80 Systems used (~400 Modules),
- 12 Chassis, 50 Modules (December 2023),
- 2 M€,
- 3.5 FTE,
- 20 Laboratories , 3 Universities

## Slide 12
FASTER-V2
FASTER-V2 OVERVIEW
FASTER-V2 SOFTWARE
FASTER-V2 REAL TIME ALGORITHMS
FASTER-V3
FASTER-V3 OVERVIEW
FASTER-V3 HARDWARE
SUMMARY
Agenda
Agenda
2023-06-14@JME Caen, David Etasse

## Slide 13
  Increase number of channels per board,
  Decrease Cost per channel,
  Increase flexibility,
  Ubuntu LTS 64 bits,
  C, C++ and Python,
  First release in 2024-2025.
FASTERv3 Overview
FASTERv3 Overview
2023-04-13@MTCA_DAY SACLAY, David Etasse

## Slide 14
FASTER-V3
A New real time, digital acquisition platform
Same real time FPGA algorithms as FASTER-V2
+
User algorithms
+
News digitizers (16bits@125 Msps-> 10bits@5 Gsps)
+
TimeD synchronisation
+
Epics compatible
FASTERv3 Overview
FASTERv3 Overview
2023-06-14@JME Caen, David Etasse

## Slide 15
FASTERv3 Overview
FASTERv3 Overview
1 Gbe
DAQ
Client
10 Gbe
DAQ
Client
DAQ
Server
(CPU and FPGA)
DAQ
Server
(FPGAs)
FASTERv2
FASTERv3
2023-06-14@JME Caen, David Etasse

## Slide 16
FASTERv3 Overview
FASTERv3 Overview
HDMI
USB (2/3)
DAQ Client
DAQ Server
FASTERv3
2023-06-14@JME Caen, David Etasse

## Slide 17
FASTERv3 Overview
FASTERv3 Overview
DAQ Client
Multi
DAQ Server
TimeD Compatible
2023-06-14@JME Caen, David Etasse

## Slide 18
FASTER-V2
FASTER-V2 OVERVIEW
FASTER-V2 SOFTWARE
FASTER-V2 REAL TIME ALGORITHMS
FASTER-V3
FASTER-V3 OVERVIEW
FASTER-V3 HARDWARE
SUMMARY
Agenda
Agenda
2023-06-14@JME Caen, David Etasse

## Slide 19
Software
Environnement
- Ubuntu 20.04
- Cuda 10
- PyTorch
- TensorFlow
- TensorRT
- C/C++
FASTERv3 Hardware
FASTERv3 Hardware
2023-06-14@JME Caen, David Etasse

## Slide 20
 | Jetson TX2 NX 4GB 2017 | Jetson Xavier NX 16GB 2020 | Jetson Orin NX 16GB 2023
AI Performance | 5 TOPS | 21 TOPS | 100 TOPS
Power | 7.5- 15 W | 10 W ¦ 15 W ¦ 20 W | 10W - 25W
Cost (HT) | 188 € | 549 € | 663 €
FASTERv3 Hardware
FASTERv3 Hardware
2023-06-14@JME Caen, David Etasse

## Slide 21
POWER
MCH
1/10 Gb/s Ethernet
and
40 Gb/s Ethernet
Or
PCIe 4x Gen3
260 SO-DIMM DDR4 9.2H
2023-06-14@JME Caen, David Etasse
FASTERv3 Hardware
FASTERv3 Hardware

## Slide 22
POWER
MCH
1/10 Gb/s Ethernet
and
40 Gb/s Ethernet
Or
PCIe 4x Gen3
260 SO-DIMM DDR4 9.2H
2023-06-14@JME Caen, David Etasse
FASTERv3 Hardware
FASTERv3 Hardware

## Slide 23
2023-06-14@JME Caen, David Etasse
2 FADC (500MHz@12bits)
±1V input range
±1V input adjustable Offset
100 MHz Bandwidth
PLL
AFX2000
SCALINX
SPI bus
POWER
42 LVDS LANES
40 DATA
1 DFRM
1 DCLOCK
INPUT SHAPING
AFX2000
Quad Analog Front-End with 5GSPS ADC Resolution up to 16-bit and BW up to 300MHz
FASTERv3 Hardware
FASTERv3 Hardware

## Slide 24
2023-06-14@JME Caen, David Etasse
FASTERv3 Hardware
FASTERv3 Hardware
7 Double Mid-Size AMC Modules
3 FASTER-v3 modules (7 FASTER-v2)
48 Channels (28 CARAS, 56 MOSAHR )
24 CPU Cores@2Ghz, 3072 GPU Cores@918Mhz, 96 Tensor Cores
300 TOPS
48 GB RAM
3 TB SSD Pcie- Gen4
12 Double Full-Size AMC Modules
12 FASTER-v3 modules (12 FASTER-v2)
192 Channels (48 CARAS, 96 MOSAHR )
96 CPU Cores@2Ghz , 12288 GPU Cores@918Mhz, 384 Tensor Cores
1200 TOPS
192 GB RAM
12 TB SSD Pcie- Gen4
12 Double Mid-Size AMC Modules
6 FASTER-v3 modules (12 FASTER-v2)
96 Channels (48 CARAS, 96 MOSAHR )
48 CPU Cores@2Ghz, 6144 GPU Cores@918Mhz, 192 Tensor Cores
600 TOPS
96 GB RAM
6 TB SSD Pcie- Gen4

## Slide 25
Thank you for Your Attention
Agenda
Agenda
2023-06-14@JME Caen, David Etasse