## Slide 1: INSTRUMENTATION JRAs
Direct link between the theoretical WPs and activities in core facilities.
Two main goals:
  Develop higher performance radiation detectors and hardware
  Applications, technological advances and SMEs.
  Structure:
  Detector performances: ASTRA, TIIMM, MPGD_HP
  High-quality targets: CRYOJET, CRYPTA
  Polarized beams: P3E, SPINFORFAIR

## Slide 2: IMPACT
New tools for breaking limitations in hadron physics.
Improve infrastructures of facilities.
Broad applications to neighbouring fields, as well as applied physics and technology.
Examples of innovations:
Diagnostic tools in medicine (PET) from ASTRA
Hadrontherapy for tumor treatment from TIIMM
Line-scan cameras technology from CRYOJET
3D-magnets technology from CryPTA

## Slide 3: ASTRA
Goal: Development of beyond state-of-art X-ray (10-100 keV) and gamma-ray (10 keV-MeV) photons detectors based on semiconductors.
Achievements in second year:
First detector prototypes made of CdZnTe built
Read-out systems developed
Detector tested at SMI-Vienna
Long-term stability and temperature dependence of the energy resolution ongoing
Installation at DAFNE to perform first test measurements under beam condition and to study kaonic atoms
Deliverable D26.1, D26.3 Milestone MS57, MS59

## Slide 4: TIIMM - Tracking and Ions Identifications with Minimal Material budget
Goal: Si-detectors based on Monolithic Active Pixel Sensors (MAPS) for high precision tracking, and energy loss measurement for advanced particle identification.
Achievements in second year:
Fabrication of 4 prototypes in progress, based on first prototype
First prototype tested in laboratory (control functionalities and front-end electronics)
Data acquisition system under development (PCB)
Deliverable D27.1, Milestone MS61

## Slide 5: MPGD_HP – Micropattern Gaseous Detectors for Hadron Physics
Goal: new gas detectors for particle tracking and identification, photon detection, timing in the picosecond region, operating under very high beam intensity conditions.
Achievements in second year:
Larger-scale GEM-TPC without gating grid and high rate (50 kHz) upgrade for ALICE
Other applications Crystal Barrel experiment (ELSA) and DIS (Jefferson Lab)
Active-target TPC without charge amplification for proton charge radius measurements (AMBER experiment)
A modular hybrid (Micromegas+THGEM) Photon Detector prototype built
Deliverable D32.1 and milestones MS80, MS81, MS82

## Slide 6: CRYPTA – Cryogenic Polarized Target Applications
Goal: Polarized nucleon targets using solid state materials combined with superconducting high field magnets and the Dynamic Nuclear Polarization method.
Achievements in second year:
New "internal holding coil" designed for new dilution cryostat (solenoid coupled with dipole coil)
Optimized winding core designed to achieve a more uniform adhesive distribution in the coil
Package. Applied to produce a satisfactory test magnet
Construction of a new 4He evaporation refrigerator for testing coils
Shielding behavior of the high-temperature superconductors in a cylindrical geometry
Milestones MS64, MS65, MS66

## Slide 7: CRYOJET– Cryogenically cooled particle streams from nano- to micrometersize for internal targets at accelerators
Goal: cryogenically-cooled cluster/pellet/microjet sources as targets in a variety of collision setups (storage ring experiments, electron accelerators, or laser-driven hadron accelerators).
Achievements in second year:
Production technique for monolithic copper cluster nozzles, manufactured industrially for the first time with the full required nozzle length
Numerical simulations on the cluster evaporation in vacuum developed and compared with experiment, leading to a good understanding of the vacuum situation for experiments using cluster/pellet target beams.
Shadowgraphy measurements of hydrogen clusters performed, to determine the maximum size of
clusters at different stagnation conditions
New diagnostic tools for the investigation of droplet beam properties
Milestones MS67, MS69

## Slide 8: SPINFORFAIR
Goal: Optimization of the polarization of protons and antiprotons beams and targets for the GSI/FAIR storage ring.
Achievements in second year:
Progress in understanding the complex beam dynamics due to the presence of a high magnetic field for commissioning of the Siberian Snake
Installation of skewed quadrupole magnets in the COSY beam line, in order to compensate the tune shift caused by the solenoidal field is being investigated
Missing two quadrants of the detector assembled
Electronics, the cooling system and data acquisition adapted to the full detector scheme
Rest bench set up in the IKP-2 Pax laboratory for cosmic ray acquisition
Deliverable D30.2, Milestone MS73

## Slide 9: P3E - Polarized Electrons, Positrons and Polarimetry
Goal: high intensity polarized electron and positron beam sources, and full design of the Hydro-Møller polarimeter detector with high-voltage monolithic active pixel sensors (HV-MAPS).
Achievements in second year:
positron production fully characterized and optimized for initial electron beam energies of interest at JLab (10 MeV, 100 MeV, 1000 MeV)
Positron source conception design elaborated and implemented into the General Particle Tracer (GPT)
ANSYS simulations to evaluate the reliability of a design based on a rotating target
Hydro-Møller simulation used to optimize magnetic chicane for high signal-to-background ratio for the detection of Møller electron pairs
MuPix11 submitted to the, beam tests at MAMI in the fall
Milestone MS75
Milestones MS64, MS65, MS66.

## Slide 10: COVID-19 and risk mitigation
All Instrumentation JRAs performed extremely well, despite the COVID-19 delay.
Most delays relate to the production of components, experimental campaign, hiring of personnel.
So far delays have been very contained.
Several risks have materialized, but they were all mitigated.
Overall, the work done within Instrumentation JRAs have been excellent!!!