## Slide 1: Developments of the HRS, GPIB and PIPERADE devices for the DESIR facility
Mathieu Flayol from LP2i Bordeaux
flayol@cenbg.in2p3.fr
Colloque ganil 2023
HRS
GPIB
PIPERADE
  Buffer gas cooling technique
  ToF-ICR
  PI-ICR
Outline:

## Slide 2
Laser spectroscopy
Decay spectroscopy
Trap experiments
Really sensitive to contamination
PIPERADE
GPIB
HRS
experiments in DESIR
prepares
purifies
High-precision mass measurement
isobars
Good optical quality and bunch
Isobars and isomers
purifies
Other experiments in DESIR

## Slide 3
3
HRS

## Slide 4
3-keV line
3

## Slide 5
3

## Slide 6
3
HRS

## Slide 7
High Resolution Separator
Resolving power of 23400 reached !
Finalise the hexapolar/octupolar corrections to minimize aberrations
Development of a new technique to simulate contaminated beam (tunable IOI/Contamination ratio and mass difference)
Objective : M/DM >20 000
J. Michaud et al. NIM B 541 (2023) 161-164
J. Michaud et al. NIM B 541 (2023) 243-245

## Slide 8
HRS
5

## Slide 9
3-keV line
5

## Slide 10
Objective: beam cooling (transverse emittance < 3 p.mm.mrad at 60 keV) beam bunching (longitudinal emittance < 10 eV.us)
Characterisation in continuous mode
  Emittance reduction from 20 to 3 p.mm.mrad
  Transmitting power of the order of 70-80%,
  >90% if long optimisation
3
M. Gerbaux et al, NIM A 1046 (2023) 167631

## Slide 11
Objective: beam cooling (transverse emittance < 3 p.mm.mrad at 60 keV) beam bunching (longitudinal emittance < 10 eV.us)
First tests in bunch mode (PostDoc A. Husson 3 years)
  Good transmission efficiency but not measured in a precise and reliable way (diagnostic studies is needed)
  Time of flight dispersion down to a few 100 ns at 3 keV
  Measurement of the energy dispersion <10 eV but limited by the detection devices
M. Gerbaux et al, NIM A 1046 (2023) 167631

## Slide 12
3-keV line
8

## Slide 13
8

## Slide 14
1st trap
2nd trap
Extraction electrodes
Injection electrodes
Entrance electrodes
Exit electrodes
Diaphragm
PIPERADE = 2 cylindrical traps inside a 7 T magnet
From
GPIB
Towards
detector

## Slide 15: Double Penning trap of PIPERADE
y
Purification Trap
Measurement Trap
(High-resolution purification and high-precision mass measurement)
B

## Slide 16: Double Penning trap of PIPERADE
y
Purification Trap
B
Ring electrode
Measurement Trap
(High-resolution purification and high-precision mass measurement)

## Slide 17: Double Penning trap of PIPERADE
y
Purification Trap
B
Ring electrode
Diaphragm
Measurement Trap
(High-resolution purification and high-precision mass measurement)

## Slide 18: Double Penning trap of PIPERADE
y
Final MCP
Purification Trap
B
Ring electrode
Diaphragm
Measurement Trap
(High-resolution purification and high-precision mass measurement)

## Slide 19: 3 eigen motions
• Axial motion (damped by the gas)
• Magnetron motion
• Reduced cyclotron motion (damped by the gas)
Reacting to:
RF excitations:
  Dipolar (Increase or decrease the amplitude)
  Quadrupolar (Convert one into another)
Gas pressure
Cyclotron frequency

## Slide 20: Buffer Gas Cooling
Implemented on PIPERADE with a resolving power of 105

## Slide 21: Buffer Gas Cooling Technique
x
Waiting time
Dipolar excitation
Quadripolar excitation
Trap center
Diaphragm
x

## Slide 22: Magnetron decentering
Dipolar excitation frequency’s scan
(increase the magnetron motion’s radius when at the correct frequency)
x
Trap center
Diaphragm
Ion Bunch
Legend :
x
x
Centered
x
x
Centered
x
Decentered
P. Ascher, et al. NIM A 1019 (2021) 165857

## Slide 23: Buffer gas cooling technique
x
Decentered
Quadrupolar excitation frequency’s scan
(magnetron motion’s conversion into cyclotron motion when at the right frequency)
P. Ascher, et al. NIM A 1019 (2021) 165857
x
x
Recentered
Resolving power:

## Slide 24: Time of Flight Ion Cyclotron Resonance
Give radial energy to the ions (dipolar + quadrupolar)
Then convert it to axial energy (freeing the ions)
Therefore ToF is shorter at the resonance

## Slide 25: Time of Flight Ion Cyclotron Resonance
Give radial energy to the ions (dipolar + quadrupolar)
Then convert it to axial energy (freeing the ions)
Therefore ToF is shorter at the resonance

## Slide 26: Time of Flight Ion Cyclotron Resonance
Give radial energy to the ions (dipolar + quadrupolar)
Then convert it to axial energy (freeing the ions)
Therefore ToF is shorter at the resonance
Ideal ToF ICR
M. Koenig, et al. IJMS 31 (1995) 95

## Slide 27: Time of Flight Ion Cyclotron Resonance
Give radial energy to the ions (dipolar + quadrupolar)
Then convert it to axial energy (freeing the ions)
Therefore ToF is shorter at the resonance
Ideal ToF ICR
M. Koenig, et al. IJMS 31 (1995) 95

## Slide 28: Example of ToF ICR at PIPERADE
Done using the new program
Dinko Atanasov & Mathieu Flayol

## Slide 29
+1
Measured with a well known reference (39K)
1s ToF-ICR mass measurement 41K

## Slide 30
1s ToF-ICR mass measurement 41K
Precision :
Study of the systematic uncertainty is ongoing

## Slide 31
M. Hukkanen et al. Phys. Rev. C 107 (2023) 014306
  5 to 10 times increase in precision
  40 times higher resolving power
  (Up to resolving power)
  Capable of resolve and measure isomers as low as few tens of keV
  High Sensitivity (non-scanning method)
  “Drawback”: Iterative process (need to zoom on the right frequency)
Developped at SHIPTRAP
Projected phases measurement
compared to ToF-ICR
Phase-Imaging Ion-Cyclotron-Resonance technique

## Slide 32: Hexagonal delay-line micro-channel-plate
O. Jagutzki et al. IEEE Trans. Nuc. Sci. 49 (2002) 5
Base flange 250 mm
Mounting ring
DLD
Holder plate
MCP rings

## Slide 33: Magnetron amplitude scan for 3 magnetron phases
Eliseev, S et al. Appl. Phys. B 114 (2014) 107–128

## Slide 34: First PI-ICR at PIPERADE
Centre
Magnetron
Cyclotron réduit
Z

## Slide 35
HRS
Hexapolar/Octupolar corrections to minimize aberrations
Resolving power of 23400 reached !
HRS
P. Alfaurt, A. Balana, B. Blank, L. Daudin, B. Lachacinski, J. Michaud, L. Serani
Conclusion

## Slide 36
Continuous mode characterised
Works routinely in bunch mode
Technical developments ongoing in order to do the bunch mode characterisation
P. Alfaurt, P. Ascher, L. Daudin, M. Gerbaux, S. Grévy, A. Husson, B. Lachacinski, S. Perard
Conclusion

## Slide 37
P. Alfaurt, P. Ascher, D. Atanasov, L. Daudin, M. Flayol, M. Gerbaux, S. Grévy, M. Hukkanen, A. Husson, B. Lachacinski, Y. Langlois, S. Perard and A. de Roubin
Conclusion
ToF-ICR reached precision of 10-8 – 10-9
Space-charge effect studies
Do a first mass measurement with PI-ICR
Systematic studies

## Slide 38: Thank you!
P. Alfaurt, P. Ascher, D. Atanasov, A. Balana, B. Blank, L. Daudin, M. Flayol, M. Gerbaux, S. Grévy, M. Hukkanen, A. Husson, B. Lachacinski, Y. Langlois, J. Michaud, S. Perard, A. de Roubin and L. Serani
ANR-2011-BS04-020-02
ANR-11-EQPX-0012

## Slide 39: Injection in the traps
0V
-80V
-85V
Purification trap
Measurement trap
MCP
y
Ep

## Slide 40
Eliseev, S et al. Appl. Phys. B 114 (2014) 107–128

## Slide 41
      Investigation of E field anharmonicities started

## Slide 42
Drift of the magnetic field has been studied

## Slide 43: Penning trap in the mass measurement world
Penning-Trap Mass Measurements in Atomic and Nuclear Physics
Jens Dilling, Klaus Blaum, Maxime Brodeur, Sergey Eliseev
Annual Review of Nuclear and Particle Science 2018 68:1, 45-74