## Slide 1
Weak-interaction studies
with nuclear beta decay
Bertram Blank for the NEX group
LP2i Bordeaux
Super-allowed 0+ - 0+ b decay
  Determination of Vud
  Search for scalar currents: 10C decay
Angular correlation measurements: WISArD
  Search for scalar and tensor currents
Conseil scientifique du LP2i Bordeaux
23 mai 2023

## Slide 2
Hamiltonian: Lorentz invariance
Standard model: V-A theory
  CS = CS’ = CT = CT’ = CP = CP’ = 0
  Maximal violation of parity: CV = CV’ and CA = CA’
  Time-reversal symmetry: CV , CV’ , CA , CA’ real
Beyond standard model physics (new physics “NP”)
  search for new particles (HEP), deviation from theory in nuclear b decay
J.D. Jackson et al, Nucl. Phys. 4 (1957) 206
M. González-Alonso et al.,
Prog. Part. Nucl. Phys. 104, 165 (2019)
final
w.f.
Initial
w.f.
Cur-
rent
• • • Standard model of weak interaction
leptonic terms
vector
axial-vector
scalar
tensor
pseudo-scalar
omitted
Herm. conj.
hadronic terms
Coupling
constant

## Slide 3
b-decay probability
• • • The nuclear laboratory
a: b-n correlation coefficient
CP conserving
Access to CS and CT quadratically
b: Fierz interference term
CP conserving
Access to CS and CT linearly
« D » coefficient
CP violating
Acces to CA, CA’, CV, CV’ linearly
for aligned spins only

+….
non-polarized nuclei
pure Fermi transitions DJ=0
➭ S=0 : spin of leptons anti-parallel
pure Gamow-Teller transitions
➭ S=1 : spin of leptons parallel
SM: vector current
Preferred emission angle: q = 0°
Maximum recoil energy
NP: scalar current
Preferred emission angle: q = 180°
Minimum recoil energy
NP: tensor current
Preferred emission angle: q = 0°
Maximum recoil energy
SM: axial-vector current
Preferred emission angle: q = 180°
Minimum recoil
energy
]

## Slide 4
• • • Weak-interaction studies with nuclear beta decay
  Ft values
    Superallowed Fermi decays
    Mirror beta decay
  Beta correlation coefficients
  Shape of the beta-energy spectrum
 Aim for a precision ≤ to constrain NP at TeV energy scale
X
X
x
X
X
x

## Slide 5
• • •
0+ - 0+ super-allowed b-decay probability
-
Ft values

## Slide 6
T1/2
QEC
BR
0+
0+
• • • Nuclear beta decay: 0+ - 0+
0+ → 0+ :
Precision measurements required: 10-3
QEC → mass measurements: f ~ QEC5
T1/2 , BR → b-decay studies: t = T1/2 / BR
 1 – 3 s tension
ft =
K
2
2
M
G
f(weak interaction) ~ 2.4%
f(nucl. structure) ~ 0.3-1.5%
f(Z, QEC) ~ 1.5%
Ft = ft (1 + dR’ ) (1 – dc + dNS ) = = cnst
K
2
F
2
V
M
G
(1 + DR)
V
F

## Slide 7
Vud = 0.9740 ± 0.0005
Errors:
exp: 0.0001
dR’: 0.0001
dC’, dNS : 0.0003
DR: 0.0004
• • • 0+  0+ decays: present status
15 nuclei
other nuclei under study:
  18Ne
  30S
  + heavier to come
Error budget:
 Ft = (3072.24 ± 1.85)s
Contribution NEX

## Slide 8
0+ - 0+ b decay: our recent work on
38Ca, 30S and 22Mg

## Slide 9
Super-allowed Fermi transitions for Tz = -1
many decay channels open
strong non-analog transitions
high precision of g efficiency needed  0.1%

## Slide 10
Derel = 0.1%, Deabs = 0.15%
calibration programme of a
HP Ge detector:
- x-ray photography of detector
- scan of the crystal at CSNSM Orsay
- source measurements at CENBG, IPNO, ISOLDE
- MC simulations: CYLTRAN, GEANT4
• • • Calibration of germanium detector
Scan at
CSNSM:
137Cs
strongly
collimated
Relative detection efficiency:
24Na, 27Mg, 48Cr, 56Co, 60Co, 66Ga, 75Se, 88Y,
133Ba, 134Cs, 137Ce, 152Eu, 169Yb, 180Hf, 207Bi
Peak/total: 22Na, 38K, 41Ar, 51Cr, 54Mn, 57Co, 58Co, 60Co,
65Zn, 85Sr, 137Cs …ISOLDE, IPNO sources
X-ray
photography
B. Blank et al., NIMA776 (2015) 34, NIMA 984 (2020) 164631

## Slide 11
Primary Beam:
40Ca @ 50 MeV/A
Production Target :
natNi 90 mm
LISE3 Spectrometer
GANIL / LISE3 experiments
Detection
Set-up
• • • 38Ca production at GANIL/LISE3
104 38Ca / s
99.5 % purity
Contaminants:
  37K: 0.12 %
  36Ar (stable): 0.11 %
  35Cl (stable): 0.09 %
  34S (stable): 0.14 %

## Slide 12
• • • 38Ca branching ratios and half-life
Present work and Anderson et al.
B. Blank et al., EPJA 51 (2015) 8
(443.63 ± 0.35)

## Slide 13
• • • 38Ca: result
half-life:
BR (0+ — 0+): present: 77.09(35) %
Park et al.: 77.28(16) %
Q value: Eronen et al.: 6612.11(7) keV
ft = 3063.3(62) s
Ft = 3077.5(67) s
 443.70(25) ms
 77.25(15) %
B. Blank et al., EPJA 51 (2015) 8

## Slide 14
• • • 30S at GANIL: very preliminary result
analysis in progress

## Slide 15
• • • 22Mg at ISOLDE: very preliminary result
…also data on branching ratios
…to be analysed
Large amounts of 22Na in beam
Use of LIST technique to remove it
 Loss of factor 50 for 22Mg
analysis in progress

## Slide 16
• • • Vud from different source and unitarity of CKM matrix
0+ - 0+ decays: Vud = 0.9740 ± 0.0005
mirror decays: Vud = 0.9742 ± 0.0009
neutron decay: Vud = 0.9743 ± 0.0006
 Vud = 0.9741 ± 0.0004
Vus = 0.2243 ± 0.0005
Vub = (3.94 ± 0.36) x 10-3
Vud2 + Vus2 + Vub2 = 0.9992 ± 0.0007  1.1s
but also 3.1s (see Hardy & Towner 2020)

## Slide 17
Future measurements at GANIL

## Slide 18
• • • Heavy Tz = 0 nuclei
test of CVC on a much larger basis
test of different models for corrections

## Slide 19
• • • Heavy Tz = 0 nuclei: production at S3-LEB
 | isotope | half-life (ms) | rate day I (pps) | rate day II (pps) | rate A/Q=7 (pps) | rate A/Q=7 fast cell (20ms) (pps)
 | 66As | 95.77(23) | 75 | 450 | 750 | 4000
 | 70Br | 79 .1(8) | 200 | 400 | 400 | 3000
 | 74Rb | 64.78(3) | 100 | 150 | 150 | 2000
 | 78Y | 54(5) | 10 | 10 | 15 | 300
 | 82Nb | 50(5) | 1.5 | 1.5 | 3 | 70
 | 86Tc | 55(6) | 1.5 | 1.5 | 3 | 50
 | 90Rh | 15(7) | 3e-4 | 4e-4 | 7e-4 | 30
 | 94Ag | 37(18) | 0.6 | 0.7 | 1 | 90
 | 98In | 37(5) | 5e-4 | 6e-4 | 1e-3 | 7e-2
 test CVC over a larger range of Z

## Slide 20
• • • 18Ne, 30S, 42Ti
Tz = -1 nucleus accessible with high statistics:
BR is difficult
up to factor of 3 difference in dC
feasible at GANIL

## Slide 21
N. Smirnova, Y. Lam, L. Xayavong et al.
• • • Theoretical corrections (sd shell)

## Slide 22
b-n angular correlations
WISArD
• • •

## Slide 23
e+
ne
nucleus
q
• • • The WISArD experiment
access to:
= 1
= 0
Pure Fermi transition (DJ=0, S=0):
nuclear
recoil:
ion traps: LPCTrap (6He), TRINAT (38mK)
vector
scalar
emitted
proton:
32Ar
32Cl
31S+p
kinematic shift of proton: recoil of nucleus 32Cl
b
p
WISArD experiment at ISOLDE
vector
scalar

## Slide 24
Principle: measurement of the recoil of nucleus
via an indirect measurement: b-delayed proton
in a magnetic field to guide the positrons
kinematical cuts by measuring or not the emitted positrons
increased sensitivity
Detection of proton: recoil of nucleus 32Cl (“Doppler” effect)
32Ar
32Cl
31S+p
b
p
• • • The WISArD experiment

## Slide 25
Experimental hall of ISOLDE
- former WITCH magnet
Catcher + detector planes
b detector: plastic scintillator and SiPM
• • • The WISArD experiment: Set-up at ISOLDE
2018
detection
setup

## Slide 26
first results (nov. 2018):
V. Araujo-Escalona et al, PRC 101 (2020) 055501
proton spectra:
E shift -> p detector
dead layer
E shift -> mylar foil + dead layer
« shadow » peaks
GT IAS: Fermi transition
• • • The WISArD experiment: proof-of- principle

## Slide 27
first results: (nov. 2018)
Average shift:
D = 4.49(3) keV
Typical resolution:
35 keV FWHM
= -0.22 (9)(stat) (2)(syst)
by means of GEANT4 MC calculations:
= 1.007(32)(stat) (25)(syst)
• • • The WISArD experiment
V. Araujo-Escalona et al, PRC 101 (2020) 055501

## Slide 28
V. Araujo-Escalona et al. Phys. Rev. C101, 055501 (2020)
after 35h collection
Ncoinc ≈ 1e5
3rd best result
• • • Limits on scalar currents: 2018

## Slide 29
Precision ≤ 0.1% needed to complement LHC searches!
• • • Limits on scalar currents: 2023-4
(2023) 0.1%

## Slide 30
• • • WISArD upgrades 2019 - 2021
proton detectors planes**
Beta detector* + SiPM
* Plastic scintillator;
** Silicon surface-barrier (thickness = 300 μm);
*** Aluminized Mylar (thickness = 6.7 μm)
2018
2021
* Plastic scintillator – EJ200;
** MICRON single-sided silicon-strip (thickness = 300 μm);
*** Aluminized Mylar (thickness = 0.5 + 1.0 μm)
Catcher***
beam transport line
 two catchers (0.5 and 1 mm)
9 SiPMs instead of 1
characterisation with 2 e- spectrometers
lower thresholds

## Slide 31
• • • WISArD 2021 test experiment
all components work, but not yet always together…
3 WWW (WISArD Working Weeks) since then
new data taking expected in late 2023 or beginning 2024
 aim of 0.1 - 0.2% precision on abn and b
ãFbn = 1.002(17)stat

## Slide 32
• • • WISArD: possible longer-term future
after the end of the 32Ar measurements:
possibility with 20Mg bp decay
 higher sensitivity, but lower production and purity
possibility with 8B and/or 8Li baa decay
 sensitivity estimates underway
possible long-term future: DESIR facility at GANIL
 higher production rates, pure beams  2027 onwards
Artist’s view of DESIR facility

## Slide 33
• • •
Thanks to Instrumentation
and Mechanics Services
Thanks for your attention

## Slide 34
Search for scalar contributions
• • •

## Slide 35
• • • 0+  0+ decays: limits on exotic currents from Fierz term
standard model assumption: only vector current
if scalar currants, we obtain for F t
F t  F t * (1 + ), y 2= 1 – Z2a2
limit on scalar current from term in F t function: (1 + bF y / <W>)

## Slide 36
• • • 0+  0+ decays: limits on exotic currents
from b decay: bF = 0.0000 ± 0.0020 ~ ( )
valid only for left-handed currents
 improve on low-Z nuclei
Hardy & Towner, 2020
Hardy & Towner

## Slide 37
• • • 0+  0+ decays: 10C error budget
BR by far largest error
two precise measurements:
  Savard et al.: 1.4625(25)%
  (PRL 74 (1995) 1521)
  Fujikawa et al.: 1.4665(38)%
  (PLB 449 (1999) 6)
  measurements with Ge
  multi-detector array
our approach:
re-measuring the BR of 10C
with out precisely calibrated
Germanium detector
10C

## Slide 38
• • • 10C measurement at ISOLDE
catcher
profiler
Proton beam at 1.4 GeV and 2mA
Target: CaO
Source: VADIS

## Slide 39
• • • 10C experimental set-up and analysis procedure
19Ne:
similar T1/2
similar QEC
no 1022 keV peak, only 511-511 pile-up
10C: 1022 keV line + 511+511 pile-up
pile-up shape
and intensity adjusted with 511keV peak,
19Ne + sim.
N(1022) =
N(511)2 * t

## Slide 40
• • • Super-allowed ranching ratio of 10C
Final result: 1.4638(50) %
Literature: 1.4646(19) %
main errors: statistics: 0.0039 %
pile-up: 0.0030 %
Blank et al., EPJA56 (2020) 156
next attempt:
higher statistics: difficult…
higher purity: MR-ToF selection