## Slide 1: Dosimetric environment of preclinical FLASH hadrontherapy studies at the ARRONAX cyclotron
Manon Evin, Charbel Koumeir, Quentin Mouchard, Gregory Delpon, Ferid Haddad, Vincent Potiron, Gaëlle Saade, Mathieu Chocry, Noël Servagent, Stéphane Supiot,
Vincent Métivier, Sophie Chiavassa

## Slide 2: FLASHMOD project
Understand the FLASH effect mechanisms
Facing the technical challenges of UHDR
Multidisciplinary team around the ARRONAX cyclotron
FLASH effect
Cyclotron C70XP
Accélérateur pour la Recherche en Radiochimie et Oncologie à Nantes-Atlantique
Main goals
CONV : ~ 0.1 Gy/s
UHDR :
Up to several hundred of kGy/s
Dose rates
Reduced toxicity to healthy tissue
Same anti-tumoral efficiency
Increase in dose rate from 0.1 Gy/s (CONV)
to at least 40 Gy/s (UHDR):
Enlargement of the therapeutic window
Montay-Gruel,P., et al. (2019). DOI: 10.1073/pnas.1901777116
Irradiation time (s)
Development of FLASH external radiotherapy
Context Beam control Set-up & methodology for preclinical irradiations In vivo dosimetry Conclusion

## Slide 3
ARRONAX preclinical irradiation platform
Beam creation
Energy and temporal structure
Beam shaping
Lateral and distal homogeneity, field size and geometry
Beam monitoring
Sample or animal
positioning and targeting
In vivo dosimetry
100 µm Tungsten foil
Cyclotron
Kapton
exit window
Collimator
Ridge filter for SOPB (optional)
Photomultipliers
Opaque cavities
Ionization chamber
Radiochromic
film
Poirier F et al., “The injection and chopper-based system at ARRONAX C70XP cyclotron”, cyc19, sept. 2019, doi:10.18429/jacow-cyclotrons2019-tup006
Innovative dosimetry
through radiations emitted by
the irradiated medium
Applications
Context Beam control Set-up & methodology for preclinical irradiations In vivo dosimetry Conclusion

## Slide 4: UHDD and CONV beam monitoring
Temporal structures of beams
Fluorescence of the air dinitrogen: peak at 337 nm (UV) Photomultiplier tube (PMT)
Charaterization of the method
Selection of the best PMT candidates
Feasibility of UHDR and CONV monitoring
Feasibility of temporal monitoring
Feasibility of a geometric profile
Matsuada website, « Photomultiplier Tube (PMT) ». [31/05/2023].
Vacuum faraday cage with guard ring
PMT
Beam
Linearity with dose rate
Mouchard Q., et al.. Upgrade of the flash beam monitoring system at ARRONAX cyclotron. (FRPT 2022). ⟨hal-03885576⟩
Quentin Mouchard
Mean dose rate (Gy/s)
PMT intensity (nA)
Context Beam control Set-up & methodology for preclinical irradiations In vivo dosimetry Conclusion

## Slide 5: Preclinical irradiations at ARRONAX
Workflow and methodology for:
Internal organs targeting without online imaging
Fixed collimators
H+
3D printed bed
ICO
ARRONAX
Preclinical irradiator
Context Beam control Set-up & methodology for preclinical irradiations In vivo dosimetry Conclusion

## Slide 6: Irradiation field sizes and margins
Reference image (orange)
Repositionning image (blue)
Before
registration
After
registration
Study with 11 mice using the XRAD225Cx
Selection of a cohort based on the weight enables the use of a unique field size
R2=0.78
R2=0.88
Context Beam control Set-up & methodology for preclinical irradiations In vivo dosimetry Conclusion

## Slide 7: Irradiation field sizes and margins
Delta Diaphragm
Delta Antero-Posterior
Fluoroscopy mode XRAD225Cx (8 images/s)
Maximal amplitudes over 10 cycles of an anaesthetized mouse
6
Context Beam control Set-up & methodology for preclinical irradiations In vivo dosimetry Conclusion

## Slide 8: Impact of respiratory cycle under FLASH-RT
FLASH-RT irradiation time ˜ ms
Dosimetric impact ?
Delta Diaphragm
Delta Antero-Posterior
MOBY (Mouse Whole Body 4D Digital Fantom) V.2
Full expiration and full inspiration
(density, composition ICRU and volume)
Cumulative Dose-Volume Histogram
H+
Full expiration
(d=0,45 g/cm3, volume 0,56 cm3)
Full inspiration
(d=0,26 g/cm3, volume 0,79 cm3)
H+
Differences in
homogeneity and
mean dose < 1 %
Context Beam control Set-up & methodology for preclinical irradiations In vivo dosimetry Conclusion
Heyden, Brent van der, et al.. « The Influence of Respiratory Motion on Dose Delivery in a Mouse Lung Tumour Irradiation Using the 4D MOBY Phantom ». The British Journal of Radiology 90, no 1069 (janvier 2017): 20160419.
Vertical irradiation
Left
Right

## Slide 9
Impact of respiratory cycle under FLASH-RT
Full expiration (Deflate)
(d=0,45 g/cm3, volume 0,56 cm3)
Full inspiration (Inflate)
(d=0,26 g/cm3, volume 0,79 cm3)
H+
Left
Left
Top view
Right
Right
Top view
H+
Cumulative Dose-Volume Histogram
Differences in homogeneity and mean dose:
  < 1 % for entrance lung
  [1-3] % for exit lung and both lungs
H+
H+
Context Beam control Set-up & methodology for preclinical irradiations In vivo dosimetry Conclusion
the one to be considered for biological analyses
Lateral irradiation

## Slide 10: In vivo dosimetry with radiochromic films
Independent of dose rate
Calibration for proton in CONV with TRS-398 formalism (PTW Advanced Markus)
OrthoChromic Films OC-1
Absorbed dose (2, 5, 10, 20, 30 Gy)
Determination of the correction factor f(LET)
Villoing., et al., « Response characterization of a new radiochromic film to ultra high dose rates for light ions beams. » (ESTRO 2022). ⟨hal-03680039⟩
Villoing,et al. « Proton Beam Dosimetry at Ultra-High Dose Rates (FLASH): Evaluation of GAFchromicTM (EBT3, EBT-XD) and OrthoChromic (OC-1) Film Performances ». Medical Physics, 2022. https://doi.org/10.1002/mp.15526.
LET (Linear Energy Transfert) dependency
- 12 %
Chamber
Advanced Markus
Gate simulation
Context Beam control Set-up & methodology for preclinical irradiations In vivo dosimetry Conclusion

## Slide 11: In vivo dosimetry with radiochromic films
Mouse whole brain irradiation: GATE simulation from XRAD225Cx µCBCT and targeting without image guidance at ARRONAX
Local gamma index 2D (DD 1% - DTA 1 mm): pass rate 98,2 %
1D illustration of the gamma index metric
Simulated
Experimental
Front
Back
Verisoft software
OC-1 films
H+
Measure
Context Beam control Set-up & methodology for preclinical irradiations In vivo dosimetry Conclusion

## Slide 12: Conclusion and perspective
Dosimetric environment of preclinical FLASH hadrontherapy at ARRONAX
Methodology for internal organs targeting without image guidance
PMT for beam control through light emitted by air
In vivo dosimetry
with OC-1 films
Design of a ridge filter for Spread Out Bragg Peak irradiations (SOPB)
as for clinical irradiation
Patriarca A, et al. « Experimental Set-up for FLASH Proton Irradiation of Small Animals Using a Clinical System »,
International Journal of Radiation Oncology*Biology*Physics, DOI: 10.1016/j.ijrobp.2018.06.403.
Other main perspective:
Context Beam control Set-up & methodology for preclinical irradiations In vivo dosimetry Conclusion
Ready for irradiation of small animals (tumors and healthy tissues)

## Slide 13
FLASHMOD project
Nantes
Saint-Herblain
Clermont-Ferrand
Medical physics
Sophie CHIAVASSA (PRISMA)
Grégory DELPON (PRISMA)
Radiobiology
Mathieu CHOCRY Vincent POTIRON
Gaëlle SAADE
Stéphane SUPIOT
PRISMA team (Physics of Radiation
Interactions with Matter and Applications)
Manon EVIN
Arnaud GUERTIN
Vincent METIVIER
Quentin MOUCHARD
Noël SERVAGENT
Radiochemistry team
Guillaume BLAIN
Émeline CRAFF
Sarra TERFAS
Johan VANDENBORRE
Ferid HADDAD
Charbel KOUMEIR
Freddy POIRIER
Simulation GATE/Geant4-DNA
Lydia MAIGNE
Giovanna FOIS
Collaboration with:
Université de Namur
Université de Louvain
Société IBA
Bordeaux
Hoang Tran
Thank you for your attention