## Slide 1: Muonic x-ray spectroscopy of La and Lu: measurement techniques and target productions
Muonic atom
n= 14
n= 1
Why La and Lu?
Measurement Techniques
Large targets
Microgram targets
War War Myint Myat Phyo
Supervisor: Prof. Thomas Elias Cocolios
muX and Reference Radii collaborations
Project number: 101088504

## Slide 2: Muonic x-ray spectroscopy
Muonic atom forms
n= 14
n= 1
*orbital distances not to scale

## Slide 3: Muonic x-ray spectroscopy
Muonic atom forms
n= 14
n= 1
*orbital distances not to scale

## Slide 4: Muonic x-ray spectroscopy
Muonic atom forms
n= 14
n= 1
HPGe
HPGe
once the muon reaches the ground state, there are two possible fates:
free muon decay, emitting an electron and two neutrinos
captured by the nucleus
*orbital distances not to scale

## Slide 5: Muonic x-ray spectroscopy
Bohr Model:
Muonic orbitals are much closer than electronic orbital to the nucleus. Therefore, more sensitive to nuclear properties.
m
*orbital distances not to scale

## Slide 6
Why La and Lu?

## Slide 7
156Lu, 175Lu
137La, 138La, 139La
proton emitter
largely prolate deformed
far from any shell closure
proton emitter
slightly oblate deformed
close to N=82
117La
150Lu,151Lu
Laser spectroscopy:
absolute charge radii measurement
using muonic x-ray spectroscopy

## Slide 8
Measuring the absolute charge radii of 137, 138, 139La and 175, 176Lu
117La
150Lu
151Lu
Laser spectroscopy:
Modified
slope and intercept

## Slide 10: Measurement techniques
1. Direct muon capture method
2. Indirect muon capture method

## Slide 11: Direct muon capture method
For sufficiently large targets (10-100mg)
Shot muons directly on target
target

## Slide 12: Indirect muon capture method
target will be placed here
For small targets (≳ 5 ug)
Gas cell filled with H2 with 0.25% of D2 is used
Muon is transferred to the target through the diffusion processes inside the gas cell
Stergiani Marina Vogiatzi. Studies of muonic 185,187Re, 226Ra, and 248Cm for the extraction of nuclear charge radii. PhD thesis, Doctor of Sciences of ETH Zurich

## Slide 13: Diffusion processes inside the gas cell
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
H2
H2
H2
D2
@100 bar
Muon veto
Muon entrance
Target
- Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.
Animation @ M.Heines

## Slide 14: Diffusion processes inside the gas cell
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
H2
H2
H2
D2
@100 bar
µ-
- Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.
Animation @ M.Heines

## Slide 15: Diffusion processes inside the gas cell
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
H2
H2
µH
D2
@100 bar
- Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.
Animation @ M.Heines

## Slide 16: Diffusion processes inside the gas cell
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
H2
H2
H2
µD
@100 bar
- Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.
Animation @ M.Heines

## Slide 17: Diffusion processes inside the gas cell
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
H2
H2
H2
µD
@100 bar
- Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.
Animation @ M.Heines

## Slide 18: Diffusion processes inside the gas cell
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
H2
H2
H2
D2
@100 bar
µZ
- Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.
Animation @ M.Heines

## Slide 19: Target preparations

## Slide 20: Targets
176Lu
175Lu
139La
138La
137La
Large targets
microgram targets
natural sample
1g of Lu2O3
97.4% purity
enriched sample
20mg of Lu2O3
74.5% purity
natural sample
1g of La2O3
99.9% purity
enriched sample
10mg of La2O3
5.9% purity
needs to be mass separated to enhance the purity
200ug of La2O3
ongoing characterization to know the purity

## Slide 21: Targets
176Lu
175Lu
139La
138La
137La
natural sample
1g of Lu2O3
97.4% purity
enriched sample
20mg of Lu2O3
74.5% purity
natural sample
1g of La2O3
99.9% purity
enriched sample
10mg of La2O3
5.9% purity
needs to be mass separated to enhance the purity
200ug of La2O3
sample is being characterized

## Slide 22: Large targets preparation
Dimension optimization
Number of muons
stopping depth (Angstrom)

## Slide 23: Large targets preparation
powder
La2O3 / Lu2O3
powder
PEEK holder
placed in a PEEK target holder
and sealed in plastic pouch

## Slide 24: Microgram target preparation
glassy carbon disc
138La
139La
138La
5.9% purity
10 mg
at least 75% purity
10 ug
mass separation and implantation

## Slide 25
In separator magnet, the trajectories depend on A / q ratio
Heavier ions bend less, lighter ions bend more
138La can be separated from 139La using this technique
laser
HV
Mass separation technique

## Slide 26
D. Studer, Joint ARIEL SANDA meeting
Ions
Laser beams
Sample
3 mm
Lanthanum nitrate solution droplet was deposited on a foil. After drying, it was folded and inserted into the sample reservoir
Sample was heated till it vaporizes, then La was ionized using the resonance laser ionization (Ionization scheme of La was developed by the group in Mainz)
Extracted the ions and measured the signal on the FC
RISIKO – an offline ion beam separator in Mainz, Germany
Test separation at RISIKO

## Slide 27: Test separation at RISIKO
laser ionized 139La ion peak
surface ionized LaO peak
Very low separation efficiency of La ions
< 0.1%

## Slide 28: Test separation at RISIKO
Attempted to reduce the LaO formation
using Y as a reducing agent
Tried different configurations of the samples
Couldn’t reach above 0.5% efficiency
LaO(g)
La(g)
La2O3
Plot provided by W.Wojtaczka / R.J. Hasse

## Slide 29
0.08% of 138La16O
in natural sample
surface ionized LaO peak
Achieved 1.5% efficiency during the test
1.5% efficiency  8.8 μg of 138La
Lower limit of target for the gas cell method is 5 μg.
Test separation at RISIKO
Plot produced by R.J.Hasse

## Slide 30: Targets
176Lu
175Lu
139La
138La
137La
natural sample
1g of Lu2O3
97.4% purity
enriched sample
20mg of Lu2O3
74.5% purity
natural sample
1g of La2O3
99.9% purity
enriched sample
10mg of La2O3
5.9% purity
needs to be mass separated to enhance the purity
200ug of La2O3
sample is being characterized
Large targets
microgram targets

## Slide 31: Preliminary data from 2024 beamtime
Muonic x-ray energy spectrum of 139La
Shows the readiness for next measurement

## Slide 32: Preliminary data from 2024 beamtime
Muonic x-ray energy spectrum of Lu
Several peaks for 2p-1s transition because of the hyperfine structure
Dynamic hyperfine structure is present. Complex analysis ongoing
Enriched : 74.5% of 176Lu
Natural : 97.4% of 175Lu

## Slide 33: Conclusion & Outlook
Presented:
Muonic x-ray spectroscopy measurement techniques
Target productions
Preliminary results
Outlook:
Ongoing analysis to extract the muonic transition energies of Lu from experiment
Initiate the theoretical calculations and charge radius extraction
Prepare microgram targets for next beamtime

## Slide 34: Thank you very much!
Project number: 101088504

## Slide 35: Back Up slides

## Slide 36: Energy Vs Time

## Slide 37: Analysis pipeline
tDiff = t HPGe – t muon entrance
muonic x rays
calibration lines
Timing optimization
Energy calibration
Gain drift correction
3) Energy extraction

## Slide 38: Timing analysis
ELET optimization : optimize Th, f and Ex in each detector
Example of good ELET
Ex= 0.1,
Th= 30,
f = 4
Time resolution per detector : 8.9 – 20.5 ns sigma

## Slide 39
Example of
Gain Drift
Correction

## Slide 40: Effect of electron veto cut

## Slide 41: Analysis pipeline
Theoretical calculations of
the Dirac equation
(α ⋅ pμ + β mμ) ψ = (E − V(r)) ψ
energies
Correction of the muonic energy levels
charge distribution parameters

## Slide 42: Analysis pipeline
Theoretical calculations of
the Dirac equation
(α ⋅ pμ + β mμ) ψ = (E − V(r)) ψ
Experimental measured energies
Correction of the muonic energy levels
Extract the charge distribution parameters

## Slide 43: Laser effect for the excitation scheme
ionization scheme for La developed by Raphael from Mainz
[1]
[1] Photo from Raphael, Mainz