## Slide 1
CYCLHAD and the C400 accelerator for ion therapy and research
Gabriel Gaubert / CEO / EUNPC2025 – CAEN – 23/09/2025

## Slide 2
Disclaimer
PROPRIETARY INFORMATION
THE INFORMATION CONTAINED IN THIS DOCUMENT IS CONFIDENTIAL AND IS PROPERTY OF CYCLHAD SAS, IBA S.A. AND NHA. THIS IS SHARED FOR INFORMATION ONLY. THE REPRODUCTION, TRANSMISSION OR USE OF THIS INFORMATION IS FORBIDEN, UNLESS PRIOR WRITTEN PERMISSION OF CYCLHAD, IBA AND NHA IS PROVIDED.
Additional IBA / NHA disclaimer

## Slide 3
Talking about cancer & treatments
  Numbers & Treatments
  Radiotherapy / hadrontherapy
  Hadrontherapy worldwide
  Clinical advantages / evidence
Cyclhad Centre
  The hadrontherapy R&D ecosystem in Caen
  Facility & Staff
  Some facts
Proton therapy with the ProteusOne
  ProteusONE design
  Patient workflow and indications
  Clinical activity since 2018
Hadrontherapy with the C400 system
  SRTH : General overview
  Main features of the C400 cycloton
  The fixed beam treatment room
  Installation and timeline
  R&D facilities
Take home message
Content

## Slide 4
1. Talking about cancer and treatments

## Slide 5
NUMBERS
Number of new cases /year
1st cause of death in
France
20 millions
4.47 millions
483 568 including
+ 2200 children
9.74 millions
1.98 millions
190 612
è
è
Monde*
Europe*
France**
1. Cancer and treatments
* IARC – OMS 2022 **INCA 2025
Number of deaths /year

## Slide 6
TREATMENTS
1. Cancer and treatments
Chemotherapy
Surgery
Radiotherapy
Immunotherapy
Carbon ions
50-60%
60%
<10%
40-50%

## Slide 7
HADRONTHERAPY WORLDWIDE
1. Cancer and treatments
CONVENTIONAL RADIOTHERAPY CENTERS (Xrays)
~20,000 treatment rooms
PROTON THERAPY CENTERS
182 centres in operation or under installation ~ 400 treatment & research rooms
CARBON THERAPY CENTERS
14 multi-ions operational centres with carbon therapy + 6 under installation

## Slide 8
CLINICAL ADVANTAGES
1. Cancer and treatments
Proton & carbon ions:
  Dose conformity at tumour location
  Sparing of the healthy tissues and organs at risk (OAR)
  Relative Biological efficiency (RBE): x1,1 for proton - RBE x 2 to 3 for carbon
Carbon ions
  Less treatment fractions
  Hight LET for more complex DNA breaks
  Effectiveness on radioresistant and hypoxic tumours

## Slide 9
CLINICAL EVIDENCE
1. Cancer and treatments
But …
  Only 1,2% and 0,6% of all radiotherapy patients received proton therapy in US and EU respectively
  Less than 15% of paediatric patients receive proton therapy for the ASTRO- recommended indications
Number of proton therapy scientific publications worldwide

## Slide 10
2. CYCLHAD Centre

## Slide 11
THE HADRONTHERAPY ECOSYSTEM IN CAEN
2. CYCLHAD CENTRE
CIMAP
LPC
LARiA
IST2
GREYC
ENSICAEN
UNIVERSITE
PHYSICS &
CHEMISTRY
CLINICAL
RESEARCH
RADIO-
BIOLOGY
IMAGING

## Slide 12
FACILITY AND STAFF
2. CYCLHAD CENTRE
EQUIPMENTS
  Protons: ProteusONE
    1 treatment room
  Multi-ions: C400 – under installation:
      1 treatment room
      1 mix room for treatment and research
      1 research and industrial application room
LABORATORIES & OFFICES
ECOSYSTEM & ENVIRONNEMENT
STAFF
CYCLHAD employees
Technical staff
      ProteuONE: IBA engineers
      C400: NHa engineers
      Building : Vinci Facilities technicians
Clinical staff
      ProteusONE: Centre François Baclesse
    Radiation oncologists, medical physicists and dosimetrist, radiotherapists, medical secretary
      C400: clinical French national model under definition

## Slide 13
SOME FACTS…
3. CYCLHAD CENTRE
✅ 1 of 3 French protontherapie centres
✅ Patient workflow: TOP 1 Europe & TOP 3 World with a ProteusONE single room
✅ Patient feedback from Google: 4.9/5 which reflect an excellent patient care at the CFB/Cyclhad partnership
✅ The unique French multi-ion hadrontherapy center
✅ 1 of 20 multi-ion centers worldwide
✅ First multi-ion hadron therapy center equipped with a cyclotron
✅ Expertise in distraction techniques for pediatric patients and skin cancers

## Slide 14
3. Proton therapy with the ProteusOne

## Slide 15
ProteusONE DESIGN
3. PROTON THERAPY WITH THE ProteusONE
S2C2 accelerator:
Super conducting Synchro-cyclotron
Energy: 230 Mev/u
Beam line tranfer
Patient couch
6 axes positioning robot
Scanning magnets (x-y)
x
y
z
52 weeks / year from Monday to Friday
2 hours / day for Quality controls
14 hours / day of clinical treat. room operation
Evening & Week-end for maintenance
6 am – 10 pm
Centre openning

## Slide 16
ProteusONE DESIGN
3. PROTON THERAPY WITH THE ProteusONE
Nozzle with IC and range shifter
270° isocentric gantry
6D robotic couch
Gantry & S2C2 access
Flat Panels
Stereoscopic
X-ray sources

## Slide 17
PATIENT WORKFLOW & INDICATIONS
The patient's journey and treatment indications: from the François Baclesse Center to Cyclhad
3. PROTON THERAPY WITH THE ProteusONE
30 beam delivery fractions at 2 Gy within 5 weeks
25 minutes mean time per fraction
3 fractions per week for skin cancer: hypofractionation @6Gy
Average proton therapy treatment
No anaesthesia even for children

## Slide 18
CLINICAL ACTIVITY SINCE 2018
3. PROTON THERAPY WITH THE ProteusONE
Number of patients treated per year with proton therapy at Cyclhad
New achievements
30,000 proton fractions delivered
1,300 patient treated including
150 paediatric patients
Capacity to treat up to 300+ patients per year

## Slide 19
4. Multi-ion hadrontherapy with the C400 system

## Slide 20
GENERAL OVERVIEW
4. HADRONTHERAPY WITH THE C400 SYSTEM
Research room
Beam line
Energy Selection
C400
Fixed beam room
Clinical research
Fixed beam room
Radiobiology research
PROTEUS®ONE
SRTH: Système de Recherche et de Traitement en Hadronthérapie

## Slide 21
GENERAL OVERVIEW
4. HADRONTHERAPY WITH THE C400 SYSTEM
Fixed beam
room #3
Physics
Ion sources
room

## Slide 22
MAIN FEATURES OF THE C400 CYCLOTRON
4. HADRONTHERAPY WITH THE C400 SYSTEM
Superconducting cyclotron

## Slide 23
MAIN FEATURES OF THE C400 CYCLOTRON
4. HADRONTHERAPY WITH THE C400 SYSTEM
Superconducting cyclotron

## Slide 24
MAIN FEATURES OF THE C400 CYCLOTRON
4. HADRONTHERAPY WITH THE C400 SYSTEM
Superconducting cyclotron

## Slide 25
MAIN FEATURES OF THE C400 CYCLOTRON
4. HADRONTHERAPY WITH THE C400 SYSTEM

## Slide 26
Horizontal fixed beamline with PBS – larger SAD
6D PPS robotic system
Couch and Chair patient positioning system
2D PPVS flat panel with 3 X-ray tubes
Alignment lasers
Nozzle bottom clearance improved for a chair
Fixed Ripple filter to reduce the number of layers
Movable accessory - Range shifter for ranges < 4cm
FIXED BEAM TREATMENT ROOM
4. HADRONTHERAPY WITH THE C400 SYSTEM

## Slide 27
FIXED BEAM TREATMENT ROOM
Mix patient positioning system: a unique design
4. HADRONTHERAPY WITH THE C400 SYSTEM

## Slide 28
4. HADRONTHERAPY WITH THE C400 SYSTEM
FIXED BEAM TREATMENT ROOM
Therapeutic indications with carbon ions

## Slide 29
4. HADRONTHERAPY WITH THE C400 SYSTEM
INSTALLATION AND TIMELINE

## Slide 30
INSTALLATION AND TIMELINE
4. HADRONTHERAPY WITH THE C400 SYSTEM
2022
2023
2024
2025
2028
2026
2027
Design Review, Manufacturing, QRS, Team setup, …
C400 IONS Equipment installation
C400 1st beam extraction
Beam @ isocenter
C400 Acceptance
Coming soon:
Cryocooling system & superconductive coil testing
Magnetic mapping
RF system commissioning

## Slide 31
R&D FACILITIES
500 m² dedicated for radiobiology laboratories
4. HADRONTHERAPY WITH THE C400 SYSTEM
Direct access to the irradiation rooms delivering different ion species
Access to a cells & small animals Xray on site irradiator
Bio molecular and cellular labs connected to a temporary small animal room facility
Major strength: combine multi-irradiation modalities in the same centre facility avoiding external bias

## Slide 32
4. HADRONTHERAPY WITH THE C400 SYSTEM
A FIXED BEAM LINE ROOM OPERATED BY A DEDICATED ENGINEERS & PHYSICISTS TEAM
Major strenght: Modular research room with easy switching ion species and irradiation experimental stands
Physics experiments, measurements and studies with heavy ions
Instrumentation and detectors developments
Material development and characterization
Radio pharma experiments
Radioprotection testing
Microelectronic radiation hardness testing and qualification
R&D FACILITIES
300 m² experimental hall for physics and industrial applications

## Slide 33
TAKE HOME MESSAGE
5. TAKE HOME MESSAGE
CYCLHAD is a multi-ion facility running since 2018 for research & treatments
The new compact C400 IONS system will be fully commissioned early 2028
Great perspectives for Clinical & Physics research

## Slide 34
THANK YOU
CYCLHAD.COM