## Slide 1
ZTF-France meeting, LPNHE, 11-12 January 2024
ZTF passbands
Philippe Rosnet, Chloé Barjou-Delayre
and Nicolas Regnault

## Slide 2
ZTF instrument: Schmidt-telescope
P48 mirror

## Slide 3
Instrument elements (1)
Aspheric trim plate transmission
P48 mirror reflectivity
ZTF filter transmission
ZTF field corrector transmission

## Slide 4
Instrument elements (2)
ZTF CCD quantum efficiency (QE)
Full instrument model compared to SNCosmo inputs
Double coating CCDs
Single
coating CCDs
Camera mosaic

## Slide 5
ZTF filter characterization (Caltech)
x g and r-bands at 0° and 4°
+ i-band at 5° (no data at 0°)

## Slide 6
Filter transmission dependency
Determination of the effective refracting index of filters: shift of 0° data according to formula above to match 4° data by using as reference point the centre of the filter
Approximate angular dependence of interference filter transmission (arXiv:0908.3808 )
Quantification of the filter transmission shift by computing the 1st moment = mean value of filter transmission
Instrument | g-band | r-band | i-band
SDSS | 1.70 | 1.80 | 1.60
ZTF | 1.85 | 1.95 | 1.75
Estimations
Extrapolation

## Slide 7
ZTF r-filter shift versus incident light angle
The estimated refracting index allows to predict the filter transmission at any light incident angle
Question: What is the real light incident angle on ZTF camera?

## Slide 8
ZTF camera
Pixel size = 15 µm 1.01’’
CCD = 6144 col 6160 row 1.724° R.A. 1.728° Dec.

## Slide 9
Telescope model
Camera shadow
Camera
Mirror
x
Position (x) on camera correspond to light-rays from sky with incident angle
Hypothesis: projection of pupil and camera on mirror according to incident angle (not realistic on scheme: )
Camera
Mirror
Camera shadow on mirror
Pupil projection on mirror

## Slide 10
Model result versus incident angle

## Slide 11
Model results: focal plane relative illumination
Camera at the limit of the field-of-view of the telescope

## Slide 12
Model result: mean light incident angle on camera

## Slide 13
Model result: median light incident angle on camera

## Slide 14
g-band: Caltech data
Filter transmission measured at 0° are compared to filter in SNCosmo

## Slide 15
g-band: synthetic filter
Synthetic filters compared to filter in SNCosmo
First-moment mean shift = -1.74 nm

## Slide 16
r-band: Caltech data
Filter transmission measured at 0° are compared to filter in SNCosmo

## Slide 17
r-band: synthetic filter
Synthetic filters compared to filter in SNCosmo
First-moment mean shift = -2.10 nm

## Slide 18
ZTF i-filter: no measurement at 0°
First attempt (assuming linear behaviour): simple application of shift formula
New extrapolation:

## Slide 19
i-band: Caltech data
Filter transmission measured at 5° are compared to filter in SNCosmo

## Slide 20
i-band: synthetic filter
Synthetic filters compared to filter in SNCosmo
First-moment mean shift = -3.21 nm

## Slide 21
Chloé work: light-curve fit with new filters
New filters = optics + SNCosmo filters extrapolated at 8.8° + QE single/double layers

## Slide 22
Chloé work: SNCosmo light-curve fitting
New filters setting : sncosmo.bandpass(wavelength, transmission, name)
New filters assigned to every light-curve data point depending on CCD number: single (●) or double (◆) coating layers

## Slide 23
Chloé work: DR2 r-band light-curve residuals
Strange artefacts: only in r-band -> to be understood
Improvement in median residual in some parts of the light-curve

## Slide 24
Chloé work: DR2 g-band light-curve residuals
Shift of residual at “high” phase: must be understood
Improvement in median residual

## Slide 25
Conclusions and next step
Conclusions
  Almost all pieces to build an instrument model
  First instrument card for SNCosmo (Nicolas)
Next step: test with Gaia data
  Applied synthetic photometry to Gaia spectra
  Compare color indexes (g-r, r-I, g-i) to ZTF starflat data