## Slide 1: A robust testing platform for pixelated detectors
Nov 18 -22 , 2024, Strasbourg , France
PIXEL 2024
P. Maj , G.W.Deptuch, D.S.Górni, G. Pinaroli, Timothy Kersten
Instrumentation Department, Brookhaven National Laboratory, Upton NY 11973, USA

## Slide 2: Outline
Challenges of pixelated structures testing
Testing priorities
Prototyping platform for ASIC testing at BNL
Examples of pixelated structures designed at BNL

## Slide 3
Testing Challenges – author experience
complex developments
2011 PXD18K
2014 UFXC
2013 VIPIC
2017 Chase Jr
2020 FRIC
2018 COGITO
Chips grow with complexity due to lower technology node, increased functionality and increased readout speed
small technology node
advancement in development
2023 IntelPixel
2023 LN PIX
28nm
40nm
40nm
40nm
130nm
130nm
180nm
130nm

## Slide 4
Testing Challenges
2024 EDWARD
2024 HEXID
2024 AI/ML
2024 FFFI
Only Digital output stream
Analog and digital stream synchronized
Only digital stream

## Slide 5
A dedicated DAQ system’s drawbacks
Challenges with developing a dedicated data acquisition system towards a single ASIC testing are flowing:
Time consuming design – design anticipating future changes
Debugging of the DAQ before connecting ASIC + necessary changes
Developing a firmware for FPGA and CPU
Expensive due to time necessary for delivery
Ages quickly
Multiple developers involved - high coupling in the system as bug’s are targeted at different levels depending on developer’s availability.
All the above isn’t helping with testing of our ASIC

## Slide 6
Overcoming dedicated DAQ drawbacks
Separate parts of the design which are an -dependent and which can be purchased
Define the hardware behavior with software

## Slide 7
ASIC testing patform at BNL

## Slide 8
ASIC testing at BNL
An of-the-shelf controller
Passive cooling
Metal casing for cooling and electromagnetic noise enclosure
Daughter PCB
ADC
DACs for biasing
LDOs for power
Voltage level converters
Connector for interface
1st BNL BOOTH at IEEE/NSS 2024

## Slide 10
Examples of BNL systems - EDWARD
matrix of pixels
32x32
peripherals
Results of tests presented at TWEPP 2024

## Slide 11
Examples of BNL systems – Full Field Fluorescence Imager
[1] D.S. Gorni et al, https://dx.doi.org/10.1088/1748-0221/17/04/C04027,2022
[2] D.S. Gorni et al, https://doi.org/10.1088/1748-0221/19/04/c04035

## Slide 12
Central pixel
8 neighbors
No event
No event
time [au]
analog amplitude
analog amplitude
numerical addresses
time [au]
Examples of BNL systems – FFFI (or 3FI)
Preliminary results presented at SRI 2024
Fe55 Preliminary

## Slide 14
Examples of BNL systems - HEXID
The Hyper-spectral Energy resolving X-ray Imaging Device (HEXID)
CZT Imager for next generation Hard X-ray space telescope.
Preliminary Results presented at NSS 2024
[1] G. Pinaroli et al, https://doi.org/10.1117/12.26769913
[2] G. Pinaroli et al, https://doi.org/10.1117/12.3019976
Sensor material | CZT, W = 4.6 eV/pair
Ileak | ~10 pA
Pixel capacitance | ~ <150 fF
Collected Carriers | Electrons
Energy Range | ~2keV to ~180 keV
ENC | < 20 e
Pixel Pitch | 150 um , hexagonal
Detection Area | Target: ~ 12 mm x 10mm (64x80 pixels), Demonstrator: ~1.2mm x 1.2mm (8x8 pixels)
Sensor material | CZT, W = 4.6 eV/pair
Ileak | ~10 pA
Pixel capacitance | ~ <150 fF
Collected Carriers | Electrons
Energy Range | ~2keV to ~180 keV
ENC | 
Pixel Pitch | 150 um , hexagonal
Detection Area | Target: ~ 12 mm x 10mm (64x80 pixels), Demonstrator: ~1.2mm x 1.2mm (8x8 pixels)

## Slide 16
Examples of BNL systems – AI/ML
Preliminary Results presented at NSS 2024

## Slide 17
Examples of BNL systems – AI/ML

## Slide 18
Future plans – FFFI at Sychrotron

## Slide 19
Conclusions
Rapid Development Through Off-the-Shelf Controllers: Leveraging commercially available platforms significantly accelerates the development of testing systems.
Streamlined ASIC Testing: Dedicated prototyping systems allow us to focus on ASIC-specific challenges, such as power supply, biasing, and analog/digital signal analysis
Scalability and Reusability: The modular design and flexible software ecosystem provide scalability, allowing components and code to be reused across projects
Single Software Platform: A single software platform makes it unique acceleration of system integration, data transfer and an efficiency of debugging.
Proven Success: From testing single dies, dies with sensor up to synchrotron experiments and a commercial product prototypes, these platforms have enabled quick, reliable solutions that meet our needs

## Slide 20
BCKP Examples of BNL systems – Fish Grid geometry CZT
32-channels 14-bit 65 MHz  30 Gbps data stream
All in FPGA DSP: Decimation, filtering, convolution, pedestal, peak detection, buffering, snippet handling, single channel stream
Data streaming to sd, usb-c, network, WiFi, embedded GUI
battery powered

## Slide 21
BCKP Examples of BNL systems - HEXID
The Hyper-spectral Energy resolving X-ray Imaging Device (HEXID)