## Slide 1
A. Lopez-Martens
(IJClab, Orsay)
J. Dudouet
(IP2I, Lyon)
D. Kalaydjieva* and K. Stoychev*
(IJCLab, Orsay)
J. Ljungvall
(IPHC, Strasbourg)
*present affiliation: U. of Guelph, Canada
Recent developments with OFT
4th AGATA-GRETINA Workshop, 2024

## Slide 2: Recent OFT upgrades
Latest version gives information on tracked type (single, Compton, pair production) and can take up to 4 parameters:
OftMinProbTrack 0.05 (default: 0.05) ⇦ FoM threshold
OftSigmaThetha 0.8 (default: 0.8) ⇦ Position uncertainty (cm)
OftClustRedFact 1 (default: 1-> no reduction)
OftFixedAngle 0 (default: 0 -> variable opening angle) ⇦ in rad
Can reduce amax=amax/OftClusterRedFact
If OftFixedAngle =0, compute the maximum angular separation max between points in a cluster = f(nint)
Loop on amin(=0.15) <  < max with =0.1 rad and find n different clusters with total energy eclust

## Slide 3: Recent OFT upgrades
1172 keV (60Co source data, 2016)
OftFixedAngle=0.35 rad
Variable clustering angle
OftSigmaThetha varies from 0.4, 0.6, 0.8, 1, 1.3, 1.6 to 2

## Slide 4: Recent OFT upgrades
1172 keV (60Co source data, 2016)
OftFixedAngle=0.35 rad
Variable clustering angle
OftSigmaThetha varies from 0.4, 0.6, 0.8, 1, 1.3, 1.6 to 2

## Slide 5: Fixed angle vs variable angle
Courtesy of J. Dudouet
Agata simulated data
OftSigmaThetha =0.8

## Slide 6: Why does OFT have the parameter OftSigmaThetha ?

## Slide 7
i
i+1
qi
i-1
Ei-1
Ei
ei
Compton vertex evaluation

## Slide 8
i
i+1
qi
i-1
Ei-1
Ei
ei
Gretina:
OFT:
mgt:
Compton vertex evaluation

## Slide 9
i
i+1
qi
i-1
Ei-1
Ei
ei
Gretina:
OFT:
mgt:
Compton vertex evaluation

## Slide 10: Compton vertex evaluation
i
i+1
qi
i-1
Ei-1
Ei
ei
Gretina:
OFT:
mgt:

## Slide 11: Scattering angle uncertainty in OFT
q1
e0,x0,y0,z0
e1,x1,y1,z1
e2,x2,y2,z2
Compton vertex

## Slide 12: Scattering angle uncertainty in OFT
q1
sx=sy=s= constant = sq = CONSTANT
e0,x0,y0,z0
e1,x1,y1,z1
e2,x2,y2,z2
Compton vertex

## Slide 13: Reality is different
P.-A. Söderström et al., Nucl. Instr. Meth. A 638 (2011) 96
M. Siciliano et al., Eur. Phys. J. A (2021) 57:64
w1=2.7
w2=6.2
-sx(64 keV – 128 keV)
+sx(64 keV – 128 keV)
FWHM =

## Slide 14: Non-gaussian behaviour of q
P. Napiralla et al., Nucl. Instr. Meth. A 955 (2020) 163337
q
e0,x0,y0,z0
e1,x1,y1,z1
e2,x2,y2,z2
Compton vertex
r10=r12=12 mm
s=2.12 mm

## Slide 15: Can position- & energy-dependent position uncertainties improve the tracking performance of OFT ?

## Slide 16: Two position-dependent position resolution data bases
1) M. Siciliano (Bootstrapping method) – asymmetric uncertainties, 3 LUTs for crystals A,B & C and for different deposited energy ranges, cartesian coordinates
(MS)
2) M. Labiche & S. Chong – symmetric uncertainties, 3 LUTs for crystals A,B & C scaled by Söderström energy dependence, cylindrical coordinates (data base pipeline: GEANT4 simulations -> signal generation via ADL -> PSA -> comparison between extracted positions from PSA and real positions)
(ML)
M. Siciliano et al., Eur. Phys. J. A (2021) 57:64

## Slide 17: Computing ∂cosq when sx, sy and sx are different
Monte Carlo sampling of positions @ every Compton vertex from a normal (symmetric case) or split normal distribution
(asymmetric case)
Fit of cosq distribution to extract Dcosq @ vertex
q

## Slide 18
Monte Carlo cosine uncertainties
(constant position uncertainty)
OFT analytical cosine uncertainties
(constant position uncertainty)

## Slide 19: Effect of segment borders & asymmetric errors
Analytical mean and variance
(with sq=0.8))
Monte Carlo mean & variance (ML)

## Slide 20: Ganil 60Co source run 29 detectors – 1332 keV-gated data, No single-point interactions, Fixed clustering angle
Standard OFT = analytical calculation of ∂cosq & sq=0.8
OFT modified by Konstantin = Monte Carlo extraction of Dcosq & sq=0.8
Monte Carlo extraction of Dcosq & s(e,x,y,z) read from data base of Marco Siciliano or Marc Labiche

## Slide 21: In-beam 98Zr PSA test-bench data
Peak of interest: 1222.9 keV (21+ → 01+ )
No single-point interactions
Fixed clustering angle
(NB:color code not the same as previous slide)

## Slide 22
In-beam 98Zr data
Peak fits performed with gaussian + skewed gaussian + step function
minprobtrack=0.08

## Slide 23: Conclusions
The uncertainty in cosq is overestimated in OFT (except at small and large angles, where it is underestimated)
The vertex evaluator of OFT performs better (albeit with a worse P/T) with an average uncertainty on all points than with the available position uncertainty maps (effect of evaluator or non fidelity of uncertainty data base ?)
Some things to investigate:
Scale OFT cosine uncertainties for forward and backscattered events to recuperate the forward and backward scattered events which are rejected due to the “close-to-0” cosq uncertainties
Extract more realistic position uncertainty data base from scanning tables (difference in positions given by PSA using ADL vs positions given by PSA using experimental data base)
Investigate other types of evaluators

## Slide 24: Perspectives
From KTH: Promising preliminary results on tracking with Graph Neural Networks to evaluate the connectivity between energy deposits
1332 keV
Simulated data (Ge sphere)
5mm packing & smearing
Mikael Andersson & Torbjörn Bäck, Nucl. Instr. Meth. A 1048 (2023) 168000