## Slide 1
Improvement of the sensitivity of a Michelson interferometer for the characterization of mechanical modes of a mirror
ARTEMIS, Observatoire de Nice
Stéphanie Grabielle
Jean-Pierre Coulon, Margherita Turconi, Walid Chaibi
Workshop « Développement des détecteurs (17th June 2024)

## Slide 2
Outline
Goal: Monitoring evolution of Parametric instabilities’ (PIs)
Experimental setup and first results
Improvements
Conclusion and Perspectives

## Slide 3
Outline
Goal: Monitoring evolution of Parametric instabilities’ (PIs)
Experimental setup and first results
Improvements
Conclusion and Perspectives
General context
What are PIs?
Our mitigation strategy

## Slide 4
GW Detectors
300kW
300kW
80W
40W
Post-O5 : 250W 1.5 MW
ET : 500W 3 MW
High laser power
One limitation to the power increase : Parametric instabilities

## Slide 5
q-1
q
q+1
Normalized Transmittance
Round-Trip phase
Linear optical cavity
n+m
n
m
HG modes
Stable cavity : non degeneracy of HG modes’ resonance frequencies
2π
2π
-2π
0
Workshop « Développement des détecteurs » (17th June 2024)

## Slide 6
Light scattering
= =
Stokes
Anti-stokes
Signal
Stokes process
Anti-stokes process
Jacobi-Anger expansion (order 1)
Workshop « Développement des détecteurs » (17th June 2024)

## Slide 7
Evans et al, Phys. Lett. A, 374(4), 665-671 (2010)
PI due to mirrors internal modes
cavity
Overlap
Intracavity power
Mechanical quality factor
HOM optical quality factor
Cavity pole
α mechanical mode energy
HOM detuning
Instability condition
Parametric gain
[Braginsky et al, PLA 287 (2001)]

## Slide 8
Mitigation based on Radiation Pressure
Laser
AOM
AOM
Horizontal deflection
Vertical deflection
Random access
Fast deflection
35cm
Damping by radiation pressure
T. Harder et al. Optics Express Vol. 31, Issue 2, pp. 1486-1500 (2023)
Mechanical damping
Light scattering  Optical damping
One way to monitor the parametric instabilities’ evolution is to characterize the mechanical modes of the mirror involved in the PIs

## Slide 9
Outline
Goal: Monitoring evolution of Parametric instabilities’ (PIs)
Experimental setup and first results
Improvements
Conclusion and Perspectives

## Slide 10
Requirements
Goal:
Monitoring thermally induced mechanical modes of a mirror with a quality factor
Measuring small displacement with a required sensitivity: for frequencies > 30 kHz
Use of the parametric gain to assess if a mechanical mode is involved in PIs
Measurements cannot be done using a cavity
Michelson interferometer

## Slide 11
Experimental setup
Si Photodiode

## Slide 12
First results
Si Photodiode
Averaged power on each photodiode: 4.4 mW
Peaks already measured in the photodiode dark noise
Noise floor at
Shot-noise limited?
PZT for the fast correction

## Slide 13
Shot-noise limited sensitivity
Si Photodiode
Sensitivity measurement as a function of optical power
Shot-noise limited if following a law
Increasing the optical power measured by each photodiode improves the sensitivity

## Slide 14
Best result with this experimental setup
Si Photodiode
Averaged power on each photodiode: 25 mW
Noise floor at
Sensitivity improved up to
But sensitivity and lock not stable in time due to thermal effects in the Si Photodiodes
Limitation on the averaged optical power to avoid thermal effects in the Si Photodiodes: 15 mW
Limitation on the sensitivity:

## Slide 15
Outline
Goal: Monitoring evolution of Parametric instabilities’ (PIs)
Experimental setup and first results
Improvements
Conclusion and Perspectives

## Slide 16
Si Photodiode
Improvements
Goal: Increasing the input optical power on the photodiode without degrading the sensitivity and the lock
Lock using Si Photodiodes at low optical power
2. Out-of-loop displacement measurements with InGaAs Photodiodes at higher optical power
New experimental setup
Balanced detection
InGaAs photodiodes
Si photodiodes

## Slide 17
First results on the out-of-loop path
Averaged power on each photodiode: 2 mW
Peaks already measured in the photodiode dark noise
Noise floor at
Shot-noise limited?

## Slide 18
First results on the out-of-loop path
Sensitivity measurement as a function of optical power
Sensitivity limited by the shot-noise for low optical power ()

## Slide 19
Best result on the out-of-loop path
Averaged power on each photodiode: 58 mW
Peaks already measured in the photodiode dark noise
Noise floor at - not limited by the shot-noise ()
Thermal peaks?

## Slide 20
Conclusion and perspectives
To conclude
Measurement sensitivity Improvement up to
What’s next?
Investigation on the peaks measured around 56 kHz
Reaching the shot-noise limit at high optical power
Medium term Perspectives
Characterization of the mechanical modes of a suspended mirror under vacuum
Monitoring of the full surface of the mirror

## Slide 21
Thank you for your attention

## Slide 22
Perspectives towards implementation on a GW detector
T. Harder et al. Optics Express Vol. 31, Issue 2, pp. 1486-1500 (2023)

## Slide 23
PIs observation and mitigation
USRP
RF-AMP
RF-AMP
vacuum
L
L
Servo-control
Electrostatic actuator
cavity