## Slide 1: Absolute radii measurements with muonic atoms: A heavyweight solution to a small problem
Michael Heines
Supervisor: Thomas Cocolios
On behalf of the muX and quartet collaborations

## Slide 2: Contents
Why do we need absolute charge radii?
Measuring charge radii with muons
Microgram targets
Experiments at PSI
Summary and outlook

## Slide 3: Contents
Why do we need absolute charge radii?
Measuring charge radii with muons
Microgram targets
Experiments at PSI
Summary and outlook

## Slide 4: Measurements of
[1] Koszorús, Á., et al. "Charge radii of exotic potassium isotopes challenge nuclear theory and the magic character of N= 32." Nature Physics 17.4 (2021): 439-443.
[2] Garcia Ruiz, R. , et al. "Unexpectedly large charge radii of neutron-rich calcium isotopes." Nature Physics 12.6 (2016): 594-598.
Notes: Koszorús, Á., et al. "Charge radii of exotic potassium isotopes challenge nuclear theory and the magic character of N= 32." Nature Physics 17.4 (2021): 439-443.
Garcia Ruiz, Ronald Fernando, et al. "Unexpectedly large charge radii of neutron-rich calcium isotopes." Nature Physics 12.6 (2016): 594-598.

## Slide 5: Benefit of absolute radii
Visualizing global trends
Isotone shifts
Mirror nuclei
Input for other studies
[1] Angeli, István, and Krassimira Petrova Marinova. "Table of experimental nuclear ground state charge radii: An update." Atomic Data and Nuclear Data Tables 99.1 (2013): 69-95.
[1]

## Slide 6: Mirror radii
32(Si, Ar)
7(Li, Be)
39(K, Ca)
37(Ar, K)
35(Cl, Ar)
37(Cl, Ca)
18(O, Ne)
36(S, Ca)
22(Ne, Mg)
34(S, Ar)
19(F, Ne)
38(Ar, Ca)
54(Fe, Ni)
23(Na, Mg)

## Slide 7: Radii for Vud
[1] Plattner, P., et al. "Nuclear Charge Radius of Al 26 m and Its Implication for V ud in the Quark Mixing Matrix." Physical Review Letters 131.22 (2023): 222502.
[1]
[1]
Many of the radii are deemed unreliable, how much could Vud shift?

## Slide 8: The lack of new absolute radii
Both methods faded out in the early ’90s
Data not available
Not all stables done
Reliable treatment of errors?
[1]
[1] Angeli, I. "Table of nuclear root mean square charge radii." (1999).

## Slide 9: The lack of new absolute radii
Both methods faded out in the early ’90s
Data not available
Not all stables done
Reliable treatment of errors???
[1]
[1] Ohayon, Ben. "Radii of Mirror Nuclei and Isobaric Triplets." arXiv preprint arXiv:2409.08193 (2024).
Many absolute radii should have > 2x uncertainty

## Slide 10: Contents
Why do we need absolute charge radii?
Measuring charge radii with muons
Microgram targets
Experiments at PSI
Summary and outlook

## Slide 11: Muonic atoms
Bohr model
Muons:
Effect:
  Enhanced binding energy
  Closer to the nucleus  More sensitive to nuclear effects
K

## Slide 12: Muonic atoms
K
Bohr model
Muons:
Effect:
  Enhanced binding energy
  Closer to the nucleus  More sensitive to nuclear effects

## Slide 13: Muonic atoms
µK
µ-
Bohr model
Muons:
Effect:
  Enhanced binding energy
  Closer to the nucleus  More sensitive to nuclear effects

## Slide 14: Muonic atoms
Bohr model
Muons:
Effect:
  Enhanced binding energy
  Closer to the nucleus  More sensitive to nuclear effects
µK
µ-
Muon n = 14 orbital is inside electron n = 1 orbital  electron correlation is negligible

## Slide 15: How sensitive are we?
Groundstate wavefunction has sizeable overlap with the nucleus
Sensitivity increase:
  Nuclear size:
  Quadrupole:
  Octupole:
[1] Skawran, Alexander. Development of a new method to perform muonic atom spectroscopy with microgram targets. Diss. ETH Zurich, 2021.
[1]

## Slide 16: Extracting radii
Finite size correction scales with
Calculate transition energy for many radii  Compare with experiment
Typical limitations:
  Nuclear polarization (theory)
  Nuclear shape (electron scattering)
  Energy calibration
Simple calculations with mudirac code [1]
[1] Sturniolo, Simone, and Adrian Hillier. "Mudirac: A Dirac equation solver for elemental analysis with muonic X‐rays." X‐Ray Spectrometry 50.3 (2021): 180-196.

## Slide 17: King plot
  : Mass shift factor
  : Field shift factor

## Slide 18: King plot
  : Mass shift factor
  : Field shift factor

## Slide 19: King plot
  : Mass shift factor
  : Field shift factor
No odd-Z element with 3 stable isotopes!

## Slide 20: King plot
  : Mass shift factor
  : Field shift factor
[1] Koszorús, Á., et al. "Charge radii of exotic potassium isotopes challenge nuclear theory and the magic character of N= 32." Nature Physics 17.4 (2021): 439-443.
[2] Garcia Ruiz, R. , et al. "Unexpectedly large charge radii of neutron-rich calcium isotopes." Nature Physics 12.6 (2016): 594-598.

## Slide 21: Contents
Why do we need absolute charge radii?
Measuring charge radii with muons
Microgram targets
Experiments at PSI
Summary and outlook

## Slide 22: Measuring microgram materials
Traditionally: Limited to target mass O(10-100 mg)
Hydrogen gas cell (100 bars; 0.25% deuterium)
  Limited to O(5 µg)
  Down to 20 year half-life (radioprotection)
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
D2
H2
H2
H2
Muon veto
Muon entrance
Target
[1] Bubak, M., & Fajman, M. P. (1987). Cross sections for hydrogen muonic atomic processes in two-level approximation of the adiabatic framework (No. JINR-E--4-87-464). Joint Inst. for Nuclear Research.
[2] Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.

## Slide 23: Measuring microgram materials
Traditionally: Limited to target mass O(10-100 mg)
Hydrogen gas cell (100 bars; 0.25% deuterium)
  Limited to O(5 µg)
  Down to 20 year half-life (radioprotection)
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
D2
H2
H2
H2
µ-
[1] Bubak, M., & Fajman, M. P. (1987). Cross sections for hydrogen muonic atomic processes in two-level approximation of the adiabatic framework (No. JINR-E--4-87-464). Joint Inst. for Nuclear Research.
[2] Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.

## Slide 24: Measuring microgram materials
Traditionally: Limited to target mass O(10-100 mg)
Hydrogen gas cell (100 bars; 0.25% deuterium)
  Limited to O(5 µg)
  Down to 20 year half-life (radioprotection)
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
H2
H2
µH
D2
[1] Bubak, M., & Fajman, M. P. (1987). Cross sections for hydrogen muonic atomic processes in two-level approximation of the adiabatic framework (No. JINR-E--4-87-464). Joint Inst. for Nuclear Research.
[2] Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.

## Slide 25: Measuring microgram materials
Traditionally: Limited to target mass O(10-100 mg)
Hydrogen gas cell (100 bars; 0.25% deuterium)
  Limited to O(5 µg)
  Down to 20 year half-life (radioprotection)
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
H2
H2
H2
µD
MFPµD >> MFPµH
[1] Bubak, M., & Fajman, M. P. (1987). Cross sections for hydrogen muonic atomic processes in two-level approximation of the adiabatic framework (No. JINR-E--4-87-464). Joint Inst. for Nuclear Research.
[2] Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.

## Slide 26: Measuring microgram materials
Traditionally: Limited to target mass O(10-100 mg)
Hydrogen gas cell (100 bars; 0.25% deuterium)
  Limited to O(5 µg)
  Down to 20 year half-life (radioprotection)
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
D2
H2
H2
H2
µZ
[1] Bubak, M., & Fajman, M. P. (1987). Cross sections for hydrogen muonic atomic processes in two-level approximation of the adiabatic framework (No. JINR-E--4-87-464). Joint Inst. for Nuclear Research.
[2] Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.

## Slide 27: Measuring microgram materials
Traditionally: Limited to target mass O(10-100 mg)
Hydrogen gas cell (100 bars; 0.25% deuterium)
  Limited to O(5 µg)
  Down to 20 year half-life (radioprotection)
H2
H2
D2
D2
H2
D2
H2
H2
H2
H2
H2
H2
H2
D2
H2
H2
H2
µZ
[1] Bubak, M., & Fajman, M. P. (1987). Cross sections for hydrogen muonic atomic processes in two-level approximation of the adiabatic framework (No. JINR-E--4-87-464). Joint Inst. for Nuclear Research.
[2] Adamczak, Andrzej, et al. "Muonic atom spectroscopy with microgram target material." The European Physical Journal A 59.2 (2023): 15.

## Slide 28: Contents
Why do we need absolute charge radii?
Measuring charge radii with muons
Microgram targets
Experiments at PSI
Summary and outlook

## Slide 29: PSI – High intensity proton accelerator facility (HIPA)

## Slide 30: Using germanium detectors

## Slide 31: Setup

## Slide 32: Setup
µ beam
Gas inlet

## Slide 33: Interpreting energy Vs time plots
110mAg

## Slide 34: Interpreting energy Vs time plots
110mAg

## Slide 35: Interpreting energy Vs time plots
39K np-1s

## Slide 36: Interpreting energy Vs time plots
110mAg
Muon capture

## Slide 37: Vud relevant cases
35, 37Cl:
  35Cl: Mirror nuclei of 35Ar (well-known)
  37Cl: Mirror nuclei of 37Ca(well-known)
  34Cl: 0+  0+  After laser spectroscopy
39, 40, 41K:
  38mK: 0+  0+
  37K: Mirror nuclei of 37Ar(well-known)
  39K: Mirror nuclei of 39Ca(well-known)  Will not improve much
28, 29, 30Si:
  26Si: 0+  0+
  32Si: Mirror nucleus of 32Ar (high isospin asymmetry)

## Slide 38: Mirror radii
32(Si, Ar)
7(Li, Be)
39(K, Ca)
37(Ar, K)
35(Cl, Ar)
37(Cl, Ca)
18(O, Ne)
36(S, Ca)
22(Ne, Mg)
34(S, Ar)
19(F, Ne)
38(Ar, Ca)
54(Fe, Ni)
23(Na, Mg)

## Slide 39: Chlorine measurement (preliminary)
Literature
Muonic 2p-1s energy:
  natCl: 578.56(30) keV
Expected improvement on 2p-1s transition energy:
  300 eV  < 30 eV
Expected improvement on radii:
  0.45%  ~0.10-0.15 % (including systematics)
Currently worst radius in the region by more than a factor 3

## Slide 40: Chlorine measurement (preliminary)
Literature
Muonic 2p-1s energy:
  natCl: 578.56(30) keV
Expected improvement on 2p-1s transition energy:
  300 eV  Most likely < 30 eV
Expected improvement on radii:
  0.45%  ~0.10-0.15 % (including systematics)

## Slide 41: Potassium muonic isotope shift (preliminary)
5 days
10 hours
10 hours
Ag-110m

## Slide 42: Potassium muonic isotope shift (preliminary)

## Slide 43: Fitted spectrum 39K 2p1s

## Slide 44: Fitted spectrum 35Cl 2p1s

## Slide 45: Using metallic magnetic calorimeters (MMC)

## Slide 46: MMC setup at PSI
Slide courtesy : Daniel Unger

## Slide 47: MMC setup at PSI
beam
dilution refrigerator
solid-state detectors
Slide courtesy : Daniel Unger

## Slide 48: Quartet collaboration
Charge radius for Z= 3-10
Slide courtesy : Daniel Unger

## Slide 49: Vud relevant cases
Mirror pairs:
  Some that are currently not used due to large uncertainty
  7Li - 7Be mirror pair: Very large isospin asymmetry!
10C, 14O: 0+  0+
20Ne: Daughter of 20F  Talk Prof. Oscar Naviliat-Cuncic

## Slide 50: Mirror radii
32(Si, Ar)
7(Li, Be)
39(K, Ca)
37(Ar, K)
35(Cl, Ar)
37(Cl, Ca)
18(O, Ne)
36(S, Ca)
22(Ne, Mg)
34(S, Ar)
19(F, Ne)
38(Ar, Ca)
54(Fe, Ni)
23(Na, Mg)

## Slide 51: High resolution detectors
preliminary
QUARTET Research Proposal
preliminary
Isotope shift of muonic 6Li and 7Li resolved !
Slide courtesy: Daniel Unger

## Slide 52: Summary and outlook
Absolute nuclear charge radii are needed for Vud
  Underestimated uncertainties
  No new measurements since ’90s
Our work:
  Try to relaunch the field
  Accurately estimate uncertainties
  Hopefully extract first new radii very soon

## Slide 53: Backup slides

## Slide 54: Primary goals
Remeasurement of 39, 41K (macroscopic target)
First measurement of 40K (microscopic implanted target)
a
First measurement of isotopically pure 35, 37Cl (macroscopic target)
q

## Slide 55: The spectra
39K
35Cl
Data for highest resolution detector!

## Slide 56: Extracting Barrett radii
Barret moment:
Barret radius:
  >
No nuclear shape sensitivity while keeping nuclear size sensitivity
From theory input calculate transition energy as function of Barrett radius
[1] Fricke, G., et al. "Nuclear ground state charge radii from electromagnetic interactions." Atomic Data and Nuclear Data Tables 60.2 (1995): 177-285.

## Slide 57: The sensitivity to the nuclear shape

## Slide 58: The sensitivity to the nuclear shape

## Slide 59: Converting Barrett radii to rms radii
Electron scattering / Nuclear theory 
Apply to extracted Barret radii
4.382 | 3.414 | 1.2836
4.397 | 3.427 | 1.2830
4.382 | 3.414 | 1.2836
4.397 | 3.427 | 1.2830