## Slide 1
(Prompt) Gamma Spectroscopy of Heavy and Superheavy Nuclei
Adam Maj, Piotr Bednarczyk and D.A.
COPIGAL mini workshop
Scientific Center of Polish Academy of Sciences in Paris
November 28th – 29th 2024
VAMOS + AGATA +
…
S3
+ PARIS
RFD?
+ ...
Dieter Ackermann
Caen, France
Paris, November 29th 2024
Outline
MNT to produce light n-rich actinides at the lower end of N = 152 (around uranium)
Gamma multiplicities and the CN spin distribution at S3
Decay Spectroscopy After Separation (DSAS) at S3
Activities employing the Recoil Filter Detector (RFD)

## Slide 2: Accepted proposal @ GANIL PAC 2017 - possibly scheduled in year 2021 (re-submittal …)
GANIL PAC Meeting November 29th/30th 2017
E766: Identification of exotic reaction channels in 238U+238U
D. Ackermann1, S. Heinz2, D. Boilley1, L. Caceres1, A. Chbihi1, E. Clement1, L. Corradi3, P. Delahaye1, H.M. Devaraja2, E. Fioretto3, G. De France1, M.O. Fregeau1, F. Galtarossa3, D. Hinde4, I. Itkis5, A. Karpov5, E. Kozulin5, G. Knyazheva5, A. Lemasson1, M. Lewitowicz1, G. Montagnoli3, K. Novikov5, I. Pchelintsev5, G. Pollarolo7, J. Piot1, M. Rejmund1, V. Saiko5, H. Savajols1, C. Simenel4, A.M. Stefanini3, Ch. Stodel1, S. Szilner8
1GANIL, Caen, France
2GSI, Darmstadt, Germany
3LNL, Legnaro (PD), Italy
4ANU, Canberra, Austalia
5FLNR/JINR, Dubna, Russia
7Università degli Studi di Torino, Torino, Italy
8Ruder Boskovic Institute, Zagreb, Croatia
246
14
1
0+
247
(5/2)
Am
Pu
246
6
?
245
23
(9/2-)
247
(5/2)
Z = 100
N = 152
closed neutrons
(sub)shells
protons
deformation
sphericity
new development:
coupling with
(existing) planar Ge
(LEPS) detectors
D. Ralet et al., Phys. Scr. 92, 054004 (2017)
- A/A = 1/500
isotope specific nuclear structure data
→ achieved for
lead isotopes
limit of
knowledge
since 1970s
→ accessible
now by deep-
inelastic
(n, p transfer)
AGATA at GANIL
VAMOS + AGATA

## Slide 3: Multi Nucleon Transfer as an alternative tool - n-rich very heavy and superheavy nuclei, RIB production
Science cases and applications
      neutron-rich nuclei
      region around N=126 south of 208Pb
      stellar nucleosynthesis
      region around N=152 n-rich actinides
      superheavy nuclei
      new target-ion source for GANIL future
      Radioactive Ion Beams (RIB) production
1 pb
V. Zagrebaev et al., EPJ Web of Conferences 86, 00066 (2015)
D. Ackermann and Ch. Theisen
Phys. Scr. 92 (2017) 083002 (83pp)
access to heavy
n-rich nuclei
via MNT
Installations at GANIL & LEGNARO
      VAMOS++ and second arm +EXOGAM
      (proposal Oct. 2024) 232Th(6 AMeV) +96Zr at GANIL)
      PRISMA + AGATA
      (LOI May 2024 136Xe+238U at 1GeV and 𝜽lab~50°)
VAMOS
A. Vogt, et al. PRC 92, 024619 (2015)
simulation of
heavy nuclei
production
PRISMA

## Slide 4: Deep in-elastic reactions in collision of 238U+238U at VAMOS+AGATA - experiment at VAMOS
State of the art for heavy and superheavy element (SHE) research
      discovery Z ≤ 118
      nuclear structure information Z ≤ 110
      accessible (sub)shells Z=100,108 / N=152
Scientific quest
      production and nuclear structure of neutron-rich actinides
      → approach: (multi) nucleon transfer
      → isotope specific -spectroscopy
Experimental quest
      world class mass resolution A/A = 1/250
      → upgraded VAMOS spectrometer
      high-Z identification by X-rays in-beam
      → planar Ge (LEPS) and AGATA
Envisaged results
      pioneering production and unprecedented
      isotope identification for 238U+238U
246
14
1
0+
247
(5/2)
Am
Pu
246
6
?
245
23
(9/2-)
247
(5/2)
Z = 100
N = 152
SHN
closed neutrons
(sub)shells
protons
deformation
sphericity
new development:
coupling with
(existing) planar Ge
GANIL-IPNO
D. Ralet et al., Phys. Scr. 92, 054004 (2017)
- A/A = 1/500
isotope specific nuclear structure data
→ achieved for
lead isotopes
limit of knowledge since 1970s
→ accessible now b deep-inelastic reactions (n, p transfer)
246
14
1
0+

## Slide 5
Multi Nucleon Transfer
- very heavy and superheavy nuclei
V. Zagrebaev et al., EPJ Web of Conferences 86, 00066 (2015)
1 pb

## Slide 6
Multi Nucleon Transfer
- 238U+238U @ VAMOS+AGATA+ID-fix (Ph.D. Ablaihan Utepov)
AGATA
VAMOS
ID-fix
offline Al-degrader measurement
target ladder
with Al-degrader
A- coindidences
(preliminary)

## Slide 7: Motivation and opportunities
VAMOS+AGATA and planar Ge-detectors: improved A resolution and Z sensitivity by X-rays
  n-rich light trans-actinides by (multi-nucleon) transfer in the region beyond 238U  basis for future spectroscopy at the lower end of N=152
  shell effects around 208Pb
  detection of n-rich fission fragments (add-on)
  production of SHN in deep-inelastic reaction (speculation)

## Slide 8: Neutron-rich actinides at the lower end of N=152 - 238U + 238U at PRISMA+AGATA at LNL
A.V. Afanasjev Phys. Scr. 89, (2017) 054001
B. Birkenbach et al.PRC 92
044319 (2015)
240U
136Xe + 238U – 2n transfer
T. Ishii et al., Phys. Atom. Nucl. 70 (2007) p. 1457
238U(18O,16O)240U and 244Pu, 248Cm

## Slide 9: Earlier measurement at AGATA+PRISMA at LNL - 236,238,240U structure features/X-rays for PID
A. Vogt et al., PRC 92, 024619 (2015)
PID by X-rays
B. Birkenbach et al., PRC 92 044319 (2015)
alignment, octupole vibrations vs. static (oct.) deformation
240U
D. Ackermann and Ch. Theisen, Phys. Scr. 92, 083002 (2017)
S.S. Hota et al.,
Phys. Lett. B 739,
13–8 (2014)

## Slide 10: 238U+238U @ AGATA+VAMOS/PRISMA - challenges and opportunities
shell effects
octupole deformation/vibration
alignment
…
necessary ingredients - development
  Z and A ID
    X-rays
    AA 250-350 (?)
  238U beam
shape co-existence?
A. Andreyev et al.
Nature
?
SHE
L. P. Gaffney et al.
Nature
186Pb
208Pb
H. Heyde and P Wood
Rev. Mod. Phys. 83, 1467 (2011)

## Slide 11: ANR NEUTRANS NEUtron rich TRAnsfer reactions for Nuclear Synthesis
B. Sulignano (CEA)
D. Ackermann (CEA –GANIL)
I. Stefan (IJC Lab)

## Slide 12: Preliminary simulation for GAS-CELL development
RIB production with NEWGAIN beams: NEW target-ion source/gas-cell concept using MNT reactions:
Technical challenge: exploit the full beam power and dissipate the full beam intensity in the target to efficiently explore all reaction channels simulations needed
GANIL Future Project - H. Franberg, S. Grévy
MNT
Nier-Bernas Ion Source
GAS-CELL

## Slide 13: RISKS (Competitors)
KISS II project @ RIKEN(not yet financed)
  1 500 000 000 Yen for the project
  10.223 million euros for a solenoid gas cell
Y. Watanabe
December 2022
courtesy of I. Stefan
N=126 factory @ ANL
  using large RF gas catcher technology developed for CARIBU
  magn. Separator (A/A 1/1000) + buncher + MRToF
https://www.anl.gov/phy/the-n126-factory

## Slide 14: Accepted proposal @ GANIL PAC 2017 - possibly scheduled in year 2021 (re-submittal …)
GANIL PAC Meeting November 27th/28th 2024
VAMOS + AGATA

## Slide 15
MNT proposal E896_24 @ GANIL PAC 2024 96Zr+232Th in inverse kinematics at 6 AMeV
GANIL PAC Meeting November 27th/28th 2024
VAMOS + EXOGAM
Study of the Heavy Fragment survival in Multi Nucleon Transfer reactions
Spokesperson Iulian Stefan,
Back-up Spokesperson Navin Alahari, Barbara Sulignano, D.A.

## Slide 16: Study of the giant dipole resonance in hot superheavy nuclei - from: M. Vandebrouck (A. Maj) AGATA@LNL 2019
monopole
(GMR)
dipole
(GDR)
quadrupole
(GQR)
Electric GR
T = 0
isoscalar
T = 1
isovectorial
Experiments in Grenoble performed
by the HECTOR collaboration
(Copenhagen, Krakow, Milano)

## Slide 17: Measurement of – fission coincidences - 40Ar (6.8, 10.5, 15 MeV/u) + 232Th  272Hs*
Difference between the two g spectra in coincidence with fission fragments
Bump in the range of the GDR energy predicted for the composite system (EGDR (A = 272) ≈ 12.2 MeV)
In addition:
Angular distribution. Measurement of the anisotropy W(0°)/W(90°). Compatible with dipole emission from a compact, slightly prolate shape
Lifetime estimate ≈ 2.5 × 10-20 s
– fission coincidences
T.S. Tveter et al. Phys. Rev. Lett. 76, 1035 (1996)
A. Maj et al. Acta Phys. Pol. B 26, 417 (1995)

## Slide 18: Perspectives - model predictions
E. Litvinova and H. Wibowo, Phys. Rev. Lett. 121, 082501 (2018)
The low-energy enhancement at high temperatures is quite generic. It is seen (in calculations) in Ca, Ni and Sn and in all E0, E1 and E2 channels.
Possibility to study low-energy component of the GDR with AGATA

## Slide 19: Perspectives - model predictions
EME1
EME1
EME1
EME1
EME1
EME1
E. Litvinova, P. Ring and V. Tselyaev
PRC 78, 014312 (2008)
E. Litvinova and P. Schuck
PRC 100, 064320 (2019)
Features of GDR as a functions of Z (and A)
(at 0 temperature)
  Energy <E> and width decrease with increasing Z
E. Litvinova
private communication

## Slide 20: possible setup: AGATA, PARIS, 2-arm PRISMA/VAMOS
37°
60°
MWPPAC
Ionization
chamber
MCP
Dipole
Quadrupole
Beam
Target
- 37°
PPAC
Bragg Chamber
(t, x, y)
t, X, Y
DE, Eres
(t, DTOF)
E, Z

## Slide 21: Gamma multiplicities with PARIS - studies of the entry distribution in the E*-plane

## Slide 22: Fusion barrier distribution – alternative approach - the CN spin distribution
from 1st derivative of the transfer function equivalent to
high spin part covers complete barrier distribution at one Eproj rather than many precise cross section measurements at small E
n-rich projectiles for isospin dependent fusion barrier investigations
...
instrumental requirements:
highly efficient (80% at E < 500 keV)  multiplicity array (e.g. GAMMASHPERE, PARIS, ...)
ER trigger
  not evaporation channel selective  only separator
  channel selective  e.g. Ge-detector (array) , AGATA, GAMMASPERE, GRETINA...)
separator  Epro  5 AMeV  EER  0.1-1 AMeV
  gas filled (TASCA, VAMOS, PRISMA)  B ≥ 2.5 Tm
  vacuum type
    v-filter (SHIP, LISE)
    mass spectrometer (FMA/RMS...)
  ...
 multiplicity filter + ER trigger
D. Ackermann et al., EPJ A 20 (2004) 151
πR2
𝓁
𝓁
T𝓁
Db
E'
E'
TE'
πR2

## Slide 23: Fusion barrier distribution – alternative approach - the CN spin distribution
from 1st derivative of the transfer function equivalent to
high spin part covers complete barrier distribution at one Eproj rather than many precise cross section measurements at small E
n-rich projectiles for isospin dependent fusion barrier investigations
...
instrumental requirements:
highly efficient (80% at E < 500 keV)  multiplicity array (e.g. GAMMASHPERE, PARIS, ...)
ER trigger
  not evaporation channel selective  only separator
  channel selective  e.g. Ge-detector (array) , AGATA, GAMMASPERE, GRETINA...)
separator  Epro  5 AMeV  EER  0.1-1 AMeV
  gas filled (TASCA, VAMOS, PRISMA)  B ≥ 2.5 Tm
  vacuum type
    v-filter (SHIP, LISE)
    mass spectrometer (FMA/RMS...)
  ...
 multiplicity filter + ER trigger
D. Ackermann et al., EPJ A 20 (2004) 151
πR2
𝓁
𝓁
T𝓁
Db
E'
E'
TE'
πR2

## Slide 24: Extraction of the barrier distribution for 64Ni+100Mo - analysis by Varinderjit Singh, Panjab University, India
Step wise transformation 𝓁 to Db
transmission function T(E‘) (T(𝓁))
barrier distribution
  covers large energy range E‘ for one Ebeam
  sensitive only for fusion-evaporation
  fission cut-off leads to truncation at low E‘ high 𝓁
πR2
𝓁
𝓁
T𝓁
Db
E'
E'
TE'
πR2
spin 𝓁  E‘
priliminary – analysis ongoing

## Slide 25
application for exotic nuclei - multiplicity array (e.g. PARIS) at S3’s intermediate focus
Convergent mode
6 charge states & no mass resolution
𝚫dp/p=20%,
𝚫𝝦=90mrad,
𝚫𝛗=140mrad)
100Sn transmissions 65% (10x10cm)
Achromatic point
Primary beam dump
Target position
Secondary beam dump
Final focal plane
  Versatile multistep separator
  Ion optics configuration: Q3DQ3Q3DQ3Q3EQ3Q3DQ3
  →
High beam intensity
  High power target: >> 1pµA (= 6.1012p/s)
High mass resolution mode
3 charge states & M/𝚫M = 505
𝚫dp/p=16%
𝚫𝝦=45mrad
𝚫𝛗=140mrad)
100Sn transmissions 40% (10x10cm)
Two basic modes of operation:
High transmission vs high mass resolution
Notes: New SPIRAL2 roadmap
SC 13 june & 23 octobre 2013
Recent decisions werre taken
For those who don’t know what SPIRAL2 is, Let me start by a brief description of the project. Here you have the layout of this facility which will be constructed in two phases. The first phase which is presently in construction is based …
Attached to this fisrt phase, two new experimental are also under construction : one dedicated to NFS and the other which will host the new S3 spectrometer, I will describe later.
The second phase which in the detail design phase, will concern the production building …. New DESIR facility recentky funded …
This facility will deliver in a near future, both high intensity stable beams and and intensity of radioactive beams.
Here you have the layout of the facility
SPIRAL2 est une priorite nationale tel que decrit dans la Feuille de route TGIR en France (rapport ministère 2012)
Incluses dans la liste ESFRI des grandes infrastructures européennes et NuPECC Road-map 2010 et
sections efficaces extrêmement faibles
• production majoritaire d’espèces indésirables
• très courte durée de vie des noyaux d’intérêt
DEUX installations complémentaires en EUROPE
Desir : (faisceaux radioactifs de basse énergie très loin de la stabilité).
Nouveau pour GANIL

## Slide 26
21 November 2024: First S3 commissioning milestone achieved, with snow ...
On your marks …
Get set …
Go!
First high-intensity beam at S3:
80 μAe
(5,7 pμA, 3.6x1013 pps, 1.14 kW)
M. Grasso (Journée projets IN2P3)
Courtesy Hervé Savajols

## Slide 27: SHE research at SPIRAL2 - short and long term
152
Eshell
Calc.: A. Sobiszewski
120
114
108
162
184
S3 pre-proposals (LINAG A/Q=3)
  basic nuclear properties (masses, ionization potential, quadrupole moments, radii ...)
  K-isomers
  single particle states
  new isotopes – limits of stability
  odd-Z nuclei
  reaction mechanism
  N=152, 162
LINAG A/Q=7
– access extended in A and Z
  SHE Synthesis
    fusion-evaporation
    Deep inelastic, MNT (238U+238U – approved proposal at GANIL)
  detailed and extended spectroscopy
  (see above)
1 particle A
= 6.2 x1012 particles/s
beam intensities [particle A]* | SPIRAL2 GANIL, Caen | 
 | LINAG A/q=3 | LINAG A/q=7 (project)
18O | 216 | 375
19F | 57 | 50
36Ar | 35 | 40
40Ar | 5.8 | 30
40Ca | 6 | 20
48Ca | 2.5 | 15
58Ni | 2.2 | 10
86Kr | 0 | 20
124Sn | 0 | 10
136Xe | 0 | 10
238U | 0 | 2.5

## Slide 28: Day 1 experiments – SIRIUS - update (S3 meeting in June 18th – 22nd 2018)
152
Eshell
Calc.: A. Sobiszewski
120
114
108
162
184
N° | Title | Spokesperson | Beam | UT | Comments
1 | Search for the end of stability of the nobelium isotopes (Isomeric state in 250No and identification of 249No) | A. Lopez-Martens (CSNSM) P. Greenless (U. JYFL) B. Sulignano (Irfu) | 48Ca | 81 | Isotope discovery. Study fission in SHE.
2 | Search for new isotopes: 252Rf (GS & Isomeric) | B. Sulignano (Irfu) J. Khuyagbaatar (GSI) Ch. Theisen (Irfu) | 50Ti | 81 | Isotope discovery.
3 | Detailed investigation of isomeric states in 254Rf | B. Sulignano (Irfu) J. Khuyagbaatar (GSI) Ch. Theisen (Irfu) | 50Ti | 18 | Flight length of S3 could be too long for the shortest lived isomeric state.
4 | Alpha-decay spectroscopy of odd-Z isotopes in fermium region | S. Antalic (U. Bratislava) D. Ackermann (GANIL) | 48Ti | 36 | Possible with the convergent mode
5 | Search for high-K isomeric states in 260Sg | D. Ackermann (GANIL) S. Antalic (U. Bratislava) | 54Cr | 63 | Possible with the convergent mode. Run at lower intensity in Dubna in 2019 If Beam energy & intensity available in Dubna.
Pre-proposals selection criteria:
high impact” (discovery & unique proposals for S3, e.g. “High-Resolution mode” (HRM))
feasibility.

## Slide 29: Search for high-K isomeric states in 260Sg - pre-proposal June 2018 (earlier data B. Sulignano/B. Streicher - Ph.D. Thesis)
Excitation function:
1n channel
 max(260Sg) = 0.65 nbarn
D. Ackermann1, S. Antalic2, B. Andel2, Z. Asfari3, L. Caceres1, P. Chowdhury4,
P. Delahaye1, O. Dorvaux3, A. Drouart5, B. Gall3, K. Hauschild6,
F.P. Heßberger7, J. Khuyagbaatar7,8, F.G. Kondev9, A. Korichi6, N. Lecesne1,
M. Lewitowicz1, A. Lopez-Martens6, A. Mistry7,8, P. Mošať2, C. Petrache6,
J. Piot1, H. Savajols1, D. Seweryniak9, Ch. Stodel1, B. Sulignano5, Ch. Theisen5,
M. Vandebrouck5, P.T. Greenlees10, J. Uusitalo10 and the Nuclear
Spectroscopy group of JYFL10
1 GANIL, CEA/DRF-CNRS/IN2P3, Caen, France
2 Comenius University in Bratislava, Bratislava, Slovakia
3 IPHC, Strasbourg, France
4 University of Massachusetts, Lowell, MA
5 Irfu, CEA, Université Paris-Saclay, Gif-sur-Yvette, France
6 CSNSM, Orsay, France
7 GSI, Darmstadt, Germany
8 Helmholtzinstitut Mainz, Mainz, Germany
9 ANL, Argonne, IL, U.S.A.
10 JYFL, Jyväskylä, Finland
spectrum
: E – time correlation
sf decay time

## Slide 30: Level systematics for Lr isotopes - S. Antalic et al. pre-proposal (talk on Tuesday, May 15th 2019)
Theory: A. Parkhomenko and A. Sobiczewski, APPB 35, 2447 (2004)
1/2-[521] and 7/2-[514] states stem from 2f5/2 and 2f7/2 defining possible the shell gap at Z=114. Both responsible for isomers in Lr isotopes.
Uncertain g.s. configuration for most of the Lr isotopes and completely missing data on excited levels. There are almost no new data available in last 10 years
F.P. Heßberger, EPJ Web of Conferences 131, 02005 (2016)

## Slide 31: Odd-Z isotopes at S3 - S. Antalic, D.A. et al. pre-proposal
247
(5/2)
246
14
1
0+
Ch. Theisen et al.,
Special Issue SHE of
Nuclear Physics A 944
(2015) p. 333-375
Am
Pu
246
6
?
245
23
(9/2-)
247
(5/2)
N = 152
Z = 100
245Md
Possible isomer in 245Md
ground-state configuration of 241Es (3/2-[521] vs. 7/2+[633])
Excitation energy E* of 7/2-[514] level in 241Es
Partial fission and -decay half-life
253Lr
Indification of 1/2-[521] isomers in 249Md and 253Lr
E* for isomers along 257Db  253Lr  249Md
Partial fission half-life
254Lr
Confirmation of an isomer in 250Md.
β-decay study of 254Lr and possible population of non-yrast states in 254No
255Db
Confirmation of 255Db
1/2-[521] isomers in 247Md and 251Lr.
E* of isomers along 257Db  253Lr  249Md
Partial fission half-life

## Slide 32: Solving the 244−245Md puzzle - ANL/ATLAS Exp. #2059 (Ph.D. Shayan Kumar)
J. L. Pore et al., Phys. Rev. Lett. 124, 252502 (2020)
V. Ninov et al., Z. f. Phys. A 356, 11 (1996)
J. Khuyagbaatar et al., Phys. Rev. Lett. 125, 142504 (2020)
J. Pore et al. at the BGS+FIONA of LBNL
discovery claim: new most n-deficient Md-isotope 244Md
contradiction to GSI date
earlier (SHIP) and recent (TASCA)
F.P. Heßberger
J. Pore
Khuyagbaatar
BGS
FIONA
(trochoidal)
mass spectrometer
Solution at ANL/ATLAS: simultaneous
mass measurement + decay spectroscopy
FMA + X-array

## Slide 33: Solving the 244−245Md puzzle - ANL/ATLAS Exp. #2059 (Ph.D. Shayan Kumar)
Experiment at the FMA May/June 2024
Preliminary results:
  247Md: decay from g.s. and isomer
  244,245Md: two decay energies
  x-section 0.1 nbarn
247Md
245Md
244Md?

## Slide 34
176Yb(30Si,xn) 200, 201Po
B. Rosse et al. , Int. J. Mod. Phys. E, 13 (2004), p. 47
Increased sensitivity to gamma radiation from fusion reactions (at low s) :
Selection of Evaporation Residues by TOF
Reduction of the overhelming fission background
Recoil Filter Detector for in beam gamma spectroscopy of heavy (SH) nuclei
Experience from EUROBALL (1999-2003)
184W(19F, xn) 196, 197Bi
EB+RFD
EB
A- Coulex, FF, etc.
B- ER

## Slide 35
238U(18O,4n)252Fm @90MeV
Fm X-rays
EUROBALL and RFD in 2001
252Fm: Graal of SH research
Search for excited states in „double magic” 252Fm
test experiment at EBIV and RFD (2001):
Significant reduction of the fission baskground
Indication of Fm X-rays !
Slow recoils (majority stopped in the RFD mylar foils ?)
U target imperfections
Typical reaction products distribution (simulation)
Generated by AI

## Slide 36: Recoil Filter Detector (RFD) at HIL UW Warsaw
RFD coupled to EAGLE array @ HIL
RFD @ GALILEO LNL
RFD modernization:
1) Scintillators, isolators, Mylar foils
2) New generation of PMT’s - Silicon PhotoMultipliers (SiPM)
higher segmentation and
higher counting rate capabilities
3) DAQ
Pulse Shape Discrimination using state-of-the-art digitizers
no hardware filtering
tigerless system, all data written on discs
reduced deadtime
4) Adaptation of the machanical structure, a reaction chamber, etc.
Attempt to perform in-beam gamma spectroscopy of SHE
SONATA BIS, NCN grant (M.Matejska-Minda et al.)

## Slide 37: Future prospects
RFD at Radioactive Ion Beams (SPIRAL2, SPES)
High energy and intensity of heavy RIB
Access to Heavy Nuclei (transactinides) at high spin
Needed:
Fission supression
Doppler correction (fast recoils v/c > 4% )
sresid = 150 mb
sresid = 70 mb
sfission = 75-95%
PACE4
Stable Beam
RIB

## Slide 38: Experimental approach at ANL – October 2021
C. N. Davids et al., Nucl. Instru. Meth. B 70, 358 (1992)
8.2 m
S. Paschalis et al., Nucl. Instru. Meth. A 709, 44 (2013)
(Gamma-Ray Energy Tracking In-beam Nuclear Array)
Fragment Mass Analyser at ANL
M/Q
Efficiency at 121 keV ~ 11 %
40x40 strips
4x4cm2
E. Donets et al., Soviet Journal of Nuclear Physics 2, 723 (1966).
measured using Radiochemical methods at JINR, Dubna
238U(18O, xn)256-xnFm
For 252Fm:
18O + 238U ➔ 252Fm + 4n
Target thickness: 182 μg/cm2
Beam intensity: 2-48 pnA
Beam energy 89 MeV
Duration: 10 days
Expected number of 252Fm nuclei in the DSSD assuming a Transmission of 1 % ~ 300
Courtesy Rikel Chakma, ANL (former postdoc at GANIL)

## Slide 39: Results from the 252Fm Experiment
𝛄-ray spectra observed in GRETINA
140
294
504
770
1092
1470
1904
4+
6+
8+
10+
12+
14+
16+
M. Asai et al, JAEA-Review 2016-025
alpha-decay
T1/2 = 2.9 s
0+
0
42
2+
256No
252Fm
Difficult to extract the 252Fm rotational band because of
Large background  Need better rejection
Low number of recoils at the focal plane  Need higher transmission
Courtesy Rikel Chakma, ANL (former postdoc at GANIL)

## Slide 40: Results from the 252Fm Experiment
Detected 11 counts of 252Fm full energy alpha decay
in 26.95 h
E𝛂 (keV)
K.-H. Schmidt’s method (97 % confidence)
K.-H. Schmidt, et al. Z Physik A 316, 19–26 (1984).
Will be feasible at S3 in GANIL, France, for example.
Better rejection ~ 100 x FMA
Transmission > 20 x FMA
Mass resolution ~ 1.4 x FMA
Courtesy Rikel Chakma, ANL (former postdoc at GANIL)
Literature (NNDC)

## Slide 41
238U(18O,4n)252Fm @90MeV
Fm X-rays
EUROBALL and RFD in 2001
252Fm: Graal of SH research
Search for excited states in „double magic” 252Fm
test experiment at EBIV and RFD (2001):
Significant reduction of the fission baskground
Indication of Fm X-rays !
Slow recoils (majority stopped in the RFD mylar foils ?)
U target imperfections
Typical reaction products distribution (simulation)
Generated by AI

## Slide 42
176Yb(30Si,xn) 200, 201Po
B. Rosse et al. , Int. J. Mod. Phys. E, 13 (2004), p. 47
Increased sensitivity to gamma radiation from fusion reactions (at low s) :
Selection of Evaporation Residues by TOF
Reduction of the overhelming fission background
Recoil Filter Detector for in beam gamma spectroscopy of heavy (SH) nuclei
Experience from EUROBALL (1999-2003)
184W(19F, xn) 196, 197Bi
EB+RFD
EB
A- Coulex, FF, etc.
B- ER

## Slide 43: Recoil Filter Detector (RFD) at HIL UW Warsaw
RFD coupled to EAGLE array @ HIL
RFD @ GALILEO LNL
RFD modernization:
1) Scintillators, isolators, Mylar foils
2) New generation of PMT’s - Silicon PhotoMultipliers (SiPM)
higher segmentation and
higher counting rate capabilities
3) DAQ
Pulse Shape Discrimination using state-of-the-art digitizers
no hardware filtering
tigerless system, all data written on discs
reduced deadtime
4) Adaptation of the machanical structure, a reaction chamber, etc.
Attempt to perform in-beam gamma spectroscopy of SHE
SONATA BIS, NCN grant (M.Matejska-Minda et al.)

## Slide 44: Future prospects
RFD at Radioactive Ion Beams (SPIRAL2, SPES)
High energy and intensity of heavy RIB
Access to Heavy Nuclei (transactinides) at high spin
Needed:
Fission supression
Doppler correction (fast recoils v/c > 4% )
sresid = 150 mb
sresid = 70 mb
sfission = 75-95%
PACE4
Stable Beam
RIB

## Slide 45: SPES RIB: fission on Ucx RIB production with NEWGAIN beams possible alternative RIB production scheme
90-92Rb
133,135I
Fission

## Slide 46: Experimental investigation of alternative parity bands in actinides
209Bi(12-14C, xn)217-220Ac
209Bi
12C
1980-1990
Beams : C, O, N
Targets: Pb, Bi
Max.Spin J~20h
14C
220Ac
s=+1
s=-1
Schultz 1992
Alternative parity bands
RIB COULEX
224Ra

## Slide 47: Alternative use of a symmetric reaction with a RIB
RIB: 90-92Rb at 109(7) pps
Target: 130Te
c
c
High spins ?

## Slide 48: Collaboration
Physics Division
SHE France international
D.A.
D. Boilley
L. Caceres
P. Delahaye
Q. Hourdille
N. Lecesne
M. Lewitowicz
J. Piot
H. Savajols
Ch. Stodel
A. Utepov
A. Drouart
B. Sulignano
Ch. Theisen
M. Vandebrouck
Th. Goigoux
Z. Favier
O. Dorvaux
B. Gall
Z. Asfari
M. Block
H.M. Devaraja
S. Heinz
F.P. Heßberger
S. Hofmann
I. Kojouharov
J. Maurer
A. Mistry
P.T. Greenlees
J. Uusitalo
et al.
A. Karpov A.G. Popeko
A.V. Yeremin
et al.
M. Block
J. Khuyagbaatar
A. Mistry
M. Laatiaoui
S. Raeder
et al.
D. Seweryniak
M. Carpenter
F.G. Kondev
T. Lauritsen
B. Andel
S. Antalic
P. Mošať
Univ.
Bratislava
Univ.
Jyväskylä
Dubna
Argonne
Darmstadt
Mainz
P. Van Duppen
et al.
K. Hauschild
A. Lopez-Martens
A. Korichi
Univ.
Leuven
A. Maj
P. Bednarczyk
et al.
Krakow
In conclusion:
These activities are a continuous effort of working group
- (Prompt) Gamma Spectroscopy of
Heavy and Superheavy Nuclei -
within COPIGAL
Adam Maj, Piotr Bednarczyk, D.A.
E. Litvinova
et al.
Kalamazoo
Notes: nuclear reaction dynamics
inelastic reactions (multi-)nucleon transfer reactions
Wylczynski plot
“proximity” potential
incomplete fusion
SHE synthesis

## Slide 49
Palais DE LA BOURSE, Bordeaux, Aquitaine - France
Low Energy Nuclear Dynamics: FUSION27
Bordeaux May 24th – 28th 2027
Fusion dynamics
Superheavy elements
Fission and quasi-fission dynamics
Transfer reactions and deep-inelastic collisions
Near-barrier collisions with weakly bound and unstable nuclei
Tunneling: deep sub-barrier fusion and spontaneous fission
Nuclear reactions relevant to astrophysics
Accelerators and instrumentation for reactions around the barrier
Theoretical developments in fusion and large amplitude collective motions
https://indico.in2p3.fr/event/34700/

## Slide 50: Results 2/2
T.S. Tveter et al. Phys. Rev. Lett. 76, 1035 (1996)
Difference between the two g spectra in coincidence with fission fragments
Bump in the range of the GDR energy predicted for the composite system (EGDR (A = 272) ≈ 12.2 MeV)
In addition:
Angular distribution. Measurement of the anisotropy W(0°)/W(90°). Compatible with dipole emission from a compact, slightly prolate shape
Estimation of the lifetime ≈ 2.5 × 10-20 s

## Slide 51: How can we go further?
T.S. Tveter, J.J. Gaardhoje, A. Maj et al.
Phys. Rev. Lett. 76, 1035 (1996)

## Slide 52: Results 1/2
Comparison with statistical model calculations for the fission fragments
Contribution of a pre-fission component seems to be needed
A. Maj et al. Acta Phys. Pol. B 26, 417 (1995)
g energy spectra measured in coincidence with fission fragments

## Slide 53: Experiment
T.S. Tveter et al. Phys. Rev. Lett. 76, 1035 (1996)
A. Maj et al. Acta Phys. Pol. B 26, 417 (1995)
Fusion-fission reaction
Beam: 40Ar 6.8, 10.5, 15 MeV/nucleon
Target: 232Th
What was measured?
- Fission fragments in PPAC
- Gamma from de-excitation of the composite system and of the fission fragments
Aim
Measurement of the g-rays coming from the de-excitation of the GDR populated in the composite system around 272Hs(Z=108)