## Slide 1: Liquid He tuning of dark matter axion haloscopes
EPS-HEP 2025 Marseille
T. Grenet, R. Ballou, P. Pugnat, P. Perrier, F. Gay, A. Talarmin
Adventurer on the sea, Paul Klee

## Slide 2: The haloscope in a nutshell
Axion : hypothetical particle to solve “strong CP” problem (1977)
Haloscope : search for axion as dark matter (Sikivie 1983)
Conversion : axion + magnetic field = EM wave and 100MHz100GHz (astro and cosmo) i.e. microwaves
Resonant signal enhancement in cavity (TM010 mode for maximal C factor)
Cryogenics + time averaging
W
For a typical cylindrical cavity haloscope
Standard Sikivie haloscope axion signal :
Expected axion signal
Thermal power
Collecting antenna
Spectrum analyser
preamplifier

## Slide 3: Need for volume
Area of theoretical interest for QCD axion
Excluded by a haloscope
High frequency => smaller radius => smaller volume => less signal power
Complex geometries needed to keep volume -> difficult mechanical tuning
Different approaches : Madmax, Alpha...
Scan speed

## Slide 4: Cavity tuning with liquid
Continuous tuning
No dead time : can be fast for broad exploration
At cryogenic temperature : liquid He
Questions :
δν(h) during filling ?
TM010 mode geometry ?
Liquid stability ?
Speed control ?
Height : 15 cm
Internal radius : 18 mm
TM010 frequency in vacuum : 6.38 GHz
Start with a standard cylinder cavity
He gas
He liquid
h

## Slide 5: Evolution of frequency while filling
ν(h) is not constant : need to adapt filling speed
≈ 130 MHz
Height : 15 cm
Internal radius : 18 mm
TM010 frequency in vacuum : 6.38 GHz
Order of magnitude
1 kHz ≡ 1µm
Black = simulation
Red = experiment

## Slide 6: TM010 geometry
Partial filling localizes electric field :
Effect on collecting antenna coupling β
Effect on form factor C
Filling hole at mode surface current node
Full
gHe or LHe
gHe
LHe
Collecting antenna
Filling
Filling
Reasonable effect on C
Broad range usable without adjusting antenna
Black = simulation
Red = experiment
Simulations with Comsol
Liquid surface

## Slide 7: Condensing LHe
Condense He in the cavity insert :
Insert contains gHe for thermal coupling with fridge bath
Add more gas so that (= 1 bar at 4.2 K) to condense.
Keep pressure with a driven gas flux
Prevent LHe in cavity from boiling :
Good thermal coupling with the bath thanks to He vapor
Good thermal isolation cavity/cane
Slight overpressure prevents boiling
Cryostat bath
LHe
gHe
P>Psat
Condensation on cold walls makes a thin continuous film

## Slide 8: Broad “fast” scan
Inject gHe from bottle : condensate in insert
Needle valve for precise flux control
He bath recovery
Sensitivity to perturbations of cryostat bath :
Change of pressure in recuperation lines
Evolution of LHe level of the bath
T
P
100 L safety vessel
gHe bottle 150 bar
T
P
Typical flux : 0.001 mol/min

## Slide 9: Speed and stability
Thin shape => no significant fast oscillations : resonance frequency stable during data acquisition
Reflexion on antenna port at critical coupling
Good speed control over time
Scan as fast as desired for broad exploration
Anything between 2 weeks and 1-hour complete filling
(NB : 1 kHz/min ≡ 1µm/min)

## Slide 10: Slow scans
Inject gHe from bottle : condensate in insert
Needle valve for precise flux control
He bath recovery
T
P
100 L safety vessel
gHe bottle 150 bar
T
P
T
T
Vacuum chamber
T
P
P
T
Vacuum gauge
Stop injection = stop scanning ?
Natural cryostat drift :
Small residual condensation
frequency drift (a few kHz/min)
Reversible process : filling / emptying
Pump to compensate bath effect and slowly fill cavity (condensation leads)
Pump to slowly empty cavity (pumping leads)
Gentle pumping : no ebullition
One-way valve
Pumping group

## Slide 11: “chi va piano, va sano”
Reversible filling / emptying allows back and forth motion keeping frequency in a 20 kHz window for a few hours
Stay stable : (cavity bandwidth, 250 kHz here)
Reminder : 1 kHz ≡ 1 µm
Integration time after multiple scans (focus on 200 kHz)
Equivalent drift 50 nm/min

## Slide 12: Resulting exclusion plot
GrAHal 2021
ORGAN-Q
This work

## Slide 13: Conclusion
Achieved at 4.2 K with a cylinder cavity :
Experimental data in agreement with cavity filling simulations (mode frequency and antenna coupling)
Constant frequency tuning speed achieved for ‘fast’ broad scans (dν/dt ≥ 10 kHz/min)
Slow back and forth in a small frequency window (≥ 20 kHz) allows higher sensitivity
What’s next ?
Cylinder cavity filling with superfluid in dilution (T < 100 mK)
Apply filling to high volume high frequency cavity designs

## Slide 14: Liquid He tuning of dark matter axion haloscopes
EPS-HEP 2025 Marseille
T. Grenet, R. Ballou, P. Pugnat, P. Perrier, F. Gay, A. Talarmin
Adventurer on the sea, Paul Klee
Thank you !

## Slide 15: Axion dark matter
Dark matter axion mass from astro and cosmo : 0.4 to 400 micro-eV
axions/cm3 at 20 micro-eV, BUT…
…BUT m at 20 micro-eV and 270 km/s
Thus, axion dark matter is WAVELIKE
Cold dark matter : and 1 GHz ≡ 4 µeV so 100 MHz < < 100 GHz
Number of photons/s => 1 < < 100 (order of magnitude)

## Slide 16: 4.2 K interest
Competitive with
 | Fridge | Amp noise | 
In dilution Near-SQL amp | < 100 mK | ≈ 1K at 7 GHz | ≈ 1 K at 7 GHz
In LHe vessel HEMT amp | 4.2 K | ≈ 3 K | ≈ 7 K
 | Fridge | Amp noise | 
In dilution Near-SQL amp | < 100 mK |  | ≈ 1 K at 7 GHz
In LHe vessel HEMT amp | 4.2 K | ≈ 3 K | ≈ 7 K