## Slide 1
2025.07.09
Juan Salvador Tafoya Vargas (UC Davis)
on behalf of the FORMOSA Collaboration
EPS-HEP 2025 Marseille
looking forward to millicharged particles at the LHC

## Slide 2: Searching for new physics
New physics searches limited by the design of existing general-purpose experiments
Take advantage of already-happening LHC collisions
  → forward region of e.g. ATLAS I.P. very rich in SM and potential new physics
Physics collisions already happening → no considerable additional operational cost
  → Initial investment needed for the construction of the facility in the forward region
  → Allows for design and installation of dedicated detectors

## Slide 3
No signs of new physics seen at the LHC (yet)
SM extensions that include dark (or hidden) sectors give very plausible hint
electron
dark electron
γ
photon
γ*
dark photon
strength: e
strength: e’ ≈ e
Natural strength (LO):
α/π ≈ 1/1000
U(1)
U(1)*
Photons and dark photons originate from different
gauge groups, but they can interact through kinetic mixing
Interaction with dark electrons is around
1/1000 as strong as the standard model
from naturalness arguments
New physics and dark matter → Hidden Valley

## Slide 4
Millicharged particles (mCPs) are well motivated in dark sector theories, but difficult to detect because the interaction strength is reduced by a factor .
Core concept: Use array of efficient long scintillator bars + PMTs to detect ionisation from mCPs.
Challenges:
Expect few scintillation photons to be produced → must be able to detect single scintillation photons
Well controlled backgrounds → signatures “point” at the interaction point, triggering on sets of signals within small time windows (~15 ns)
Millicharged particle searches at the LHC

## Slide 5
FPF
LHC
SPS
FORMOSA design
in FPF paper
Aimed at the ATLAS I.P., located in the very-forward region (η > 9)
Expect to see ~250x rate of millicharged particle detection in the forward region compared to the central one (i.e. milliQan, η ∼ 0)
20 rows x 20 cols x 4 layers of bars for detection
Shielded from most SM particles produced at the I.P. by ∼ 200m of rock
Shielded from LHC beam radiation by >10m of rock
Main background: collision muons → segmented muon veto panels
Nominal Beam Axis
FASER2
FASERnu2
FLArE
FORMOSA
See Akitaka Ariga’s FPF talk!
FORMOSA at the FPF

## Slide 6: Main background at FPF: I.P. muons
Muon background/radiation flux simulated and validated (CERN FLUKA team)
  expected muon flux within 1m of LOS
  affected by triplet magnets
  studing if flux can be reduced with sweeper magnet
See FPF’s input to ESPPU for more details
Important to understand DAQ strategy to take into account muon-induced activity
Large induced signals (such as those left by muons) can lead to a temporary ”increase” of the PMT’s dark rate, making triggering unreliable.
Lab bench studies suggest we can work around it by applying a small cooldown deadtime.

## Slide 7
A small-scale version of the full FORMOSA was installed during YETS2023-2024 to prove concept and target new phase space
2 rows x 2 columns x 4 layers of bars
front+back muon veto panels
Located in the UJ12 cavern (behind FASER), in the opposite side of the to-be FPF
Additional features added later:
CeBr3 test module
Hermetic side+top panels
~440cm
80cm
40cm
20cm
scintillator
PMT
80cm
The FORMOSA demonstrator

## Slide 8: The FORMOSA demonstrator
Proof of concept: collecting data and validating design/DAQs through Run 3
2024
2025
~440cm
80cm
40cm
20cm
scintillator
PMT
80cm
L.O.S.
Design evolving to test new technologies and adapt to UJ12’s environment
The FORMOSA demonstrator

## Slide 9
Muon rate through each “path” ~1/40ms
Dominant expected background in the forward region: afterpulses initiated by through-going muons
Lab study:
Can devote a ms of deadtime to cool down following a collision muon. But muons are frequent (~100Hz for demonstrator), so can’t wait too long
Absolute average dose due to proton loses at Q12 (simulation provided by FASER)
An additional challenge at demonstrator: Q12 beam background
(N.B. this background will NOT be present in the FPF)
FORMOSA
FASER
ATLAS I.P.
Q12
beam 1
beam 2
LHC
Large front+back muon veto panels
Side panels
Continuous work to tailor our DAQ to further mitigate background effects and enhance sensitivity to (true) signal signatures
Main backgrounds at the demonstrator

## Slide 10: Alignment validation
Checking the distribution of the “exit - entry” bar number of collision muon events
→ LHC collisional data confirms alignment!

## Slide 11: DAQ validation
Muons very effectively vetoed!
Signal triggers stably collecting data
Flexible DAQ allows us to efficiently veto muons and beam backgrounds to trigger signal without prescale!
Data from the 14th of June 2025

## Slide 12
Vast majority of the background events in this plot occur outside of the region we expect for mCP-like deposits (i.e. > 5 nPE)
Caveat: study done with an underestimated ability to veto muons → to improve after DAQ upgrade
1ms muon dead time
No muon veto
Run1448
Run1331
Preliminary set of selections
Each run corresponds to 1 fill
Background nPE spectra
This plot needs to be redone since stuff changed ever since

## Slide 13: Timing studies
Looking within orbital of a 12b fill with 8 colliding bunches
Muon arrival peak
Flat beam background
Looking between LHC clock-ticks
Enlarged for visual clarity

## Slide 14: Timing studies: probing the LHC’s fill scheme
We have excellent timing resolution!
Next step: to understand our trigger activity relative to the LHC’s bunch structure
Fill with 2460b

## Slide 15: Timing studies: probing the LHC’s fill scheme
We want to compare our trigger times since last orbital signal against the LHC’s fill scheme and I.P.1’s collision scheme.
A first study:
Track/move the position of all beam 1 and 2 bunches in their corresponding directions
Each bunch/collision contributes with Landau-distributed trigger activity
Place the demonstrator at 465m away from I.P.1

## Slide 16: Timing studies: probing the LHC’s fill scheme
Data
Fit
3 contributions (beam 1, beam 2 and I.P.1’s collisions) are enough to understand our trigger activity and position ourselves relative to the LHC’s orbital signal!
N.B. LHC collisions every 25ns while DAQ clock runs at 8ns!

## Slide 17: Timing studies: probing the LHC’s fill scheme
Extremely valuable information for signal/bakcground separation!
Data
Fit
Beam 1 contribution
Beam 2 contribution
Collision contribution
Zooming-in and drawing separate contributions hints origin of different signatures

## Slide 18: Muon veto studies
Fill with 2460b
N.B. LHC collisions every 25ns while DAQ clock runs at 8ns!
Crucial to determine when physics from collisions may be happening!

## Slide 19: Muon veto and afterpulsing
Study done for a single PMT suggests 1 ms of deadtime is enough
For ~100 Hz rate of muons, this corresponds to 10% deadtime
Data suggest 100 μs deadtime is enough for signal triggers to recover back to nominal/healthy rates! This corresponds to 1% deadtime
Special run with no muon deadtime
Signal triggers
4Layers
nLayers3
nBars3
2Layers (both)
Overall scaling still in progress

## Slide 20: FORMOSA: CeBr3 module
CeBr3
Incorporated CeBr3 module into demonstrator in Sept 2024
Investigate feasibility of FORMOSA subdetector made from CeBr3
  Factor ~35 larger light yield for same length compared to plastic, fast with low internal radioactivity
Considerable sensitivity gain possible! Studies ongoing using test module
ArgoNeuT
SENSEI
Earlier constraints
CMS

## Slide 21: FORMOSA demonstrator sensitivity
Hermetic rejection panels added in earlier this year: will attempt search with 2025 LHC data!
Expand demonstrator size for early HL-LHC if funding allows
4x4 FORMOSA demonstrator
(first year of run 4)
ArgoNeuT
Earlier constraints
SENSEI
CMS

## Slide 22
Members from 8 institutions and growing!
This speaker supported by funding from DOE Office of Science
The FORMOSA collaboration

## Slide 23
Demonstrator installed last year and taking data through 2024
DAQ (hardware and firmware) validated
  Alignment with L.O.S. to I.P. validated
  Verified we are measuring physics correlated to LHC activity
  Capable of identifying and vetoing online muons generated by I.P. collisions
  Intra-clock timing proving useful for understanding activity and backgrounds
Hermetic side and top panels installed to improve background understanding
CeBr3 test module installed to carry out extended studies
Demonstrator currently taking data stably!
Summary

## Slide 24: End

## Slide 25: Backup

## Slide 26
Why millicharged particles?
Standard motivation: Introduce new, hidden with a massless field A', a “dark photon” that couples to a massive “dark fermion” ψ’
has mass and charge under the new of
Gauge transformation of introduces coupling
Conclusion: Coupling arises between dark fermion and SM photon of charge . mCP parameters are entirely defined by their mass and charge
see e.g. arXiv:2104.07151v2 for more details
massless “dark photon”
“dark fermion” with mass , charge
mixing term

## Slide 27
One can consider a dark sector containing a massless abelian gauge field, A′, that couples to a new dark fermion, χ, with order one coupling, e′. A kinetic mixing, κ, can be introduced between the A′ and SM hypercharge B. Under a convenient basis, A′ is decoupled from the SM sector and the Lagrangian can be written as
In this case, the χ acts as a field with hypercharge κe′. The new fermion is generically called a millicharged particle since a natural value for κ, and therefore the χ effective electric charge, of ~αe/π ~10−3e arises from one-loop effects. The parameter space 1 < mχ < 100 GeV, an ideal mass range for production at the LHC, is largely unexplored by direct searches.
from arXiv:2104.07151v2

## Slide 28: FORMOSA at the FPF
  SM18
  SMA18
ATLAS I.P.1
LHC
L.O.S.
SPS
Shaft
Surface building
Cavern
Nominal Beam Axis
FASER2
FASERnu2
FLArE
FORMOSA
See Akitaka Ariga’s FPF talk!

## Slide 29: DAQ validation
Stable beams
Adjust
Squeeze
Ramp
Muons very effectively vetoed!
Signal triggers stably collecting data
Data from the 14th of June 2025

## Slide 30: Timing studies: probing the LHC’s fill scheme
Data
Fit
Beam 1 contribution
Beam 2 contribution
Collision contribution
Fit function: