## Slide 1
2025.07.11
Juan Salvador Tafoya Vargas (UC Davis)
on behalf of the milliQan Collaboration
EPS-HEP 2025 Marseille
Status of the MilliQan Experiment during Run 3

## Slide 2
No signs of new physics seen at the LHC (yet)
SM extensions that include dark (or hidden) sectors give very plausible hint
electron
dark electron
γ
photon
γ*
dark photon
strength: e
strength: e’ ≈ e
Natural strength (LO):
α/π ≈ 1/1000
U(1)
U(1)*
Photons and dark photons originate from different
gauge groups, but they can interact through kinetic mixing
Interaction with dark electrons is around
1/1000 as strong as the standard model
from naturalness arguments
New physics and dark matter → Hidden Valley

## Slide 3
Millicharged particles (mCPs) are well motivated in dark sector theories, but difficult to detect because the interaction strength is reduced by a factor .
A complementary LHC hidden/dark sector experiment proposed by Andy Haas and Chris Hill in 2014
Core concept: Use array of efficient long scintillator bars + PMTs to detect ionisation from mCPs.
Challenges:
Expect few scintillation photons to be produced
    → must be able to detect single scintillation photons
Well controlled backgrounds → signatures “point” at the interaction point, triggering on sets of signals within small time windows (~20 ns)
Millicharged particle searches at the LHC

## Slide 4: The milliQan experimental site
In a tunnel above CMS at CERN, off-axis from LHC
  2 detectors, in PX56 drainage gallery
  33m from CMS I.P. at an angle ,
  17m of rock - natural shielding from beam and I.P. subproducts
  70m underground - cosmic muon flux suppressed by a factor of ~100 (compared to surface)

## Slide 5: Run 3 bar & slab detector designs
Each has 4 radial “layers” of EJ200 scintillator oriented at CMS
  4x4 array of 60 x 5 x 5 cm “bars”
  Twelve 40 x 60 x 5 cm “slabs” equivalent to the coverage of ~1000 bars
  Coupled to Hamamatsu R878 PMTs (amplified to allow sPE sensitivity)
Bar detector has veto panels to provide active rejection of cosmic and beam muon deposits
DAQ uses CAEN V1743 digitizers readout by custom FPGA-based trigger board
Scintillator slab
Photomultiplier tube
To CMS I.P.
Scintillator panels
Structural

## Slide 6: Expected sensitivity for LHC Run 3
Incorporating lessons learned from Run 2 bar “demonstrator,” Run 3 design:
  Added 4th layer of scintillator bars
  Added FPGA-based trigger logic
  Added 2nd array
Run 3 detector is sensitive to significant region of unexplored parameter space
Phys. Rev. D 104, 032002
Charge limited region: very high mCP flux but low efficiency
(Bars)
Acceptance limited region: high efficiency but mCP flux is low
(Slabs)
Pending: 2nd array of what?

## Slide 7: Bar detector completed in spring 2023

## Slide 8: Slab detector completed in summer 2024
Smoothly taking data since October 2024
Fully commissioned now, will take physics-data remainder of 2025.

## Slide 9: Summary of timeline
milliQan proposal
(2014)
millliQan demonstrator paper
(2022)
Bar detector construction begins
(2022)
Slab detector commissioned
(July 2022)
Bar commissioned
(June 2023)
Run 3 projections paper
(June 2023)
milliQan demonstrator commissioned
(June 2018)
Collected data
(Dec 2024)
Bar detector search
(May 2025)
Showing first results today!

## Slide 10: Energy and timing calibrations
Correct for timing shifts due to differences in electronics/cable lengths with beam on/off data + cosmic muons
  Calibrate such that particles traveling straight through detector from I.P. have same time in all channels
Measure response of every scintillator+PMT module using source (22 keV X-ray)
Calibrate each channel in GEANT4 simulation to ensure accounts for differences in PMT quantum efficiency, bar wrapping, optical coupling, etc…
Timing validated
with beam and cosmic muons

## Slide 11: A fully calibrated GEANT simulation
Rock
Tunnel
Legend:
, , , ,
optical photon

## Slide 12: Run 3 search for mCPs, started in 2023
Detector and GEANT4 simulation fully calibrated with collected data
Bar detector collected 124.7 fb-1 of physics-quality data in 7800 h of operation
Web based DQM tools allow rapid response when issues arise
>95% data collection efficiency since 2024!
Carried out a first search for the mCPs with this dataset

## Slide 13: Validating simulation and alignment with muons
Measured muon rate in agreement with simulation: obserbed for expected
Fixing for 2025 running!
measured ~0.2º misalignment
Using paths of muons measure ~0.2º misalignment → correcion applied to MC (~12% impact on signal a efficienty)

## Slide 14: Main mCP backgrounds + mitigation
Veto events with single deposit per layer forming pointing path to I.P. if also have
deposits in side panels
Background: beam/cosmic muon + secondaries
Require 4 layer coincidence
(hit in each layer within 20 ns window)
Thermionic
emission
~ kHz rate
Background: PMT dark rate (random in time)

## Slide 15: Search in two orthogonal signal regions
SR1: lower charges
  Veto events with hits in front/back panels and saturating pulses deposited in any bar.
SR2: higher charges
  Require events to have ≥1 hits in front/back panel (but with < 70 nPE).
Q/e = 0.002
Q/e = 0.01
SR1
SR2

## Slide 16: Background prediction/validation: SR1
Background predicted using ABCD method inverting timing and pointing path requirements in “beam-on” dataset (data taken during LHC collisions).
Validate prediction method using beam-off dataset and “nearly pointing” control region (max deviation from straight-path of one bar/layer).
Beam-off SR1
Prediction: Observation:
Beam-on SR1 control region
Prediction:
Observation:
Q/e = 0.002

## Slide 17: SR1 search results
Prediction:
Observation:
Result:
Observation consistent with background expectation
No mCP signal :(
“No”
“Yes”

## Slide 18: Background prediction/validation: SR2
Dominant background for SR2 is from beam muons that shower through detector — can’t predict in beam-off dataset
Background predicted using ABCD method inverting front/back panel nPE and number of bar requirements
Validate prediction method using 5-6 bar hit control region
Beam-on SR2 control region
Prediction: Observation: 5
CR
Q/e = 0.01

## Slide 19: SR2 search results
Result:
Agreement within ~1.2σ
Prediction:
Observation:
No significant excess in SR1/SR2 … proceed to set limits

## Slide 20: Search results!
Results significantly extend constraints in charge/mass plane
World leading limits on mCPs with masses 0.5 - 25 GeV!
This despite only 40% of full Run 3 dataset analyzed (and only using data collected with bar detector)
Paper available at https://arxiv.org/abs/2506.02251 !

## Slide 21: Expectation for full Run 3
Adding 2025+2026 data gives significant guaranteed extension in reach with bar detector
  Addition of hermetic front panel will reduce background << 1 for SR2
Search already designed, will allow rapid top up
Slab detector is online for 2025 running will extend even further!

## Slide 22: Summary & Outlook
milliQan has searched for millicharged particles using 124.7 pp collision data at = 13.6 TeV collected by its bar detector in 2023-24
No candidate mCP events were observed and we have set world leading constrains on millicharged particles with masses 0.5 - 25 GeV.
We look forward to exploring the remainder of the significant accessible parameter space with the addition of 2025-26 Run 3 data that will include our slab detector
For more information and a general overview of the experiment, check out this short film about milliQan produced for the recent 2025 APS global physics summit:
https://www.youtube.com/watch?v=rFjgGTclM9E

## Slide 23
This speaker supported by funding from DOE Office of Science
The milliQan collaboration

## Slide 24: End

## Slide 25: Backup

## Slide 26
Why millicharged particles?
Standard motivation: Introduce new, hidden with a massless field A', a “dark photon” that couples to a massive “dark fermion” ψ’
has mass and charge under the new of
Gauge transformation of introduces coupling
Conclusion: Coupling arises between dark fermion and SM photon of charge . mCP parameters are entirely defined by their mass and charge
see e.g. arXiv:2104.07151v2 for more details
massless “dark photon”
“dark fermion” with mass , charge
mixing term

## Slide 27: Millicharged particle through detector
Legend:
, , , ,
optical photon
Rock
Tunnel

## Slide 28: Through going muons
Muons from CMS I.P. go through all 4 layers
Useful for alignment and calibration
Deposits large signal in bars and show-up in front+back panels
Rock
Tunnel
Legend:
, , , ,
optical photon

## Slide 29: Background from cosmic ray showers
With quad coincidence, random backgrounds are negligible
Dominant remaining background from cosmic ray showers
  Correlated hits between layers
Veto by thin scintillator panels surrounding detector
Rock
Tunnel
Legend:
, , , ,
optical photon

## Slide 30: Signal simulation
Signal simulation comprised of a wide range of DY/meson producction channels

## Slide 31: Muon event that initially leaked into SR1
Event displays clearly indicate the observed event is a muon that evaded veto
Due to 8 out of 80 channels saturating at lower than nominal energy (black circles)
  Energy deposited by a muon in such a channel thus below veto threshold (red line)
  Somewhat improbably, this turned out to be the case for 3/4 channels hit by the muon in this event!
Addressed by lowering the muon veto threshold for these channels and re-running analysis
NB: front/back panels not quite hermetic - will be fixed for 2025/2026 operation
For full transparency, we document this as a post-unblinding fix

## Slide 32: Cutflow for SR1 & SR2

## Slide 33: Trigger and DAQ
Uses new “trigger board” to trigger the detectors
PMT data input to CAEN digitizer
Digitizers send triggers from PMTs to trigger board
Trigger board logic determines if board should fire
Uses FPGA to program our trigger menu
PMT Pulse
Trigger Board
DAQ Computer
Trigger Information
Digitized Pulses
Global Trigger
Channel Triggers
CAEN Digitizer
Scintillator Bar
PMT base
PMT
=
+

## Slide 34: DAQ & Trigger Monitoring
Web-based interfaces/DBs to run & monitor the detector
  Stable continuous data taking since June 1st 2023

## Slide 35
One can consider a dark sector containing a massless abelian gauge field, A′, that couples to a new dark fermion, χ, with order one coupling, e′. A kinetic mixing, κ, can be introduced between the A′ and SM hypercharge B. Under a convenient basis, A′ is decoupled from the SM sector and the Lagrangian can be written as
In this case, the χ acts as a field with hypercharge κe′. The new fermion is generically called a millicharged particle since a natural value for κ, and therefore the χ effective electric charge, of ~αe/π ~10−3e arises from one-loop effects. The parameter space 1 < mχ < 100 GeV, an ideal mass range for production at the LHC, is largely unexplored by direct searches.
from arXiv:2104.07151v2