## Slide 1: PSD Data Analysis
ZnWO4 plate
ZnWO4 grains
CaWO4 grains
ZnWO4
Acquisition in a short time range (2.5us)
Acquisition in a long time range (100us)
+ + for ZnWO4
for CaWO4

## Slide 2
1. Offset correction (Voffset ~ 25-27 mV)

## Slide 3
2. Shift correction (toffset ~ 5.3us for the long range WF acquisition and 0.23us for the short range WF)
3. Exponential fit on each WF, slow and fast

## Slide 4
4. The mix the two waveforms
5. Exponential fit

## Slide 5
There is a ~2mV discrepancy between the two WF
4. The mix the two waveforms (with a scale factor for WF slow)
5. Exponential fit with 4 decay times

## Slide 6
ZnWO4 plate
Need a scale factor of x1.03

## Slide 7
ZnWO4 plate
1.2% (instead of 2%)
7.3% (instead of 9%)
91.3% (instead of 89%)
0.2%

## Slide 8
ZnWO4 grains
No need of scale factor

## Slide 9
ZnWO4 grains
No need of scale
1.2%
7.0%
91.3%
0.6%

## Slide 10
Plate |  | Grains | 
tau (us) | % | tau (us) | %
0,06634 | 0,21 | 0,0322 | 0,55
0,597 | 1,13 | 0,508 | 1,15
3,884 | 7,14 | 3,384 | 6,96
24,67 | 91,52 | 24,25 | 91,34
ZnWO4 plate vs grains

## Slide 11
CaWO4 grains
Need a scale factor of x0.99

## Slide 12
CaWO4 grains
Hard to fit the mixed WF

## Slide 13
CaWO4 grains
Hard to fit the mixed WF

## Slide 14
CaWO4 grains fast WF

## Slide 15
CaWO4 grains slow WF