## Slide 1
GRIT BEE
Granularity, Resolution, Identification, Transparency
D.Etasse@LPC Caen, CNRS/IN2P3

## Slide 2
GRIT BEE → Overview
PLAS
PLAS
PLAS
PLAS
FRONT END
PLAS
PLAS
CPLD
FRONT END
DAQ / SYNC
PROTOCOL
TIMESTAMP
PLAS
PROTOCOL
Back-End
Front-End
PCIe Gen4 128Gb/s
OPTIONAL
ETHERNET 1/25Gb/s
MANDATORY
SLOW CONTROL
DATABASE
MONITORING
SYNCHRO
VERSIONING
DATA PROCESSING
GPIO
Optical Fiber
AGATA-GRIT-VAMOS@2025-06-13 Caen, David Etasse

## Slide 3
GRIT BEE → Slow Control
Client WorkStation
Input/Output
Controller
Local Area Network
A simple EPICS control system can be composed of one or more IOCs
and Client WorkStations that communicate over a LAN
https://epics-controls.org/
SLOW CONTROL
DATABASE
MONITORING
SYNCHRO
ETHERNET 1/25Gb/s
PCIe Gen4 128Gb/s
Optical Fiber
VERSIONING
OPTIONAL
MANDATORY
DATA PROCESSING
AGATA-GRIT-VAMOS@2025-06-13 Caen, David Etasse

## Slide 4
GRIT BEE → Slow Control
SLOW CONTROL
DATABASE
MONITORING
SYNCHRO
ETHERNET 1/25Gb/s
PCIe Gen4 128Gb/s
Optical Fiber
VERSIONING
DATA PROCESSING
OPTIONAL
MANDATORY
EHS F4 05n
16 Channels
500 V
10 mA
neg
MPV 8060H
8 Channels
60 V
1 A
pos
CC24 Controller
Ethernet
Epics compatible
CHANNEL ACCESS
uTCA GRIT MODULE
VACUUM CONTROL
SYSTEM
AGATA-GRIT-VAMOS@2025-06-13 Caen, David Etasse

## Slide 5
GRIT BEE → Data Processing
GRIT BEE
SLOW CONTROL
DATABASE
MONITORING
SYNCHRO
ETHERNET 1/25Gb/s
PCIe Gen4 128Gb/s
Optical Fiber
VERSIONING
OPTIONAL
MANDATORY
DATA PROCESSING
User Algorithms
ML or Traditional Algorithms
→ LPC Caen or
other laboratories
Board Design, Firmware,
VHDL Algorithms, Synchronisation
→ 5 LPC Caen, 1 CDD SAGA, X years, FASTERv2 funding
Data acquisition and
synchronisation
FASTERv3
GRIT Daughter-board
SMART
Slow Control
SINAPSE
SImulateur Numérique pour l'Apprentissage Profond sur Système Embarqué
Digital SImulator for Deep Learning on Embedded Systems
→ 4 LPC Caen, 1 CDD SINAPSE, 2 years,
150K€
ML processing, Data exchange and storage
AGATA-GRIT-VAMOS@2025-06-13 Caen, David Etasse

## Slide 6
GRIT BEE → Monitoring
The following diagram shows an overview of the overall Prometheus system architecture.
SLOW CONTROL
DATABASE
MONITORING
SYNCHRO
ETHERNET 1/25Gb/s
PCIe Gen4 128Gb/s
Optical Fiber
VERSIONING
OPTIONAL
MANDATORY
DATA PROCESSING
AGATA-GRIT-VAMOS@2025-06-13 Caen, David Etasse

## Slide 7
GRIT BEE → Versioning/DATAbase
SLOW CONTROL
DATABASE
MONITORING
SYNCHRO
ETHERNET 1/25Gb/s
PCIe Gen4 128Gb/s
Optical Fiber
VERSIONING
Git for the versioning
Redis for the DATAbase
OPTIONAL
MANDATORY
DATA PROCESSING
4 x
CLK Signal
Ethernet 100 Mb
GPIO Signal
UTCA MODULE 1
RUNTIME DATAbase
DEVICE SUPPORT
DEVICE DRIVER
CA SERVER
EPICS
IOC
Hardware Control
Export
Import
Channel Access
Exporter
AGATA-GRIT-VAMOS@2025-06-13 Caen, David Etasse

## Slide 8
GRIT BEE → Synchro
MASTER_A10 Box
FASTERV2/SMART bridge
2 timestamps in a FASTERv2 UDP frame
Test of WHITE Rabbit
SLOW CONTROL
DATABASE
MONITORING
SYNCHRO
ETHERNET 1/25Gb/s
PCIe Gen4 128Gb/s
Optical Fiber
VERSIONING
OPTIONAL
MANDATORY
FASTERv3
uTCA FASTERv2/WR bridge
utCA FASTERv2/SMART bridge
For other uTCA boards in a FASTERV3 system → Either a SMART or a WR End Point
DATA PROCESSING
AGATA-GRIT-VAMOS@2025-06-13 Caen, David Etasse

## Slide 9
GRIT BEE → Synchro → GPIO Signal
SLOW CONTROL
DATABASE
MONITORING
SYNCHRO
ETHERNET 1/25Gb/s
PCIe Gen4 128Gb/s
Optical Fiber
VERSIONING
GPIO → General-Purpose Input-Output Signal
If DAQ is not running (Output Signal)
CS → Common Start
TU → Update timestamp registers in CPLD front end boards
PP → Ping Pong (Cable Measurement length, Output/Input)
If DAQ is running (Input signal)
TRIG → Trigger signal from all PLAS devices of the front end boards
GPIO
OPTIONAL
MANDATORY
DATA PROCESSING
GRIT BEE → Synchro
AGATA-GRIT-VAMOS@2025-06-13 Caen, David Etasse

## Slide 10
GRIT BEE → Synchro → GRIT Daughter-Board
SLOW CONTROL
DATABASE
MONITORING
SYNCHRO
ETHERNET 1/25Gb/s
PCIe Gen4 128Gb/s
Optical Fiber
VERSIONING
CLK Signal
Ethernet 100 Mb
GPIO Signal
CLK Signal
Ethernet 100 Mb
GPIO Signal
CLK Signal
Ethernet 100 Mb
GPIO Signal
CLK Signal
Ethernet 100 Mb
GPIO Signal
SMART
(Optical fiber)
FROM ADJACENT MODULE
TO ADJACENT MODULE OR
AGATA DAQ
OPTIONAL
MANDATORY
DATA PROCESSING
RJ45
RJ45
RJ45
RJ45
POWER
DP83822
Ethernet
PHY
DP83822
Ethernet
PHY
DP83822
Ethernet
PHY
ANALOG
MULTIPEXER
OR
OUT
BUFFERS
DP83822
Ethernet
PHY
GPIO/CLK
BUFFERS
GPIO/CLK
BUFFERS
OR
IN
AGATA-GRIT-VAMOS@2025-06-13 Caen, David Etasse

## Slide 11
GRIT BEE → Standalone VS AGATA-GRIT- VAMOS mode
SLOW CONTROL
DATABASE
MONITORING
SYNCHRO
ETHERNET 1/25Gb/s
PCIe Gen4 128Gb/s
Optical Fiber
VERSIONING
OPTIONAL
MANDATORY
DATA PROCESSING
AGATA-GRIT-VAMOS@2025-06-13 Caen, David Etasse

## Slide 12
MERGER DATA 100%
EPICS IOC
Exporter(s)
EPICS IOC
Exporter(s)
EPICS IOC
Exporter(s)
EPICS IOC
Exporter(s)
EPICS IOC
Exporter(s)
EPICS IOC
Exporter(s)
4 x
CLK Signal
Ethernet 100 Mb
GPIO Signal
4 x
CLK Signal
Ethernet 100 Mb
GPIO Signal
4 x
CLK Signal
Ethernet 100 Mb
GPIO Signal
4 x
CLK Signal
Ethernet 100 Mb
GPIO Signal
4 x
CLK Signal
Ethernet 100 Mb
GPIO Signal
CLK Signal
Ethernet 100 Mb
GPIO Signal
2 x
2 x
GPIO5
GPIO5 Monitoring
GPIO4
GPIO4 Monitoring
GPIO3
GPIO3 Monitoring
GPIO2
GPIO2 Monitoring
GPIO1
GPIO1 Monitoring
GPIO6
GPIO6 Monitoring
UTCA MODULE 4
UTCA MODULE 1
UTCA MODULE 2
UTCA MODULE 3
UTCA MODULE 5
UTCA MODULE 6
ETH
1/25Gb/s
GRIT SERVER
WHITE RABBIT (Optical fiber)
25Gbe/s
ONLINE DATA ≤100%
(Merger, oscillo, single) …
GPIO 1-6
PPS
1-6
PPS (NIM)
GRIT BEE → Standalone mode
Data Processing → ML, Algorithm,
Software Trigger/Merger, etc.)
 | Module | CRATE
Mandatory | 1/10Gbe | 2x 1/25Gbe
Eth (Opt1) | 40Gbe | 2x 100Gbe
PCIe (Opt2) | 64Gb/s | 2x 128Gb/s
AGATA-GRIT-VAMOS@2025-06-13 Caen, David Etasse

## Slide 13
OPTIONAL
MANDATORY
Command SSH
(Ethernet)
SMART (Optical fiber)
Grafana Query
(Ethernet)
HISTOGRAM
(Ethernet)
Command SSH
(Ethernet)
MERGER DATA 100%
(Ethernet)
EPICS IOC
Exporter(s)
EPICS IOC
Exporter(s)
EPICS IOC
Exporter(s)
EPICS IOC
Exporter(s)
EPICS IOC
Exporter(s)
EPICS IOC
Exporter(s)
Trigger (NIM)
GPIO 1-6
UTCA MODULE 4
UTCA MODULE 1
UTCA MODULE 2
UTCA MODULE 3
UTCA MODULE 5
UTCA MODULE 6
4 x
CLK Signal
Ethernet 100 Mb
GPIO Signal
4 x
CLK Signal
Ethernet 100 Mb
GPIO Signal
4 x
CLK Signal
Ethernet 100 Mb
GPIO Signal
4 x
CLK Signal
Ethernet 100 Mb
GPIO Signal
4 x
CLK Signal
Ethernet 100 Mb
GPIO Signal
CLK Signal
Ethernet 100 Mb
GPIO Signal
2 x
2 x
GPIO5
GPIO5 Monitoring
GPIO4
GPIO4 Monitoring
GPIO3
GPIO3 Monitoring
GPIO2
GPIO2 Monitoring
GPIO1
GPIO1 Monitoring
GPIO6
GPIO6 Monitoring
ETH
1/25Gb/s
CLOCK NETWORK
GRIT SERVER
Data Processing → ML, Algorithm,
Software Trigger/Merger, etc.)
25Gb/s
Smart.sh(s)
Smart.sh(s)
Smart.sh(s)
Smart.sh(s)
Smart.sh(s)
Smart.sh(s)
GRIT BEE → AGATA-GRIT-VAMOS mode
MASTER
DAQ
Daq_Start.sh
Daq_Stop.sh
AGATA-GRIT-VAMOS@2025-06-13 Caen, David Etasse

## Slide 14
GRIT BEE → Calendar
GRIT BEE
SLOW CONTROL
DATABASE
MONITORING
SYNCHRO
ETHERNET 1/25Gb/s
PCIe Gen4 128Gb/s
Optical Fiber
VERSIONING
OPTIONAL
MANDATORY
DATA PROCESSING
SINAPSE
SImulateur Numérique pour l'Apprentissage Profond sur Système Embarqué
Digital SImulator for Deep Learning on Embedded Systems
Board Design, Firmware,
VHDL Algorithms, Synchronisation
→ 4 LPC Caen, 1 CDD SINAPSE, 2 years,
150K€
→ 5 LPC Caen, 1 CDD, X years, FASTERv2 funding
Data acquisition and
synchronisation
AI processing, Data exchange and storage
User Algorithms
AI or Traditional Algorithms
→ LPC Caen or
other laboratories
FASTERv3
GRIT Daughter-board
SMART
Slow Control
2023 …
2026..
2026
2027
2025 → 2027
2023 → ~2030
AGATA-GRIT-VAMOS@2025-06-13 Caen, David Etasse

## Slide 15
GRIT BEE
SLOW CONTROL
DATABASE
MONITORING
SYNCHRO
ETHERNET 1/25Gb/s
PCIe Gen4 128Gb/s
Optical Fiber
VERSIONING
OPTIONAL
MANDATORY
DATA PROCESSING
Thank you
for your attention
AGATA-GRIT-VAMOS@2025-06-13 Caen, David Etasse