## Slide 1
MASS MEASUREMENTS:
RECENT ACHIEVEMENTS AND PERSPECTIVES
Pauline Ascher – RESANET Meeting – 3-7 November 2025
Context of mass spectrometry
Recent highlights
  Neutron-rich isotopes in the Zr-Rh region
  Neutron-rich Co isotopes in the region of N=40
Future
  PIPERADE developments
  Perspectives of mass measurements

## Slide 2
MASS SPECTROMETRY
NUCLEAR STRUCTURE
NUCLEAR ASTROPHYSICS
Pauline Ascher – RESANET Meeting – 3-7 November 2025
WEAK INTERACTION STUDIES
See talk of M. Versteegen on Thursday
Trends of « mass filters » (Sn, S2n D3n, …)
Spectrocopic information with isomers
Example: rp process (X-ray bursts)
Isotope & energy production, timescale, all depend on Q-values
Test of CVC hypothesis and determination of Vud
ft-values depend on Q-values

## Slide 3
rapidity
ToF-Br
STORAGE RINGS
MR-ToF MS
PENNING TRAP
M/DM
meas. time
dM/M
104
105
few 105
105 – 107
(PI-ICR)
~10-5
~10-6
~10-7
< 10-8
< 1 ms
~100 ms
~10 ms
100 ms - 1 s
COMPLEMENTARY MS TECHNIQUES
Pauline Ascher – RESANET Meeting – 3-7 November 2025
Low-energy RIB facilities  best is to have both MR-ToF and PT due to complementarity (case by case) but also the possiblity to combine them
PTMS is the only technique suited to ft-values measurements (dm/m < 10-8)
Highest resolution means highest accuracy when there are isomeric states !  PTMS
resolution
precision
All of them are highly sensitive techniques !

## Slide 4
LEBIT (MSU)
TITAN (TRIUMF)
CPT (ANL)
HIGH-PRECISION MS MARKET
7 PTMS worldwide
Pauline Ascher – RESANET Meeting – 3-7 November 2025
ISOLTRAP (CERN)
SHIPTRAP (GSI)
JYFLTRAP (IGISOL)
TRIGATRAP (IKC)

## Slide 5
HIGH-PRECISION MS MARKET
MR-ToF
MR-ToF
MR-ToF
MR-ToF
7 PTMS worldwide
MR-ToF developed in many places, and more to come….
Pauline Ascher – RESANET Meeting – 3-7 November 2025
MR-ToF
MR-ToF
LEBIT (MSU)
TITAN (TRIUMF)
CPT (ANL)
ISOLTRAP (CERN)
SHIPTRAP (GSI)
JYFLTRAP (IGISOL)
TRIGATRAP (IKC)
MR-ToF
MR-ToF
MR-ToF (FRS)

## Slide 6
ISOLTRAP (CERN)
SHIPTRAP (GSI)
JYFLTRAP (IGISOL)
TRIGATRAP (IKC)
HIGH-PRECISION MS MARKET
MR-ToF
MR-ToF
MR-ToF
MR-ToF
MR-ToF
7 PTMS worldwide
MR-ToF developed in many places, and more to come….
A new player in MS: France ! with 4 devices to come
MR-ToF (FRS)
PIPERADE/DESIR
PILGRIM/S3-LEB
MLLTRAP/ALTO
MR-ToF/DESIR
Pauline Ascher – RESANET Meeting – 3-7 November 2025
MR-ToF
MR-ToF
MR-ToF
LEBIT (MSU)
TITAN (TRIUMF)
CPT (ANL)

## Slide 7
Pauline Ascher – RESANET Meeting – 3-7 November 2025
RECENT « FRENCH » HIGHLIGHTS
Y-Rh region
M. Hukkanen et al., PRC 107, 014306 (2023)
M. Hukkanen et al., PRC 108, 064315 (2023)
M. Hukkanen et al., PLB 856, 138916 (2024)
68-70Co
M. Flayol et al., in preparation
79mZn
L. Nies et al., PRL 131, 222503 (2023)
96-98Kr
D. Lunney et al., PRC 112, 034307 (2025)
103Sn, 99-101In,97,98Cd
L. Nies et al., PRC 111, 014315 (2025)
L. Nies et al., PRL 131, 022502 (2023)
M. Benhatchi, in preparation
ISOLTRAP @ISOLDE/CERN
(D. Lunney, S. Naimi, M. Benhatchi, V. Manea)
49Ar
M. Benhatchi, in preparation
JYFLTRAP @IGISOL
(P. Ascher, S. Grévy, M. Gerbaux)
TITAN @TRIUMF
(D. Lunney)
31-33Na, 31-35Mg
E. M. Lkiardopoulou et al., PRL 134, 052503 (2025)
+ Collaborations with theoreticians from CEA (T. Duguet, J.-P. Ebran, …)
IPHC (F. Nowacki, K. Sieja, D.D. Dao)
IP2I (M. Bender)

## Slide 8
Binding energy differences axial-triaxial
REGION OF N-RICH Y-Rh
Region of triaxiality  BSKG predictions
Poorly known in terms of masses
  From Y to Rh: refractory elements  non accessible at standard isol facilities
  Many isomers  only ToF-ICR measurements
  Some nuclei not produced by fission (low-spin states)
Pauline Ascher – RESANET Meeting – 3-7 November 2025
G. Scamps et al., EPJ A 48, 46 (2021)

## Slide 9
IGISOL FACILITY – JYFL ACCELERATOR LABORATORY
JYFLTRAP
Pauline Ascher – RESANET Meeting – 3-7 November 2025

## Slide 10
PI-ICR
(Phase-Imaging Ion–Cyclotron-Resonance)
JYFLTRAP DOUBLE PENNING TRAP
Mass-selective buffer-gas cooling
ToF-ICR
(Time-of-Flight Ion–Cyclotron-Resonance)
Position-sensitive MCP
PURIFICATION TRAP
MEASUREMENT TRAP
Recentering frequency (Hz)
MCP counts
A = 112
Pauline Ascher – RESANET Meeting – 3-7 November 2025
xd
yd
reduced cyclotron
magnetron
center
B measured via nc of a well-known mass

## Slide 11
15 ground-state masses and 8 isomeric states were measured (two one-week beam times)
Masses of 113,113mRu, 115,115mRu, 110,110mRh, 112,112mRh, 114,114mRh, 116,116mRh, 118,118mRh, 104Y, 106Zr, 104,104mNb,, 111Mo measured with PI-ICR
   Isomer excitation energies
  Accurate ground-state masses (previous ToF-ICR measurements from Hager et al.: mixture of states)
Masses of 117Ru, 120Rh, 109Nb, 112Mo measured with ToF-ICR
MASS MEASUREMENTS AT JYFLTRAP
M. Hukkanen et al., PRC 107, 014306 (2023)
JYFLTRAP ToF-ICR 2007
Pauline Ascher – RESANET Meeting – 3-7 November 2025

## Slide 12
THE CASE OF 112Rh
  Proton-induced fission at 25 MeV mainly produces the isomeric state
  Ground state was produced by in-trap decay of 112Ru
  Half-life measurements of both states with a Si detector downstream
   assignment of states
  Also a few low-spin states events in fission (30 keV excitation energy
IN-TRAP DECAY – ASSISTED PTMS
Let the ions beta-decaying in the first trap (waiting time)
Capture the daughter ions (2+ charge state)
Send to MT for PI-ICR measurement (factor of 2 in precision due to charge state)
 Allow to produce states or elements not produced
Pauline Ascher – RESANET Meeting – 3-7 November 2025
In-trap decay assisted PTMS also used for 104, 104mNb (in-trap decay of 104Zr)  10 keV excitation energy !

## Slide 13
Collaboration with W. Ryssens (ULB) and M. Bender (IP2I)
  BSKG1: non-axial shapes (axial symmetry breaking) and odd-odd calculations
Comparisons experimental results with calculations
  Importance of triaxiality in Rh et Ru
  Tentative interpretation of isomers
  Tentative reproduction of Zr isotopic chain
  D3n: defficiency to reproduce odd-odd masses
   W. Ryssens et al, J. Phys.: Conf. Ser. 2586 012097 (2023)
  …
COMPARISON WITH BSKG CALCULATIONS
Pauline Ascher – RESANET Meeting – 3-7 November 2025
M. Hukkanen et al., PRC 107, 014306 (2023)
M. Hukkanen et al., PRC 108, 064315 (2023)
M. Hukkanen et al., PLB 856, 138916 (2024)
112Rh
Rh
Ru
Zr
106Zr

## Slide 14
Pauline Ascher – RESANET Meeting – 3-7 November 2025
RECENT « FRENCH » HIGHLIGHTS
Y-Rh region
M. Hukkanen et al., PRC 107, 014306 (2023)
M. Hukkanen et al., PRC 108, 064315 (2023)
M. Hukkanen et al., PLB 856, 138916 (2024)
68-70Co
M. Flayol et al., in preparation
79mZn
L. Nies et al., PRL 131, 222503 (2023)
96-98Kr
D. Lunney et al., PRC 112, 034307 (2025)
103Sn, 99-101In,97,98Cd
L. Nies et al., PRC 111, 014315 (2025)
L. Nies et al., PRL 131, 022502 (2023)
M. Benhatchi, in preparation
ISOLTRAP @ISOLDE/CERN
(D. Lunney, S. Naimi, M. Benhatchi, V. Manea)
49Ar
M. Benhatchi, in preparation
JYFLTRAP @IGISOL
(P. Ascher, S. Grévy, M. Gerbaux)
TITAN @TRIUMF
(D. Lunney)
31-33Na, 31-35Mg
E. M. Lkiardopoulou et al., PRL 134, 052503 (2025)
+ Collaborations with theoreticians from CEA (T. Duguet, J.-P. Ebran, …)
IPHC (F. Nowacki, K. Sieja, D.D. Dao)
IP2I (M. Bender)

## Slide 15
N=40 REGION
g9/2
N=40
Z=28
f7/2
« normal configuration »
« intruder configuration »
p
n
28
f7/2
40
g9/2
50
p1/2
f5/2
p3/2
Pauline Ascher – RESANET Meeting – 3-7 November 2025
Previous PT measurements
  2018 LEBIT  68,69Co
  Izzo et al., PRC97 014309 (2018)
  2020 JYFL  69,69m, 70Co
  Canete et al., PRC 101 041304 (2020)
Lead to different trends
Isomer in 68,70Co measured ? Gs masses of 68,70Co unknown ?
L. Canete et al, PRC 101, 041304(R) (2020)

## Slide 16
RESULTS: MASSES and STATE ASSIGNMENT
AME2020
Pauline Ascher – RESANET Meeting – 3-7 November 2025
ME - ME(AME20) (keV)
69Co
m
m
m
g.s.
g.s.
g.s.
68Co
(7-)
(2-)
E* = 79.5(2) keV
200(20) ms
1.6(3) s
70Co
(1+)
(7-)
508(7) ms
113(7) ms
E* = 268.4(50) keV
PI-ICR allows individual state counting !
( half-life assignments)
g.s.
m
Tacc = 113 ms
Y
m
g.s.
Tacc = 35 ms
Isomeric and ground states in 68,69,70Co separated and BE individually measured
Clarified S2N trend
Isomers exc. energy in 68,70Co measured for the first time
State assignment with PI-ICR counting
This work
LEBIT
JYFL 2020
Y
70Co+
68Co+
AME

## Slide 17
LARGE-SCALE SHELL-MODEL CALCULATIONS
Final rms of 170 keV with 3-body term
Final rms of 513 keV with only 2-body term
LNPS Interaction, PRC 82 054301 (2010)
F. Nowacki and D. D. Dao
Nickel isotopes
Final rms of 207 keV with 3-body term
Final rms of 893keV with only 2-body term
Work in progress, aim is to fit Ni, Co, Fe together
Pauline Ascher – RESANET Meeting – 3-7 November 2025
Phenomenological correction on master term of Duflo/Zucker mass formula Duflo, Zucker, PRC 52, R23 (1995)
 Using only a 2-body term H2N or a 3-body term H3N

## Slide 18
LSSM CALCULATIONS
F. Nowacki, D. D. Dao
LNPS interaction
Overall good agreement between experiment and theory
Inversion of intruder and « normal » configuration from N=43 and ½- state is predicted to increase again for 71Co
Northern border of IOI: transitional regime between Ni and Fe
Number of ph excitations
Ground state
Isomeric state
Pauline Ascher – RESANET Meeting – 3-7 November 2025

## Slide 19
MASS MEASUREMENTS:
RECENT ACHIEVEMENTS AND PERSPECTIVES
Pauline Ascher – RESANET Meeting – 3-7 November 2025
Context of mass spectrometry
Recent highlights
  Neutron-rich isotopes in the Zr-Rh region
  Neutron-rich Co isotopes in the region of N=40
Future
  PIPERADE developments
  Perspectives of mass measurements

## Slide 20
PIPERADE @DESIR and @LP2iB
Pauline Ascher – RESANET Meeting – 3-7 November 2025
selectivity
rapidity
HRS
MR-ToF MS
Penning Trap
~10-20 ms
few 10 µs
100 ms – 1 s
~2.104
few 105
105 - 107
M/DM
time
PIPERADE for mass spectrometry but also for mass purification
 Only PT installed at the entrance of a low-energy facility
MR-ToF

## Slide 21
PIPERADE
Pauline Ascher – RESANET Meeting – 3-7 November 2025
DESIR building delivered a few days ago !
 Transfer HRS/GPIB/PIPERADE in about 1 year
HRS
GPIB
PIPERADE @DESIR and @LP2iB

## Slide 22
PIPERADE
P. Ascher et al., NIM A 1019, 165857 (2021)
Designed and machined at MPIK Heidelberg
Purification trap
Measurement trap
Extraction optics
Injection optics
From
GPIB
MCP
Counting
ToF
Position
Diaphragm
Pauline Ascher – RESANET Meeting – 3-7 November 2025

## Slide 23
Purification Trap (PT)
Measurement Trap (MT)
Helium buffer-gas cooling
Separate ions of interest from the contaminants
 Resolving power R
nrf – 2745648 (Hz)
Pauline Ascher – RESANET Meeting – 3-7 November 2025
PIPERADE double Penning trap

## Slide 24
PIPERADE double Penning trap
High-precision mass measurements
   Determine
    Time-of-Flight Ion-Cyclotron-Resonance (ToF-ICR)
    Phase-Imaging Ion-Cyclotron-Resonance (PI-ICR)
High-resolution separation
(phase-dependent cleaning, dipole cleaning)
Ion stacking
Helium buffer-gas cooling
Separate ions of interest from the contaminants
Purification Trap (PT)
Measurement Trap (MT)
Pauline Ascher – RESANET Meeting – 3-7 November 2025
Measurement Trap

## Slide 25
Results in agreement with AME and reproducible
Relative mass precision ~ 2.10-9
Studies of field imperfections (E-field anharmonicities, B-field inhomogeneities/fluctuations, ….)
TOF-ICR MEASUREMENTS
Pauline Ascher – RESANET Meeting – 3-7 November 2025

## Slide 26
PI-ICR at PIPERADE
initial conditions
magnetron damping
n+ excitation & conversion
ac
tacc = 100 ms
Pauline Ascher – RESANET Meeting – 3-7 November 2025
angle measurement

## Slide 27
PI-ICR MEASUREMENTS
vs with 100 ms of accumulation time
Mass excess – AME [keV]
Time
07/08/2025
Relative mass precision ~ 2.10-9, but systematics still to investigate, deviations of a few 10-9
Studies of field imperfections ongoing
Impact of the image distortion on the relative mass precision
Issues with long accumulation times…. in progress
Pauline Ascher – RESANET Meeting – 3-7 November 2025
Iris diaphragm for phase-dependent cleaning
(trap-assisted spectro)

## Slide 28
PERSPECTIVES FOR MS
Pauline Ascher – RESANET Meeting – 3-7 November 2025
data from AME2020

## Slide 29
PERSPECTIVES FOR MS AT GANIL
Pauline Ascher – RESANET Meeting – 3-7 November 2025
data from AME2020

## Slide 30
PERSPECTIVES FOR MS AT GANIL (AND ALTO)
SP1 fragmentation: few interesting cases (Cl, P, O, F, …)
SP1 TULIP: region around 100Sn
(beam tests Spring 2026) and 74Rb
S3-LEB: refractory Zr-Rh, 100Sn region, heavier n-deficient nuclei and SHN
(Fission fragments would be great…)
Pauline Ascher – RESANET Meeting – 3-7 November 2025
CALL FOR LOI@DESIR
WS MARCH 16-20 AT GANIL
shell evolution
IMME
Wigner energy
rp-process
+ trap-assisted spectroscopy
Ideas welcome !
SHN
p-emitters
ft-values
cluster radioactivity
shell evolution
N=16, 20, 28, 32
n-rich Ag at ALTO (day-one)
p-drip line

## Slide 31
JYFL
T. Eronen, Z. Ge, M. Hukkanen, A. Jaries, A. Kankainen, I. D. Moore, M. Mougeot, M. Stryjczyk, J. Ruotsalainen, V. Virtanen
Pauline Ascher – RESANET Meeting – 3-7 November 2025
THEORY
D. D. Dao and F. Nowacki (IPHC)
M. Bender (IP2I) and W. Ryssens (ULB)
LP2iB PIPERADE / GPIB / DESIR
P. Alfaurt, P. Ascher, D. Atanasov, B. Blank, L. Daudin, M. Flayol, M. Gerbaux, S. Grévy, G. Guignard, M. Hukkanen, A. Husson, B. Lachacinski, S. Lechner, E. Rey-herme, M. Roche, A. de Roubin, C. Roumegou
THANK YOU FOR YOUR ATTENTION !
Mathieu Flayol
Marjut Hukkanen

## Slide 32
DETRAP Workshop 2025 – Pauline Ascher LP2iB
B-field linear drift
Linear drift is compensated by a superconducting shield coil (down to 5.10-8/hour)
 warm active coil (about +30 nA/sec)
First measurements via NMR probe
Δ𝜈c ~ 38 Hz
Warm compensating coil reduces the field drift by two orders of magnitude allowing longer measurements
Compensation limited to 20 days
T0
T0+ 20 days
without warm coil
with warm coil

## Slide 33
Time / min
𝛥T = 28
𝛥T = 56
39K
DETRAP Workshop 2025 – Pauline Ascher LP2iB
B-field fluctuations
3.1e-11 min-1  Already OK for many cases
To be done again with new data and later with PI-ICR
T & p stabilization at DESIR will improve a lot the situation
There are also non-linear fluctuations due to environmental instabilities
M. Flayol, PhD Thesis (2024)
Notes: Shiptrap 2e-10/min sans stab et avec stab 1e-12/min
Jyfltrap 2e-12/min sans stab

## Slide 34
E-field anharmonicities
DETRAP Workshop 2025 – Pauline Ascher LP2iB
ME1
MC1
MR
MC2
ME2
E-Field anharmonicities lead to frequency shifts
These shifts depend on the motion amplitudes
Two correction electrodes to tune the trap harmonicity
( axial motion amplitude Rz)
OV
OV
-8OV
Trap closure time (µs)

## Slide 35
Interface for PIPERADE Analysis (IPA)
Software dedicated to ToF-ICR and PI-ICR fitting and mass determination
DETRAP Workshop 2025 – Pauline Ascher LP2iB
E. Rey-herme & G. Guignard

## Slide 36
Python Trap Scanner for DESIR (PTSD)
Scan all EPICS variables
Control trapping sequence
Signal acquisition
Position reconstruction
Data gating and fitting
End goal : Adaptable to any DESIR detector type
DETRAP Workshop 2025 – Pauline Ascher LP2iB
D. Atanasov, M. Flayol, G. Guignard, E. Rey-herme, C. Roumegou

## Slide 37
Mass measurement techniques
PI-ICR
ToF-ICR
Reduced cyclotron
Magnetron
Center
- n
M. Flayol, PhD Thesis (2024)
Notes: -> ToF-ICR : see a resonance around nu_c (value in the center) -> find m with this equation -> with multiple ToF-ICR measurement -> mass plot (longer excitation time give smaller error bar) -> we routinely use it
-> PI-ICR: this method use position of 3 spot : center {reduced cyclotron and magnetron} which constitute the cyclotron motion in the traps -> extract the angle between the two -> obtain nu_c with this equation -> same as ToF-ICR after that multiple Pi-ICR -> mass plot -> need more development for the moment
-> both need systematics studies -> I will add a little more explanation on the ToF-ICR analysis

## Slide 38
Ideal magnetron star template
Optimized extraction
Position on the detector
K. Ronxin, M1 Internship (2025)
SIMULATIONS EXTRACTION PI-ICR
Pauline Ascher – RESANET Meeting – 3-7 November 2025

## Slide 40
69Co MASS EXCESS
Izzo et al.
2018
69Co
m
E* = 148.3(76) keV
Precision on E* improved by a factor >10
Canete et al.
2020
AME2020
This work
ME - ME(AME20) (keV)
m
m
g.s.
g.s.
g.s.
Pauline Ascher – RESANET Meeting – 3-7 November 2025

## Slide 41
68Co AND 70Co MASS EXCESSES
 CLARIFIED SCENARIO !
Izzo et al.
Canete et al.
AME2020
This work
AME2020
This work
m
m
g.s.
g.s.
g.s.
g.s.
m
m
ME - ME(AME20) (keV)
Pauline Ascher – RESANET Meeting – 3-7 November 2025

## Slide 42
Reference
Reference
Reference
Reference
0
1h
Time
Precision for mos of the cases in this work  few 10-8
PI-ICR MASS MEASUREMENT
xd
yd
reduced cyclotron
magnétron
center
Ion of Interest
Ion of Interest
Ion of Interest
Pauline Ascher – RESANET Meeting – 3-7 November 2025

## Slide 43
68Co AND 70Co STATE ASSIGNMENT
68Co
(7-)
(2-)
E* = 79.5(2) keV
200(20) ms
1.6(3) s
70Co
(1+)
(7-)
508(7) ms
113(7) ms
E* = 268.4(50) keV
PI-ICR allows individual state counting !
 long-lived low-spin state corresponds to the ground state
 short-lived high-spin state corresponds to the ground state
Pauline Ascher – RESANET Meeting – 3-7 November 2025

## Slide 44
PERSPECTIVES FOR MS AT GANIL
Pauline Ascher – RESANET Meeting – 3-7 November 2025