## Slide 1: GISELE laboratory at GANIL
Andres Felipe Lopez
04/04/2025

## Slide 2
Outline
GISELE Setup.
Characterization of the laser systems.
Results on Dy.

## Slide 3: S3-LEB
Broad-linewidth few GHz
Narrow-linewidth tens MHz
Pulsed 10 kHz
Tunable
Gas Cell
Broadband Spectroscopy
Gas-jet
Narrowband Spectroscopy
Laser 1
Laser 2
Collision broadening
Doppler effect
Power broadening
ρ ↘︎ T ↘
Notes: Maybe add the broadening effects

## Slide 4: Elements of interest 1st experiment S3LEB
Extensively studied

## Slide 5
GISELE

## Slide 6: Single etalon broadband cavities
BIBO

## Slide 7: Single etalon broadband cavities
1st Step 2nd Step

## Slide 8: Characterization Broadband cavity
Broadband Cavity linewidth
FPI
Constructive interference

## Slide 9: Characterization Broadband cavity
Broadband scanning routine
GHz

## Slide 10: Narrowband Injection-locked Ti:Sa cavity
Mainz design

## Slide 11: Narrowband Injection-locked Ti:Sa cavity
Will be replaced by
the CW-cavity
Mainz design

## Slide 12: Injection-locked Ti:Sa cavity
Wavemeter readout
Injection-locked laser
Seeding Diode laser

## Slide 13: Characterization
Narrowband linewidth
Diode linewidth
Preliminary

## Slide 14: ABU – Atomic Beam Unit

## Slide 15: ABU – Atomic Beam Unit

## Slide 16: Off-line test on stable Dy

## Slide 17: Broadband ionization on Dy
Isotope | Abundance
164 | 28.26 %
163 | 24.89 %
162 | 25.48 %
161 | 18.89 %
160 | 2.33 %
158 | 0.095 %
156 | 0.056 %
Preliminary
ToF Spectrum

## Slide 18: Narrowband spectroscopy on Dy
 | 1560.36 counts
 | 127.52 W
 | 1560.36 counts
Preliminary

## Slide 19: Narrowband spectroscopy on Dy
Preliminary
ToF Spectrum
Narrowband Scan
[MHz]

## Slide 20: Narrowband spectroscopy on Dy
Preliminary
Narrowband Scan
Narrowband Scan
[MHz]
[MHz]

## Slide 21: Isotope shift on Dy
Preliminary
Transition | [MHz] | [MHz]
421.291 nm (prev. Work 2013) | 913.2(8) | 1895(2)
421.291 nm (this work) | 906.8(7) | 1893(2)
Transition |  | 
421.291 nm (prev. Work 2013) | 913.2(8) | 1895(2)
421.291 nm (this work) | 906.8(7) | 1893(2)
[MHz]

## Slide 22: Conclusions and Perspectives
After a complete restructuration of the lab, GISELE offline laboratory is again fully operational.
The first test on stable Dy was succesfully carried out at GISELE.
Future studies on Gd and Ho will be performed as paving the route of S3LEB experiments.
New laser room at S3LEB will be commissioned in the following months.

## Slide 23: Thank you!

## Slide 24: Narrowband spectroscopy on Dy
Preliminary

## Slide 27: Laser Spectroscopy for Nuclear Structure put it S3LEB Gas cell, what you can do and a list of what you need, tunable laser, high power-pulsed, broadband, narrowband