## Slide 1
ISOL France 2025
Emile Cantacuzène
April 2025
News from ALTO-LEB experiments
Under the supervision of David Verney
IJCLab – Nuclear pole - Team FIIRST
3rd year PhD

## Slide 2
Outline
I. Structure above the neutron threshold at ALTO
II. Experiment : TETRA2023
III. Experiment : MONSTER2025
a. Experimental setup
b. New method for beta-delayed neutron spectroscopy
c. Beta-delayed two-neutron emission of
a. The ALTO facility
b. Beta-delayed neutron emission : state of the art
a. Experimental setup and challenges
b. Preliminary analysis

## Slide 3
1
I. Structure above the neutron threshold at ALTO
The ALTO facility
ALTO Low Energy Branch : An ISOL facility

## Slide 4
1
- Electron linear accelerator
- 50 MeV energy
- 10 μA current
ALTO Low Energy Branch : An ISOL facility
The ALTO facility
I. Structure above the neutron threshold at ALTO

## Slide 5
1
I. Structure above the neutron threshold at ALTO
- Electron linear accelerator
- 50 MeV energy
- 10 μA current
- Thick UCx target
- Photofission
- Heated up to 2000 °C
No contribution in neutron deficient isotopes
ALTO Low Energy Branch : An ISOL facility
The ALTO facility

## Slide 6
1
I. Structure above the neutron threshold at ALTO
- Electron linear accelerator
- 50 MeV energy
- 10 μA current
- Thick UCx target
- Photofission
- Heated up to 2000 °C
- Laser ionization
- Selection in Z
ALTO Low Energy Branch : An ISOL facility
The ALTO facility

## Slide 7
1
I. Structure above the neutron threshold at ALTO
- Electron linear accelerator
- 50 MeV energy
- 10 μA current
- Thick UCx target
- Photofission
- Heated up to 2000 °C
- Laser ionization
- Selection in Z
- Mass separation
- Selection in A
ALTO Low Energy Branch : An ISOL facility
The ALTO facility

## Slide 8
- Electron linear accelerator
- 50 MeV energy
- 10 μA current
- Thick UCx target
- Photofission
- Heated up to 2000 °C
- Laser ionization
- Selection in Z
- Mass separation
- Selection in A
1
I. Structure above the neutron threshold at ALTO
- Beta-decay stations
- Conversion electrons (COeCO)
- Gamma spectroscopy (BEDO)
- Neutron emission (TETRA)
ALTO Low Energy Branch : An ISOL facility
The ALTO facility
2 last experiments (Nov 2023, Feb 2025) : Bringin neutron energy aspect at ALTO!

## Slide 9
: Probability for the daughter nucleus to emit at least one neutron after the beta decay
: Available energy for neutrons
Beta-delayed neutron emission : state of the art
General overview
: Probability for the daughter nucleus to emit at least one neutron after the beta decay
: Available energy for neutrons
Fission fragments produced at ALTO
(measured in 2006 with hot ion plasma source)
Cf. Roberts et al. (1939)
2
I. Structure above the neutron threshold at ALTO

## Slide 10
Outline
I. Structure above the neutron threshold at ALTO
II. Experiment : TETRA2023
III. Experiment : MONSTER2025
a. Experimental setup
b. New method for beta-delayed neutron spectroscopy
c. Beta-delayed two-neutron emission of
a. The ALTO facility
b. Beta-delayed neutron emission : state of the art
a. Experimental setup and challenges
b. Preliminary analysis

## Slide 11
3
II. Experiment : TETRA2023
Cf. Testov et al. Nuclear Instruments and Methods in Physics Research A 815 (2016)
Experimental setup
A neutron long-counter setup
Collection – Decay cycles

## Slide 12
3
II. Experiment : TETRA2023
Cf. Testov et al. Nuclear Instruments and Methods in Physics Research A 815 (2016)
Experimental setup
A neutron long-counter setup
Collection – Decay cycles
4π-β plastic scintillator
Detection of β-electrons
Around 70% efficiency

## Slide 13
3
II. Experiment : TETRA2023
Cf. Testov et al. Nuclear Instruments and Methods in Physics Research A 815 (2016)
Experimental setup
A neutron long-counter setup
Collection – Decay cycles
4π-β plastic scintillator
HPGe detector
Detection of β-electrons
Around 70% efficiency
Detection of γ rays
0.66% efficiency @ 964.1 keV

## Slide 14
3
II. Experiment : TETRA2023
Cf. Testov et al. Nuclear Instruments and Methods in Physics Research A 815 (2016)
Experimental setup
A neutron long-counter setup
Collection – Decay cycles
4π-β plastic scintillator
HPGe detector
Detection of β-electrons
Around 70% efficiency
Detection of γ rays
0.66% efficiency @ 964.1 keV
Slow neutron counter TETRA
- Detection of neutrons
No energy information
Around 50% efficiency

## Slide 15
MCNP simulation :
- 80 cells arranged in 4 rings
- Thermal neutron physics
- Realistic pressure in cells (around 2bars)
- 99% and 1% CO2 mixture
New method for beta-delayed neutron spectroscopy
Principle of the method
4
Neutron penetration increases with energy
Counts per ring available with TETRA segmented electronic
Efficiency as a function of mean neutron energy
II. Experiment : TETRA2023

## Slide 16
Ring-ratios method
f
Cf. "Evaluation and Application of Delayed Neutron Precursor Data" Michaele Clarice Brady
5
New method for beta-delayed neutron spectroscopy
Ring-ratios as a function of mean neutron energy
Predictions of mean neutron energy using ring-ratios method
Mean energy prediction depends on shape of primary distribution
II. Experiment : TETRA2023

## Slide 17
Iterative Bayesian unfolding method
6
New method for beta-delayed neutron spectroscopy
Uncertainty increases with mean energy !
Relates folded distribution to real one
Predictions for simulated mono-energetic distributions
Predictions for simulated neutron spectra
Prediction from data with 252Cf source
II. Experiment : TETRA2023

## Slide 18
1348 keV ( → )
1219.5 keV ( → )
1381 keV ( → )
1455 keV ( → )
β-2n branching ratio
Interpretation under discussion
Beta-delayed two-neutron emission of
Can be compared to another measurement made at BRIKEN Cf. Yokoyama et al. PRC 108 (2023)
0+
1348 keV
2+
S2n
S1n
β-decay
2n-emission
A high feeding of the 2+ state in the beta-2n channel
At odds with a statistical decay picture !
7
II. Experiment : TETRA2023

## Slide 19
Outline
I. Structure above the neutron threshold at ALTO
II. Experiment : TETRA2023
III. Experiment : MONSTER2025
a. Experimental setup
b. New method for beta-delayed neutron spectroscopy
c. Beta-delayed two-neutron emission of
a. The ALTO facility
b. Beta-delayed neutron emission : state of the art
a. Experimental setup and challenges
b. Preliminary analysis

## Slide 20
A beta-delayed neutron-gamma spectroscopy setup
Experimental setup and challenges
8
III. Experiment : MONSTER2025
BEDO :
Collection – Decay cycles
4π-β plastic scintillator
3 HPGe detectors
1 LaBr

## Slide 21
A beta-delayed neutron-gamma spectroscopy setup
Experimental setup and challenges
9
III. Experiment : MONSTER2025
BEDO :
Collection – Decay cycles
4π-β plastic scintillator
3 HPGe detectors
1 LaBr
MONSTER :
39 liquid scintillators (EJ301) @ 1.5m
Two experiments planned
83,84Ga doorway states
81Zn ground-state spin
Beam collection point
Beta-neutron-gamma coincidences

## Slide 22
Challenges
Experimental setup and challenges
10
III. Experiment : MONSTER2025
Production difficulties (flood in October 2024)
Not enough production for 81Zn and 83,84Ga
Switch to 82Ga and 96Rb
Total acquisition time :
96Rb : 19h
82Ga : 13h
Overall very low statistics
Weird high multiplicity noise in MONSTER cells, linked to LINAC
Multiplicity dependant on LINAC intensity
Can get rid of with multiplicity cut but induces a dead time
Production :
Setup :

## Slide 23
96Rb
Preliminary analysis
11
III. Experiment : MONSTER2025
82Ga
Enough to measure mean neutron energy and test TETRA method !
Maybe enough statistics for a neutron energy spectrum

## Slide 24
Conclusion
Conclusion
Development of a new method to measure mean neutron energy using a slow neutron counter.
First prediction of the mean neutron energy of .
Measurement of the absolute branching ratio of the beta-2n branch and P2n.
First results from MONSTER2025 experiment at ALTO
MONSTER will be back……
12

## Slide 25
Thank you !

## Slide 26
Backup
Formula

## Slide 27
4πβ efficiency
Energy (keV) | 216.6 | 530.4 | 711.4 | 867.2 | 1348.5
4πβ efficiency (%) | 66.8 | 74.9 | 71.3 | 76.2 | 76.5
Single and β conditionned γ spectra
Calibration isotope :

## Slide 28
TETRA efficiency
Energy (keV) | 216.6 | 530.4 | 711.4
TETRA efficiency (%) | 51.5 | 55.6 | 55.5
Single and neutron conditionned γ spectra
Calibration isotope :

## Slide 29
Calibration isotope :
500 cycles
500 cycles
β
β
β-1n
β
neutron activity curve
β activity curve
Beta-delayed two-neutron emission of
Cf. Liang et al. Nuclear Data Sheets 168 (2020)

## Slide 30
Beta-delayed 2-neutron emission of - Results
Bateman fits
11
20880 cycles
20880 cycles
β
β
β-1n
β
β
β-2n
Nβ() | 1107000 (1000)
Nn() | 258100 (500)
 | 1107000 (1000)
 | 258100 (500)
β activity curve
neutron activity curve

## Slide 31
Beta-delayed 2-neutron emission of - Results
Two neutron events
12
N2n() | 5540 (70)
 | 5540 (70)
20880 cycles
2-neutron activity curve
Cf. Jonson et al. CERN (1981)

## Slide 32
Efficiency ratio
Energy (keV) | 247.7 | 1046
R | 1.56 | 1.45
Single, β conditionned and neutron conditionned γ spectra

## Slide 33
TETRA efficiency
Energy (keV) | 247.7 | 1046
TETRA efficiency (%) | 50.4 | 46.6
β-neutron conditionned γ spectra

## Slide 34
Backup
Beta detector simulations

## Slide 35
Backup
2n background
Sources of 2-n background
Fortuitous counting (grows with counting rate)
Natural background (constant)

## Slide 36
Backup
Bayesian unfolding method

## Slide 37
Beta-delayed neutron emission : state of the art
3
I. Structure above the neutron threshold at ALTO
Statistical models and « Pandemonium effect »
Cf. Takahashi and Yamada Prog. Theor. Phys. 41 (1969)
Peak structure cannot be explained with gross theory of beta-decay

## Slide 38
Beta-delayed neutron emission : state of the art
3
I. Structure above the neutron threshold at ALTO
Cf. Hardy et al. Nuc. Phys. A305 (1977)
Hardy : No structure, only statistical fluctuations
Pandemonium effect : Overestimation of feeding the levels under Sn
Statistical models and « Pandemonium effect »
Cf. Takahashi and Yamada Prog. Theor. Phys. 41 (1969)
Peak structure cannot be explained with gross theory of beta-decay

## Slide 39
Beta-delayed neutron emission : state of the art
3
I. Structure above the neutron threshold at ALTO
Cf. Hardy et al. Nuc. Phys. A305 (1977)
Hardy : No structure, only statistical fluctuations
Pandemonium effect : Overestimation of feeding the levels under Sn
Statistical models and « Pandemonium effect »
Cf. Takahashi and Yamada Prog. Theor. Phys. 41 (1969)
Peak structure cannot be explained with gross theory of beta-decay
Bad Pn and half lives predictions for medium mass nuclei.
No explanation for feeding of excited states instead of ground-state in the residue nuclei.
Cf. De Oliveira PhD thesis (1980)
BUT

## Slide 40
Beta-delayed neutron emission : state of the art
Structure and microscopic approaches
4
I. Structure above the neutron threshold at ALTO
SF
BSF
CP
Nowadays QRPA for beta strength function (microscopic)
Hauser-Feshbach models for neutron emission (statistical)
Cf. Minato et al. PRC 104 (2021)
New approach for neutron emission : doorway states !
Cf. Heidemann et al. PRC 108 (2023)
Cf. Xu et al. PRL 133 (2024)
Evidence of structure in the beta-strength fuction near Sn.