## Slide 1
Pile-Up Statistics
mail : msihid@apc.in2p3.fr
Phd Student
Photodetection and instrumentation for UHECR & SQM
detection from space
Enzio M’sihid
JEM-EUSO 37th Collaboration Meeting — Paris — June 2026

## Slide 2
Plan
I. PILE-UP EFFECT AND SIMULATION IN EDT
II. RENEWAL THEORY APPROACH
III. COMPARISON WITH EXPERIMENTAL DATA

## Slide 3
Plan
I. PILE-UP IN EXTENDED DEAD TIME (EDT)
II. RENEWAL THEORY APPROACH
III. COMPARISON WITH EXPERIMENTAL DATA

## Slide 4
MAPMT
+
Pre-amp.
....
∆t
time interval
(Poissonian)
Ph
Ph
1
2
64 x channels
Photon
to Signal
....
S
S
1
2
∆t
ASIC
Signal
to Count
∆t > τ
∆t < τ
Recap
Electronic Origin

## Slide 5
PILE-UP
Threshold
∆t > τ
∆t < τ
2 Counts
1 Count
Dead Time : τ
Time Resolution
t
Q
PILE-UP
FROM : Daniil Trofimov, E.Parizot, & al., Characterization and absolute calibration of R11265 multi-anode photomultiplier tubes for the JEM-EUSO space and balloon program: II. Application to the EUSO-SPB2 photodetection modules ; Astroparticle Physics Journal ; Accepted ; 2025.
Recap
Electronic Origin

## Slide 6
FROM : Uncertainty of nuclear counting , S. Pommé et al 2015 Metrologia 52 S3, doi:10.1088/0026-1394/52/3/S3
count
Our case
Recap
Pile-Up types

## Slide 7
Recap
Average counts

## Slide 8
Simulation
• Set a photon Rate
Poisson Distribution of ∆t in a GTU
∆t > τ : Count
∆t < τ : Missed
Repeat over nGTU
• Change photon rate
• Photon Rates : int(0 to 2000)
# Photons sent during a GTU
Virtual Run
• Result : (# Photon Rates , nGTU) 2D
array with # of Count as elements
• τ = 6.0 to 12.0 by step of 0.5
• nGTU = 1000

## Slide 9
Simulation
Counts Grid
Saturation Curve
•
Counts Grid
• Each column has nGTU
Get Count # of each Photon Rate
• Mean and sigma
over the nGTUs
for each rate
Right
Left
• Coordinates of max :
Even ∆t between all photons

## Slide 10
Simulation
Counts Grid
Saturation Curves

## Slide 11
Number of event counted
Simulated saturation plot
True number of event sent
Simulation
Distribution of Photon counts and true rates

## Slide 12
Evolution of the standard deviation on ρ as a function of the event counts, for different values of the dead time τ (in ns).
Simulation
Plotting the vertical and horizontal sigmas
Evolution of the standard deviation on N as a function of the true event rates, for different values of the dead time τ (in ns).
Focus

## Slide 13
Simulation
Horizontal left sigma
• Small τ dependence for small counts

## Slide 14
Simulation
Left horiztonal std fit and parameters fit
A
B
C
offset
Good, not perfect.

## Slide 15
Plan
I. PILE-UP IN EXTENDED DEAD TIME(EDT)
II. RENEWAL THEORY APPROACH
III. COMPARISON WITH EXPERIMENTAL DATA

## Slide 16
Renewal theory
Studying
Where W is the Lambert W function.
• Mathematical framework to study the distribution of time intervals between actually counted events. (Can be applied to any counting set-up).
• We can derive the uncertainty on the number of event N for a true rate ρ (which corresponds to the vertical spread of the saturation curves) :
Lexicon
τ : the dead-time, or minimum time to wait after an event arrived.
T : the time of Observation (e.g. 2500 ns here for the Mini-EUSO mission).
ρ : the true event rate arriving at the counter.
N : the number of counted events during T.
• We can infer the uncertainty on the true rate ρ for a number of measured events N (which corresponds to the horizontal spread of the saturation curves) :

## Slide 17
Renewal theory
Simulation and Theory Comparison
Example: For N=17 events measured during T=2500 ns, if τ=8.0 ns and ∆τ=0.3 ns, The theoretical formulas tells us that we actually received:
ρ = 18.0 ± 4.4 events or ρ = 1372 ± 114.1 events.

## Slide 18
Plan
I. PILE-UP IN EXTENDED DEAD TIME(EDT)
II. RENEWAL THEORY APPROACH
III. COMPARISON WITH EXPERIMENTAL DATA

## Slide 19
• We send a known number of photons on a pixel during n*GTUs (10000). We register for each GTU the number of counts observed to obtain stats. Then we increase the voltage and repeat. We continue the process until we are far beyond saturation.
Experimental Data
Lightscan set-up
GENERATOR
LED
NIST monitoring
MAPMT
ASIC
COMPUTER

## Slide 20
Experimental Data
Lightscan results over one pixel and nGTU = 10000 and fixed DAC.
≠

## Slide 21
Experimental Data
Other Pile-Up type ?
Our case
Our case ?
FROM : Uncertainty of nuclear counting , S. Pommé et al 2015 Metrologia 52 S3, doi:10.1088/0026-1394/52/3/S3

## Slide 22
• From :
• To :
Experimental Data
Pile-Up in PU+EDT ?
Let’s fit
• Two parameters instead of one.

## Slide 23
DAC 750
Experimental Data
Joint Fit for std and average
Not great
Same Pixel but at DAC 600

## Slide 24
Experimental Data
Data v. Simulation v. Theory in PU+EDT
• We are exploring solutions.
• Better understanding of the ASIC.
• Modified PU+EDT.
• Twicking of the simulation to understand the Pile-UP process better...

## Slide 25
Experimental Data
Modified PU+EDT
• Trying a facter one half in N :
• The joint fit is better.
• The simulation still doesn’t match.
• And why would we have a ½ ?...

## Slide 26
• Renewal Theory gives a good framework to study Pile-up.
• The process in EDT is understood (and works for extreme values).
• We have a working experimental set-up to test the MPAMTs in pile-up conditions.
• PBR’s electronics is trickier and requires more elaborate types of dead time. This research is ongoing.
• The ultimate goal remains :
• Those results were presented partly in a poster at the ASAPP 2025 in Spain.
Conclusion