## Slide 1: Ultra Cold Neutrons and mercury spins in magnetic fields. n2EDM experiment
Morgan Ferry, Katia Michielsen
LPSC (Grenoble)
13th November 2025

## Slide 2: I - Context

## Slide 3: What is an EDM ?
Coupling of the spin to the magnetic field
Observable = magnetic moment
I - Context
Coupling of the spin to the electric field
Observable = electric dipole moment (EDM)

## Slide 4: An EDM violates Charge Parity symmetry.
Coupling of the spin to the magnetic field
T-invariant
not T-invariant
Observable = magnetic moment
I - Context
T violation CP violation
CP violation is one of the Sakharov criteria for matter anti-matter asymmetry during baryogenesis.
Coupling of the spin to the electric field
Observable = electric dipole moment (EDM)

## Slide 5: What do we know about the nEDM?
Theory:
Current limit [1] :
n2EDM sensitivity goal :
CP violation probe in
Generic probe
—> Complementary EDM measurements required : proton, electron, muon EDM
I - Context
[1] : Measurement of the Permanent Electric Dipole Moment of the Neutron, nEDM collaboration, 2020
weak interaction
strong interaction
new physics?
strong sector : “strong CP problem”—> introduction of axion
new physics with mass scale of > 1 PeV (EFT)

## Slide 6: II – n2EDM overview

## Slide 7: Larmor precession frequency measurement
Ramsey method of oscillatory fields : 2 spin flips
Measure in a known magnetic field and strong electric field.
Spin Asymmetry :
Number of neutrons spin aligned/anti-aligned with B
Free precession duration T=180s
Hz
I – Context II – n2EDM overview

## Slide 8: The use of Ultra Cold Neutrons (UCN)
Challenge : trap the neutrons while measuring their precession. No charge…
UCN = Kinetic energy bounce off the walls
Gravitational potential energy !!
Sag in the gravitational potential (unlike gases, their center of mass is below the geometric center)
Center of mass shift
UCNs
Precession chamber
I – Context II – n2EDM overview

## Slide 9
Superconducting
magnet
UCN spin detectors
Active magnetic shield
Passive magnetic shield
Vacuum vessel
Proton beam on Pb target
UCNs
Solid D
Switch
I – Context II – n2EDM overview

## Slide 10: Experiment overview
Spin flip coils
UCN guide
Hg polarisation
chamber
HV electrode
Ground cage
Cs cells
I – Context II – n2EDM overview
TOP
2 precession chambers :
BOTTOM

## Slide 11: III- The Hg co-magnetometer
Concept, setup and performances.

## Slide 12: Why do we need a co-magnetometer?
Magnetic field drifts dominate fluctuations
Atom with nuclear spin and a negligible EDM [2]
-> Mercury vapour (same volume,
same time as n):
We define
L. Ferraris, 2020
I – Context II – n2EDM overview III – Hg co-magnetometer
[2] Reduced limit on the permanent electric dipole moment of Hg 199. Graner, Brent, et al. PRL (2016) :Hg EDM cm

## Slide 13: Hg magnetometry concept in n2EDM
spin flip
Polarized Hg
Hg precession
Optical pumping
1/2
1/2
-1/2
-1/2
spin 1
Excited states
Ground states
relevant quantum states
I – Context II – n2EDM overview III – Hg co-magnetometer
Precession
1/2
1/2
-1/2
-1/2
spin 1
Excited states
Ground states
relevant quantum states
Absorption/transmission modulated at the precession frequency.
time
T =180 s

## Slide 14: Hg magnetometry implementation in n2EDM
Vacuum vessel
Optical tower
Optical fiber
Monitor
photo-diode
Precession chambers
UV probe light
Polarisation cells
Polarising optics
UV pump light
Optical fiber
Optical fiber
circular
polarization
Probe
photo-diodes
I – Context II – n2EDM overview III – Hg co-magnetometer

## Slide 15: Hg magnetometry implementation in n2EDM
Vacuum vessel
Optical tower
Optical fiber
Monitor
photo-diode
Precession chambers
UV probe light
Polarisation chamber
Polarising optics
UV pump light
Optical fiber
Optical fiber
circular
polarization
Probe
photo-diodes
I – Context II – n2EDM overview III – Hg co-magnetometer
Hg vapour is polarised prior to injection

## Slide 16: Hg magnetometry implementation in n2EDM
Vacuum vessel
Optical tower
Optical fiber
Monitor
photo-diode
Precession chambers
UV probe light
Polarisation chamber
Polarising optics
UV pump light
Optical fiber
Optical fiber
circular
polarization
Probe
photo-diodes
I – Context II – n2EDM overview III – Hg co-magnetometer
Hg vapour is polarised prior to injection
Hg and neutron precession occur simultaneously

## Slide 17: Hg magnetometry implementation in n2EDM
Vacuum vessel
Optical tower
Optical fiber
Monitor
photo-diode
Precession chambers
UV probe light
Polarisation chamber
Polarising optics
UV pump light
Optical fiber
Optical fiber
circular
polarization
Probe
photo-diodes
I – Context II – n2EDM overview III – Hg co-magnetometer
Hg vapour is polarised prior to injection
Hg and neutron precession occur simultaneously
Modulated transmitted light is continuously recorded.

## Slide 18: Optical reading of Hg precession
Vacuum vessel
Optical tower
Optical fiber
Monitor
photo-diode
Precession chambers
UV probe light
Polarisation cells
Polarising optics
UV pump light
Optical fiber
Optical fiber
circular
polarization
nEDM: Circularly polarised probe.
One signal per chamber.
Probe
photo-diodes
I – Context II – n2EDM overview III – Hg co-magnetometer

## Slide 19: Optical reading of Hg precession
Vacuum vessel
Optical tower
Optical fiber
Monitor
photo-diode
Precession chambers
UV probe light
Polarisation cells
Polarising optics
UV pump light
Optical fiber
Optical fiber
waveplates
Probe
photo-diodes
p polarization transmitted
s polarization
reflected
circular polarization
linear
polarization
n2EDM: linearly polarised probe.
Two signals for each chamber.
Cancellation of common noise.
I – Context II – n2EDM overview III – Hg co-magnetometer

## Slide 20: Optical reading of Hg precession
1/2
1/2
-1/2
-1/2
spin 1
Excited states
Ground states
spin during precession
1/2
1/2
-1/2
-1/2
spin -1
Excited states
Ground states
spin during precession
TOP chamber
BOT chamber
reflected
transmitted
transmitted
reflected
UV light
I – Context II – n2EDM overview III – Hg co-magnetometer

## Slide 21: Optical reading of Hg precession
1/2
1/2
-1/2
-1/2
spin 1
Excited states
Ground states
spin during precession
1/2
1/2
-1/2
-1/2
spin -1
Excited states
Ground states
spin during precession
TOP chamber
BOT chamber
reflected
transmitted
transmitted
reflected
UV light
Linearly polarised probe lowered the uncertainty by a factor 3.
I – Context II – n2EDM overview III – Hg co-magnetometer

## Slide 22: The great combination with linearly polarised light
unpolarised cross section
mercury density
length of the precession volume
polarisation of the mercury vapour
Transmission/reflection factors:
and
Derive
Derive knowing
1st fit provides
- Absorption
- Leakage time of precession chamber
2nd fit provides
- Polarisation of mercury vapour
- Depolarisation time
- Noise spectrum
- Precession frequency
I – Context II – n2EDM overview III – Hg co-magnetometer
Transmitted power
Reflected power

## Slide 23: Hg precession analysis: summary
I – Context II – n2EDM overview III – Hg co-magnetometer

## Slide 24: Uncertainty derivation of precession frequency
Philosophy: filtering without filtering
Only the noise at the frequency of the signal affects our estimator
Equivalent white noise as input of the minimisation fit.
diagonal elements of the covariant matrix give the uncertainties.
Verified with simulated data.
I – Context II – n2EDM overview III – Hg co-magnetometer

## Slide 25: Performance of the Hg magnetometer
Precision:
Accuracy: unbiaised estimator?
  effect of non-white noise,
  magnetic field drifts within one cycle
Magnetic field measured with a precision of 70 fT !
Also vertical gradient is measured.
Study systematic effects affecting
I – Context II – n2EDM overview III – Hg co-magnetometer
status
ongoing
TOP chamber
BOT chamber

## Slide 26: IV – Physics cases

## Slide 27: Expression of
At first order,
...but there are some minor corrections that depend on :
  : vertical magnetic gradient
  Chamber
  orientation
I – Context II – n2EDM overview III – Hg co-magnetometer IV - Physics cases
Gravitational shift effect :
Earth rotation effect :
neutron & Hg gyromagnetic ratios

## Slide 28: Curves for the probe of physics cases
Curves :
d
Measure for different values of (coils) for each chamber and B
I – Context II – n2EDM overview III – Hg co-magnetometer IV - Physics cases
4 affine functions ,,, VS
[2] : Ultracold neutron energy spectrum and storage properties from magnetically induced spin depolarization, n2EDM collaboration, 2025
 | (cm) | (cm) | (h)
Compatible with [1]
Compatible with [2]
[1] : A measurement of the neutron to 199Hg magnetic moment ratio, nEDM collaboration, 2014

## Slide 29: Conclusion
First data-set not limited by Hg uncertainty
Gravitational shift and Earth rotation measurements
Newer of more precise data —> access to new systematic effects
nEDM data taking at the end of 2025

## Slide 30
Thank you for your attention!
Questions?

## Slide 31: Additional slides

## Slide 32: n2EDM status and outlook
UCN production, detection, polarization, spin transport
Magnetic shielding and characterization
Magnetic field generation and characterization
Electric field
Hg co-magnetometer injection, polarization, optical reading
Cs magnetometers installation, polarisation & optical reading
2027-2028
Accelerator shutdown
2026
EDM
2029-Magic EDM
2025
EDM test run
Today
2025
n and Hg
2026
systematics
Neutrons available
Neutrons unavailable
Operational
Not yet operational
I – Context II – n2EDM overview III – Hg co-magnetometer IV – Conclusion

## Slide 33: n2EDM Experiment overview
UCN source
Superconducting
magnet
Vacuum vessel with
Precession chambers

## Slide 34: n2EDM Experiment overview

## Slide 35: UCN production

## Slide 36: UCN spin detectors

## Slide 37: Magnetic field measurement in the presence of gradient

## Slide 38: Spin asymmetry fit