## Slide 1
Measure to protect: Instrumentation for modern radiation protection
Journées R&T CNRS/IN2P3 – 09/12/2025
Djokhar BETELGUERIEV
(djokhar.betelgueriev@iphc.cnrs.fr)
On behalf of the DeSIs team

## Slide 2: Our Team
Permanent researchers
Nicolas ARBOR (PR)
Alexandre BIGOT (MCF)
Christian FINCK (50%)
Daniel HUSSON (MCF)
Abdel-Mjid NOURREDDINE (PR)
Marie VANSTALLE (Team leader - MCF)
Permanent engineers/technicians
Séverine CHEFSON (AI)
Stéphane HIGUERET (Technical manager – IR)
Thê-Duc LÊ (AI)
Djokhar Betelgueriev (IR-CDD)
PhD students
Jonathan COLLIN, ATER – Dir. A. Nourreddine – 2022-2025
Lucia Garcia-Garcia, CNRS – Dir. N. Arbor – 2024-2027
Giovanna Rezende, CNRS-CNES – Dir. M. Vanstalle – 2024-2027

## Slide 3
Hadrontherapy & Space radiation Measure and model secondary particles produced by heavy ions.
DeSIs – Dosimetry, Simulation & Instrumentation
Partnerships and collaborations
Hospitals (radiotherapy, radiobiology) • Heavy ion facilities (HIT, CNAO, GANIL, GSI...) • Academic laboratories • Nuclear industry & instrumentation
Dosimetry
Accurately measure the dose in treatment systems.
Radioactivity
Detect and map contaminations and activations

## Slide 4
Measurement and modeling of secondary particles produced by heavy ions
Target
Heavy ion
Beam monitoring
Vertex
Magnet 1
Inner
Tracker
Magnet 2
Silicium
Microstrips
TOF Plastic
scintillator
BGO
¹²C
FOOT: FragmentatiOn Of Target experiment
C₂H₄
11C
💥​
💥​
🧲
Bends the fragment
trajectory according to its
momentum-to-charge
🎯
Measure the track before and
after bending, enabling precise
reconstruction of the particle’s
trajectory
🎯
🧲
🧲
🎯
🎯
⏱️
🔋
⏱️🔋
Measure the time-of-flight
of the fragment and
the deposited energy
Track + p/Z + ΔE → Element & isotope identification
→ Measure the differential production cross sections of nuclear fragments produced by ion–matter interactions
Monitor where
do the ions hit

## Slide 5
Measurement and modeling of secondary particles produced by heavy ions
FOOT: the FragmentatiOn Of Target experiment

## Slide 6
Measurement and modeling of secondary particles produced by heavy ions
MIMOSA (Monolithic Active Pixel Sensor)

## Slide 7
Measure and map charged particles and secondary neutrons with high spatial and temporal precision.
MIMOSA (Monolithic Active Pixel Sensor)
MIMOSA surface :
Pixel 1
Pixel 2 …
Spatial resolution : 4 µm

## Slide 8
Measure and map charged particles and secondary neutrons with high spatial and temporal precision.
Off-target dose
Unwanted neutron dose delivered outside the treatment field.
Risk of secondary cancers
Neutron exposure can increase the probability of long-term radiation-induced malignancies.
Activation and radiation protection
Neutrons can activate surrounding materials, creating residual radioactivity that must be monitored for safety.
Difficult to quantify
  Neutrons have no electric charge, so they cannot be directly detected, making their measurement and modelling challenging.
Fast neutrons
Thermal neutrons

## Slide 9
Measure and map charged particles and secondary neutrons with high spatial and temporal precision.

## Slide 10
Measure and map charged particles and secondary neutrons with high spatial and temporal precision.
Alphabeast
137,63µm
The silicon oxide layer acts as a surface filter, reducing leakage and surface noise.
The size of the collection well is optimized to balance signal and noise

## Slide 11
Measure and map charged particles and secondary neutrons with high spatial and temporal precision.
Alphabeast : Thermal neutron & Fast neutron detection collab C4PI Techno XFAB 0.35
SiO2
SiO2
Epitaxial layer
Bulk
10B
Thermal neutron
💥​
α
-
-
+
+
SiO2
SiO2
Epitaxial layer
Bulk
PE
Fast neutron
💥​
Recoil proton
-
-
+
+
-
+
+
-
+
-
+
-

## Slide 12
Measure and map charged particles and secondary neutrons with high spatial and temporal precision.
Alphabeast
TH0
TH1
TH2
Counter
0
Counter
1
Counter
2
IC1
TH0
TH1
TH2
Counter
0
Counter
1
Counter
2
IC2
TH0
TH1
TH2
Counter
0
Counter
1
Counter
2
IC3
No converter
PE converter
Bore converter

## Slide 13
Measure and map charged particles and secondary neutrons with high spatial and temporal precision.
0 V
Alphabeast : Example of use 38 mm airgap
-56,323 mV
-123,545 mV
-176,823 mV
350 keV
700 keV
1 MeV
Counter 0 = 8000
Counter 1 = 935
Counter 2 = 4

## Slide 14
Measure and map charged particles and secondary neutrons with high spatial and temporal precision.
Alphabeast
800 keV
200 keV

## Slide 15
Measure and map charged particles and secondary neutrons with high spatial and temporal precision.
Hits/s
Inflexion of sigmoids

## Slide 16
Perspectives and next developments
Peer to peer
Ethernet to the
monitoring room
TCP server
ESP + Alphabeasts module

## Slide 17
TCP server
Real time 4D neutron heatmap
monitoring (x, y, dose proxy, time)
Perspectives and next developments
Direct comparison with GEANT4/GATE

## Slide 18
Merci
Thank you for your attention