## Slide 1: PVTUI – Terminal user interfaces for EPICS
April 24, 2026
Nick Marks
Control Systems Engineer
Beamline Controls & Data Acquisition Group

## Slide 2
PVTUI
C++ library for creating text based user interfaces that run in your terminal emulator
Provides common UI widgets which abstract away EPICS communication details,
Supports both Channel Access and PVAccess
Includes set of ready-to-use applications
Great for working over SSH
Linux only (for now)
  Limited testing on MacOS
  Windows not tested

## Slide 3
METHODS
PVTUI is a thin layer on top of FTXUI
Slight learning curve, but plenty of examples
FTXUI

## Slide 4
METHODS
Example

## Slide 5
INCLUDED APPLICATIONS
monitor

## Slide 6
INCLUDED APPLICATIONS
motor

## Slide 7
INCLUDED APPLICATIONS
calcout

## Slide 8
INCLUDED APPLICATIONS
asyn

## Slide 9
INCLUDED APPLICATIONS
transform

## Slide 10
INCLUDED APPLICATIONS
sequence

## Slide 11
INCLUDED APPLICATIONS
striptool

## Slide 12
OTHER
Robot dashboard

## Slide 13
GITHUB
https://github.com/BCDA-APS/pvtui