## Slide 1
Future State of SNCSEQ Ralph Lange

## Slide 2
State Notation Compiler and the Sequencer
One of the oldest parts of EPICS Base (mentioned before 1989)
  Generated compiler, lex/yacc-based, for the “SNL” domain specific language
  Used by almost every EPICS installation
High-quality code, well documented
  One of the best-tested modules of Base
  Ample, complete, detailed, well-written documentation (https://epics-modules.github.io/sequencer/Manual.html)
Very stable
  Last relevant commits more than 5 years ago

## Slide 3
The Current Situation
Ben Franksen recently stepped down as maintainer
  After ~15 years !!
SNCSEQ only supports Channel Access
  Supporting PVAccess would require a lot of effort
Finite State Machines don’t scale to current installations’ sizes
  SNL is fine for close-to-device state machines with 10s-100s channels
  High-level sequences connecting to 1000s-10000s of channels need other tools

## Slide 4
Detour: Complexity Bias
People tend to choose more complex ideas over simple ones
  The situation is very complicated… The solution is obviously very complex!
Good example: Options to teach kids how to ride a bike
training wheels running bike

## Slide 5
Idea: Remove Support for Channel Access
Connect the SEQ runtime directly to the EPICS Process Database
  The state-machine-side interface could be very similar
  All connections made at boot time: more deterministic startup
Clarify the scope for SNCSEQ: on the IOC, close to the device
  Connections to remote channels possible through local proxy records, supporting everything the EPICS Process Database supports
Reduce the code base and complexity, improve maintainability
  SNCSEQ could easier survive the next 30 years…
Contractable
  Well-defined project
  Many existing tests to support the verification

## Slide 6
Lightning Talks Get No Discussion
Oooooohhhh…
But obviously, such a step would break many existing applications.
This needs to be discussed.