## Slide 1: Preparing EPICS Services for Operational Use at Fermilab
Mariana González Velarde
April 2026

## Slide 2: From functional to operational readiness
We had a functional stack of EPICS Services running for a while and tested during different test stands. So, what is next? Commissioning and operations require:
Reliability over time
Maintainability
Visibility into the system behavior
Operational Clarity
Our services work—but operating them at scale and over time requires additional discipline.
Cryomodule being installed for testing at PIP2IT at CMTF
Prototype HB650 "High beta 650 MHz"

## Slide 3: The lightweight framework
🔧
Reproducible
Builds
⚙️
Well-Defined
Config
📊
Observability
🔒
Security
Practices
🔄
Recovery
Procedures
⚡
Performance &
Scalability
👥
Operational
Ownership
✅
Operator
Acceptance

## Slide 4: Where we stand
✅ FOUNDATIONS IN PLACE
☸️ Kubernetes
Container-orchestrated platform
🔀 GitOps Deployments
PR-controlled, declarative roll-outs
📁 Version-Controlled Config
All config under source control
⚙️ CI/CD Pipelines
Automated build & deploy
📊 Observability Platform
Nearly complete — logs, metrics
🔬 EPICS SERVICES STACK
▸ Archiver
▸ Alarm Server
▸ Alarm Logger
▸ Save & Restore Service
▸ Channel Finder
Tested across multiple test stands ✓
▸ Scan Service
▸ CSS Phoebus
▸ Logger Service (caPutLog)

## Slide 5: What we still need to validate
The stack works - but can it survive production conditions?
Performance & Scalability
Behavior under peak IOC load
Number of concurrent clients
High Availability
Redundant services
auto-restart behavior
Continuity of service during updates or restarts
Failure Recovery
Recovery time
Data continuity and reconnection to IOCs and clients
Data-loss scenarios
Service status visibility
Security
Least privileged containers
Automate vulnerability scans
Access control
Centralized logs for troubleshooting and correlation
Clear dashboards for service health

## Slide 6: Merci à tous !