## Slide 1: Web GUI Workshop
23/04/2026
EPICS Meeting Workshop
1

## Slide 2
Workshop 1 : Views
WEISS
DAEDALUS
DBWR and CSLib comparison
Web Viewer
Workshop 2 : Tool
Web Tools at ITER
CE (ESS)
PVInfo (++svgviewer and OlogWeb)
Alarm Web

## Slide 3: Views
1

## Slide 4: WEISS
  Demo by André Favoto
  Slides in Indico
  https://demo.weiss-controls.org/
  Talk

## Slide 5: DAEDALUS
  Demo by Oliver Copping
  https://github.com/DiamondLightSource/daedalus/
  Talk

## Slide 6: DBWR and CSLib comparison
  Demo by Loic Caouen (Thanks to Antoine Choquetfor the help !)
  CS Lib
  DBWR
  Différences between both solutions
  Button : CSLib missing « open display » function
  Input : CSLib missing alarm border
  Scripts : CSLib is a POC at the moment
  Tooltip : DBWR yes but only pvname

## Slide 7: DBWR & CSLib architecture
DBWR
Services
EPICS Core
Client
EPICS PV
PVWS
CSLib
Daedalus

## Slide 8: WEB VIEWER
  Web client using DBWR and used at CEA to view OPIs and Archive Appliance
  Demo by Loïc Caouën
  Talk

## Slide 9: WEB VIEWER
  Old version (simple tabs)

## Slide 10: WEB VIEWER
  New version : Full customisation

## Slide 11: Tools
2

## Slide 12: ITER Web Tools
  Demo by Denis Stepanov
  Slides in Indico
  Talk

## Slide 13: CE (ESS)
  Demo by Anders Olsson
  Slides in Indico
  Talk

## Slide 14: PVINFO
  Demo by Loïc Caouën but developped by Tynan Ford
  https://github.com/ChannelFinder/pvinfo
  Talk

## Slide 15: PVINFO Architecture
Channel Finder
RecCeiver
Phoebus Alarm-logger
Archive Appliance
PVInfo
Services
EPICS Core
Client
Phoebus Olog
EPICS PV
With RecCaster
PVWS

## Slide 16: ALARM WEB
  Demo by Loïc Caouën
  Not available yet on Github
  Talk

## Slide 17: ALARM WEB

## Slide 18: ALARM WEB