## Slide 2: The Controls Ecosystem (CE)
Managing IOCs at the European Spallation Source
PRESENTED BY Anders Lindh Olsson

## Slide 3: History
The CCDB ecosystem
  “An IOC is failing, which hardware does it relate to?”
  It was to answer this type of question that we created the CCDB ecosystem

## Slide 4: History
The CCDB ecosystem (2)
The Controls Configuration Database (CCDB) was meant to host all relevant data about our control system
We built several other services around CCDB to be able to manage control system roles, control system hardware assets and cabling, and much more; in the end, we had a grand total of 5 separate applications
But…
We realised that we had built a system which did not suit our needs; it was difficult to use, to maintain, and to extend, and many of the functions within the ecosystem had been superseded by other ESS systems
So, we decided to take a step back and to act on this

## Slide 5: Enter CCCE
Controls Configuration: Community Edition
We decided to build a replacement system following a few guiding principles
One of these principles was the efficiency of our control system engineers; the tool(s) should not only be useful for the long-term management of the site, but also for the individual developers – thus Community Edition
A project charter was written, and a development team was formed
We decided to call the replacement system the Controls Ecosystem (CE)

## Slide 6: Project plan
Our approach
As the previous ecosystem was in production, we needed to replace its functions one by one, and we decided to start from the end of the toolchain in order to provide immediate value:
  Deploy (e3) IOCs in a standardised, reproducible, and auditable manner
  Monitor IOCs and the servers they are running on
  Manage IOCs at scale
  Monitor the control system
  Once done, we would unify all functions
  We would also need to replace our solutions for authentication and authorisation, deprecate old services, and more

## Slide 7: The Controls Ecosystem (CE)
Core principles and key features
  Be conservative about scope and leverage existing systems
  Our software should be maintainable, intuitive, and reliable
  Design for basic users while still allowing for advanced users (API first)
  Nudge users towards better software practices

## Slide 8: The Controls Ecosystem (CE)
Technologies
Most of our software was written in Java, so we decided to go for
  PostgreSQL – Java – SpringBoot applications
  TypeScript - React web interface(s) with MUI components
  Ansible to deploy IOCs (as well as to orchestrate our servers)

## Slide 9: The Controls Ecosystem (CE)
Deploying an IOC – a primer on e3
With e3, we have a standardised executable in a modified softIocPVA called iocsh, and further functionality is then (dynamically) loaded as e3 modules with the help of require – a variation of the module initially written by Dirk Zimoch for PSI
We have two different distribution methods used with e3:
  Using shared builds, made available to all hosts using NFS
  Downloading build artifacts using conda
  We do, thus, not have any compilation step involved in the creation of an IOC
Find more information about e3 at https://e3.pages.esss.lu.se/, and see our IOC deployment ansible playbook at https://gitlab.esss.lu.se/ics-ansible-galaxy/ics-ans-ioc/

## Slide 10: The Controls Ecosystem (CE)
Where we are today
  We have a deployment service, a monitoring service, and a templating service in production
  We are still using the old naming service, but are working on its replacement
  We have deprecated one of the old services (IOC factory)
  The remaining three will be deprecated Soon™️

## Slide 11: The Controls Ecosystem (CE)
Integrations
Outside of the services that constitute the ecosystem, we use:
  Ping (for authentication and authorisation)
  GitLab (as devops platform)
  AWX (as ansible task engine)
  Netbox (for network and device configuration)
  Prometheus (as monitoring system and time-series database)
  ChannelFinder (as EPICS record directory service)
  Grafana Loki (for log aggregation)
  ENOVIA (“CHESS”; ESS’ product lifecycle manager)

## Slide 12: Usage
Adoption and control system growth
We have gone from 0 IOCs deployed in a standardised manner in 2020 to
  64 IOCs in February 2021
  408 IOCs in June 2022
  1 012 IOCs in June 2023
  And then we started exporting also entity statistics in Prometheus…

## Slide 13: Usage
Today

## Slide 14: Usage
Today (2)

## Slide 15: Capabilities
More numbers
We can deploy an individual IOC (of either type) in about 2.5-3 minutes
  This amounts to about 200-300 IOCs in one day
  We expect to soon be able to do this at least 5x as fast for larger batches
  We could technically reinstate every IOC at ESS with the click of one button
We can update 100s of IOCs in minutes to 10s of minutes
We can display alarms on all entitites, e.g. to highlight
  Invalid record names
  High system load

## Slide 16: CE deploy & monitor
Navigation demo

## Slide 17: CE deploy & monitor
Deployment demo

## Slide 18: CE template
Generation demo

## Slide 19: The REST API
Enabling further analysis

## Slide 20: Summary
To wrap things up
We still have a few challenges in front of us:
  Deploying IOCs for diskless systems
  Unifying our services into a monolithic application
  …and we will want to add a few more quality-of-life features, to help navigate the masses of objects
  But!
  We have an IOC management system which we believe can support the scale of the facility’s control system
  We think we have set ourselves up well for the (eco)system going into a support & maintenance phase

## Slide 21: Tack!
Questions?
Anders.lindholsson@ess.eu

## Slide 22: CE deploy & monitor
Browsing IOCs

## Slide 23: CE deploy & monitor
Inspecting an IOC

## Slide 24: CE deploy & monitor
Deploying an IOC

## Slide 25: CE deploy & monitor
Inspecting an IOC host

## Slide 26: CE template
Browsing IOC types

## Slide 27: CE template
Generating new revisions for an IOC type