## Slide 1: Deployment and Packaging at ITER
Ralph Lange Deployment and Packaging Workshop EPICS Spring 2026 Collab Meeting
Disclaimer: The views and opinions expressed herein do not necessarily reflect those of the ITER Organization

## Slide 2: Context
ITER is >90% made of in-kind contributions: plant systems that are delivered with control system
Our developers are in the 100s, working for ~75 organizations worldwide
We apply rigid standardization to keep the chaos manageable: guide lines, trainings, hardware catalogs, our own OS distribution called CODAC Core System (CCS)
Still, we fail

## Slide 3: CODAC Core System
Based on RHEL (currently 8.5, switching to 9.10 in 2028) plus EPICS/CS-Studio and community modules plus ITER-specific development tools and databases
Two releases per year: one minor, one maintenance with a fixed set of versions of EPICS modules
Lots of manual testing (test plans), increasingly converted to automated testing (partially hardware-in-the-loop)
CCS modules are using Maven; CI is based on Jenkins Subversion repo, mostly no pull request / review workflows
Distributed using Red Hat Satellite (multiple servers)

## Slide 4: Controls Applications
Same Maven-based build; each app uses a specific CCS version
Application builds RPMs (for IOCs, OPIs, Alarm, Archive config)
RPMs are distributed through Red Hat Satellite
Ansible installs target machines with their specific RPMs: Target machines are industrial PCs (with RAID) or VMs
Rebuilding from scratch is part of acceptance/commissioning: usually takes a few hours from zero to running system
Each system adds its part of the configuration database to the central instance when “we take over”

## Slide 5: Maintenance
User Support: contracted (3 FTE) with our group as 2nd level
IOC/host monitoring: iocStats (-> archive) Infra monitoring: Centrion (sending mails/SMS) Fast archiver and Real-Time framework have their own
Migration/updates: we’ll try as long as we can (~2034) but with dozens of systems delivered in the next years…
Team sizes: Software development: ~12 + ~4 FTE contractors Infra and sysadmin: ~5 + ~3 FTE contractors Integrators: ~9 + ~3 FTE contractors