## Slide 1: Packaging & Deployment at KIT
24.04.2026
E. Blomley – Spring EPICS collaboration meeting 2026

## Slide 2: Software Stack
  EPICS: 2012
  Ubuntu: ~ 2014
  Salt: ~ 2016
  GitLab CI: ~ 2020

## Slide 3: Packaging – Ubuntu LTS & Debian Packages
  Basic rule (since 2016?): .deb .deb .deb .deb
  Use it as “whitelist” filter
Ubuntu Core Packages
External Software/Libraries
Python Modules
EPICS

## Slide 4: External Libraries & Python
  Allow all Ubuntu Python packages
  Bundle fixed set of core EPICS related libraries
  Mirror or host external .deb
  Build .deb via CI

## Slide 5: EPICS Packaging
  Package EPICS to Debian
  BUT: do not follow Debian rules
      /opt/epics/base-<version>
      /opt/epics/modules/<xyz>
      /opt/epics/extensions/<abc>
https://gitlab.kit.edu/kit/ibpt/controls/epics/distribution/epics-build-tool

## Slide 6: Build CI
Sources (mostly GitHub)
Build (& Bug) Patches
“Vanila” EPICS
IBPT EPICS
Internal Modules
IBPT (*) Patches
*Institute for Beam Physics & Technology (IBPT) as part of Karlsruhe Institute of Technology (KIT)
Patch & Vanilla split since 2025
            Publish to public webserver missing

## Slide 7: From Zero to EPICS….
  IF you run Ubuntu LTS (no other requirements):
      < 15 minutes from 0 EPICS to working OPC-UA PLC communication
      Tested in a photovoltaics lab
  BUT: only solves the EPICS problem
  Services are NOT .deb packages
Deployed as Docker services via Salt

## Slide 8: IOC Management
  GitLab Project Template
      .gitignore
      .gitattributes
      .gitlab-ci.yml
      README.md template
  makeBaseApp.pl
      + run executable
  Manually set up modules
  CI only for README.md publication
      After meeting:
      Add db->markdown list
      Add db->markdown visual
      Add tree-sitter based lintings
      Add build + run stage with shell output parsing
          ~200 – 300 IOC GitLab projects
?!?
Base & module version upgrades painful….
  Require module?
  IOC structure which is just .db .st ?

## Slide 9: IOC Deployment
  Salt: Single Source of Truth
      All configured IOC instances
      Which Gitlab project to which host
      Additional configuration options
      Host has ibpt-epics-base & ibpt-epics-modules-all installed
  Automated via Salt
      Target host:
        Clone IOC
        Build
        Systemd config
        Local launch script
        Monitoring scripts
      Global:
        Alarm server
        Remote control scripts
[…]
beam-info:
service-name: Beam Info
description: Current,energy,lifetime,dump status
dir-name: beam-info
host: acc-pc-epics01.anka-acc.kit.edu
[…]
camera-url:
autostart: False
service-name: URL Cameras
description: Controls URL cameras via AreaDetector
dir-name: camera-areadetector
host: acc-pc-cam01.anka-acc.kit.edu
[…]

## Slide 10: IOC Management
  IOCs run in screen sessions wrapped in systemd processes
  System logging: Elastic -> Kibana stack
  KARA runs 150-160 IOC instances
Terminal – independent of host
Salt creates local script for IT monitoring integration (CheckMK)
Salt injects xml config for alarm server

## Slide 11: IOC to Manage IOCs
  IOC status and basic IOC control via EPICS with panel integration
  Inject st.cmd file via Salt to Service IOC
Linstat for every IOC service
https://github.com/KIT-IBPT/epics-execute

## Slide 12: Honorable Mention: Phoebus
Phoebus Upstream
KIT Phoebus Product
ChannelFinder Product
Phoebus Server Cluster
File Storage
KIT Phoebus Launcher
Configurations
Panels
ChannelFinder Upstream
Launcher
Auto Update
Git Projects
Back-End Services
Git submodule
automatic deployment
Streamed panels
User
Developer

## Slide 13: Honorable Mention: Embedded Systems, Backups and monitoring
  Central IT provides VEEAM for backups and CHECK_MK for IT monitoring
  We only backup data drives
  No EPICS server, terminals, salt master, …
      Use distributed CephFS file cluster for autosave
  Embedded systems hardly managed/automated
      ~80-90 embedded systems vs 150-200 IOCs
      Basic idea: VM to manage embedded systems via SSH (backup and configuration)

## Slide 14: Operations Schedule creates Opportunities
2026-01
2026-07
2027-01
New laser plasma accelerator
1+ year shutdown
2 months shutdown
Commissioning
          Opportunity to rethink packaging, deployment & managing
          Also: interest in self-contained EPICS setup for labs

## Slide 15: Resources
https://gitlab.kit.edu/kit/ibpt/controls/
https://github.com/KIT-IBPT/