## Slide 1: EPICS control-system architecture
Eth
Modbus TCP
Wiring
Channel Access
Gateway
Modbus TCP/RTU
48 Linux IOC
74k EPICS records
35 Phoebus GUI
Accelerator Tuning Parameters
~ 2000 Devices / ~ 90 PLC
ORM java
20 JAVA SWING GUI
JAVA server
Alarms / Archiving
Archiving RDB
Alarms RDB
Devices configuration
17 VME IOC 16k EPICS records
15 Archive Engines

## Slide 2: EPICS control-system infrastructure
36 Linux Station
2 Linux Virtual machines / proxmox hypervisor
CentOs 7 Linux distribution – preparing switch to Ubuntu next year
EPICS 3.14.12.2
Phoebus 4.7.2 – update to 5.0.2 for Ubuntu
Archive engine : 4.6.10 – preparing switch to Archive appliance 2.2.1
Asyn/Modbus driver
Alarm monitoring: Ganil solution
JAVA 8 – SWING
postgreSQL RDB
MVME 5500 VME CPU / VxWorks 6.9.4.11
ICV I/O cards (150, 108/179, 196, 714)

## Slide 3: IOC
Each machine section has its batch of IOC :
  Sources
  Low - Medium - High energy lines
  RFQ - LINAC
High Energy lines
Low Energy Lines
Medium Energy line
  Modbus/TCP devices and archiving => 48 Linux IOC
  ex: Power converter, Beam profiler, slits
  I/O or specific HW treatment => 17 VME IOC
  ex : LLRF, beam monitoring (position, losses)
3 VME IOC - 11 LINUX IOC
2 VME IOC - 3 LINUX IOC
1 VME IOC 3 Linux IOC
10 VME IOC - 24 LINUX IOC
1 VME IOC – 7 LINUX IOC
LINAC
RFQ
Heavy-Ion Source
Deuteron Source

## Slide 4: IOC Deployment

## Slide 5: EPICS top overview (1)

## Slide 6: EPICS top overview (2)