## Slide 1
First high resοlutiοn
in-gas-jet laser spectrοscοpy at S3-LEB
Andres F. Lopez-Loaiza
On behalf of S3-LEB team

## Slide 2
Content
Resonance Ionization Spectroscopy (RIS) and S3-LEB setup.
ALTISA: new laser laboratory for S3.
high resolution spectroscopy of Dy:
    421nm .
    418nm .
Commissioning and characterization of MR-TOF-MS (PILGRIM).

## Slide 3
Content
Resonance Ionization Spectroscopy (RIS) and S3-LEB setup.
ALTISA: new laser laboratory for S3.
high resolution spectroscopy of Dy:
    421nm .
    418nm .
Commissioning and characterization of MR-TOF-MS (PILGRIM).

## Slide 4
l1
l2
Tunable
Pulsed 10 kHz
Time sychronization
Spatial overlapping
Broadband GHz
Narrowband MHz
[MHz]

## Slide 5
PILGRIM
MR-TOF MS
miniRFQ
QMF
RFQ
Cooler
Buncher
Ar: 200 - 500 mbar
S-shape RFQ
Pulse up
(~ 3 kV)
He: 10-2 - 10-3 mbar
Gas cell
RFQs
MCP 1
MCP 2
MCP 3
MCPinj
SEASON
S3-LEB
beam
Laser system
l2
l1
MagneTOF
Counts

## Slide 6
Content
Resonance Ionization Spectroscopy (RIS) and S3-LEB setup.
ALTISA: new laser laboratory for S3.
high resolution spectroscopy of Dy:
    421nm .
    418nm .
Commissioning and characterization of MR-TOF-MS (PILGRIM).

## Slide 7
mW
mW
@ M. Brun
ALTISA
A new laser laboratory for S3LEB

## Slide 8
Content
Resonance Ionization Spectroscopy (RIS) and S3-LEB setup.
ALTISA: new laser laboratory for S3.
high resolution spectroscopy of Dy:
    421nm .
    418nm .
Commissioning and characterization of MR-TOF-MS (PILGRIM).

## Slide 9
N=82 Shell Closure
Milestone of the first
S3 reaction

## Slide 10
High resolution spectroscopy of Dy: 421nm
Rel. Int = 16000
Dy 162
25.47%
Dy 160
2.329 %
Dy 158
0.095 %
Dy 156
0.056 %
Dy 159
Dy 163
24.89%
Dy 164
28.260%
Dy 161
18.889%
Dy 157
MHz/u
A.F. Lopez-Loaiza. et al.
GANIL - GISELE 2025
MHz

## Slide 11
Time of Flight Resolution for Dy
MR-TOF-MS
PILGRIM
S3-LEB: Gas-jet
160
161
162
163
164
Linear
TOF separator
GISELE: Atomic beam unit

## Slide 12
HFS
GISELE
@ SATLAS 2
High resolution spectroscopy of Dy: 421nm
Preliminary
Vacuum
Gas-jet
S3-LEB
161Dy
161Dy
163Dy
163Dy

## Slide 13
High resolution spectroscopy of Dy: 421nm
Preliminary
Isotope shift
MHz/u

## Slide 14
High resolution spectroscopy of Dy: 418nm
Rel. Int = 12000
Dy 162
25.47%
Dy 160
2.329 %
Dy 158
0.095 %
Dy 156
0.056 %
Dy 159
Dy 163
24.89%
Dy 164
28.260%
Dy 161
18.889%
Dy 157
and not reported

## Slide 15
High resolution spectroscopy of Dy: 418nm
Preliminary
Isotope shift
418nm transition
Resolution of 220 MHz (FWHM)
Isotope shift
421nm transition
and to be extracted
MHz/u
MHz/u

## Slide 16
Content
Resonance Ionization Spectroscopy (RIS) and S3-LEB setup.
ALTISA: new laser laboratory for S3.
high resolution spectroscopy of Dy:
    421nm .
    418nm .
Commissioning and characterization of MR-TOF-MS (PILGRIM).

## Slide 17
MR-TOF-MS: PILGRIM
R. Wolf et al. multi-reflection time-of-flight mass analyzers by use of an in-trap potential lift. 2011.

## Slide 18
MR-TOF-MS: PILGRIM: PDT scan
PDT voltage [ V ]
TOF [ s ]
PDT voltage [ V ]
TOF [ s ]

## Slide 19
PDT scan
Moving M3 was possible to reduce the asymmetry
M3=1819.7
M3=1819.8
M3=1819.9
M3=1820.0
M3=1820.5
M3=1820.9
@ S. Pineda
Is the complete symmetric curve the optimal one?

## Slide 20
Mirror Sensitivity
Mirrors | [ ns/V ]
M1 | 0.34(1)
M2 | 0.54(1)
M3 | -3.54(1)
M4 | -2.24(1)
M5 | -0.34(1)
LENTM | 0.35(1)
Mirrors | 
M1 | 0.34(1)
M2 | 0.54(1)
M3 | -3.54(1)
M4 | -2.24(1)
M5 | -0.34(1)
LENTM | 0.35(1)

## Slide 21
Power supplies fluctuations
Mirrors | 
M1 | 
M2 | 
M3 | 
M4 | 
M5 | 
LENTM | 
Mirrors | 
M1 | 
M2 | 
M3 | 
M4 | 
M5 | 
LENTM | 
M3

## Slide 22
Fundamental Jittering
@ S. Pineda
@ L. Canete
@ S. Bara

## Slide 23
Conclusions
A new laser laboratory is fully operational and connected to S3LEB hall.
LEB setup for laser spectroscopy is operational and the first high resolution in gas-jet measurements have been carried out.
Thank you for your attention.
Perspectives
high resolution spectroscopy of Dy: * 404.7nm
high resolution spectroscopy of Er: * 393nm
high resolution spectroscopy of Gd.

## Slide 24
Backup

## Slide 25
Beam expansion
mm
mm
mm mm
5.2 cm

## Slide 26
Beam expansion
Lens 1
Lens 2

## Slide 28
High resolution spectroscopy of Dy

## Slide 29
No-locking: 760mW
Locking: 1.35W
SHG: 60mW
Locking Process of the narrowband laser

## Slide 30
Supersonic jet
Gas jet laser probing
l2
l1
50.4mW
Alignment strategy for the anticollinear path
Nozzle
400mW
mm

## Slide 31
ILC characterization
Matisse transmission spectrum
ILC transmission spectrum

## Slide 32
Pressure matching

## Slide 33
ALTISA

## Slide 34
A new narrowband cavity for S3

## Slide 35
Tunable
Pulsed 10 kHz
Narrowband
15(1) MHz
A new narrowband cavity for S3

## Slide 36
Gas cell
Broadening effects
Broadband laser (GHz)
Extraction time ~500 ms
de Laval Nozzle
Hypersonic gas jet : ρ ↘︎ T ↘︎
Narrowband laser (MHz)
Proof of principal @ LISOL
Ar buffer gas at 100-500 mbar
Stopping, thermalization
and neutralization
Supersonic jet
Extraction by gas flow only
Gas cell laser probing
Gas jet laser probing
Thin window
l1
l2
MeV/u
+
+
+
R. Ferrer, Nat. Comm. 8 (2017)
+
Ion collector
cm